## Sheet1
Key | Summary | Systems Impacted | Market Notice Description
PR507-01 NOGRR 245 | RIOO Release RIOO-RS - R10 | Resource Integration and Ongoing Operations | New panels are being introduced to support voltage ride-through (VRT), frequency ride-through (FRT), and IEEE 2800-2022 capability and performance requirements established by Nodal Operating Guide Revision Request (NOGRR) 245. These panels will be required for both operational and generation resources in the GIM queue. There are some defects fixes included in this release.