## Sheet1
Key | Summary | Systems Impacted | Renamed
O&M | CDR Report Changes | Data & Information Products | Available Resource Planned Outage Capacity Margin_7 Day ¦ NP3-162-CD ¦ Rpt ID 22469 Available Resource Planned Outage Capacity Margin_7 Day Plus ¦ NP3-161-CD ¦ Rpt ID 22470 Column Additions: ESR MDRPOC MW Value for each hour: ResourcePOLESR Total HSL of Approved Planned ESR outages: AggApprovedResourcePOLESR Total HSL of Received Planned ESR outages: AggReceivedResourcePOLESR Column Renames: MaxDailyResourcePOCnonIRRnonPUN renamed to: ResourcePOLnonIRRnonPUN AggApprovedResourcePOCnonIRRnonPUN renamed to: AggApprovedResourcePOLnonIRRnonPUN AggReceivedResourcePOCnonIRRnonPUN renamed to: AggReceivedResourcePOLnonIRRnonPUN MaxDailyResourcePOCIRR renamed to: ResourcePOLIRR AggApprovedResourcePOCIRR renamed to: AggApprovedResourcePOLIRR AggReceivedResourcePOCIRR renamed to: AggReceivedResourcePOLIRR DST Flag renamed to Repeated Hour Flag (NP3-162-CD Only)
O&M | Removal of Extra Spaces from CDR Report Products | Data & Information Products | The following reports contain extra spaces in columns or rows that will be removed Day Ahead Point-to-Point Option Price Report ¦ NP7-464-CD ¦ Rpt ID 10042 Peaker Net Margin ¦ NP4-790-CD ¦ Rpt ID 12348
O&M | Public products additions to the ERCOT Data Portal | Data & Information Products | The following data products will be added to the ERCOT Data Portal for public API access: Load Estimation Counts – Public ¦ COPG-316 ¦ Rpt ID 11130 DAM PTP Obligation Results by Settlement Point ¦ NP4-194-CD¦ Rpt ID 13042 Weather Assumptions ¦ NP4-722-CD ¦ Rpt ID 12325 Day Ahead Point-to-Point Option Price Report ¦ NP7-464-CD ¦ Rpt ID 10042 Peaker Net Margin ¦ NP4-790-CD ¦ Rpt ID 12348 Available Resource Planned Outage Capacity Margin_7 Day ¦ NP3-162-CD ¦ 22469 Available Resource Planned Outage Capacity Margin_7 Day Plus¦ NP3-161-CD ¦ 22470
OS-49 | Rules Engine Validation Error Message When Testing Conflicting Outages Error Message | Outage Scheduler | Removed redundant text of "Rules Engine Validation Error Message" when issuing warning messages for conflicting outages
OS-51 | OS enhancement project: Conflicting outage warning message is appearing when user inputs Actual Start time on the outage | Outage Scheduler | Improving warning messages for allowed conflicting outages submission - warning message will be provided ONLY at the initial submission
OS-62 | RPOL Warning message is not appearing when one of the recurrences in a recurrence outage has MDRPOC violation |  | Providing Resource Planned Outage Limit (RPOL) Warning message when one of the recurrences in a recurrence outage has RPOL violation
OSUI-90 | Warning message has some special characters on OSUI when Nature of work is unknown | Outage Scheduler | Remove unwanted special characters from warning messages generated when creating with 'Unknown' for 'Nature of Work'.
OSUI-86 | OSUI Unable to change to "Nature of Work" | Outage Scheduler | Allowing “Nature of Work” dropdown to be editable when the “Nature of Work” is set to “Other" or “Unknown" during the initial submission for all outage types
OSUI-143 | OS enhancement project: Conflicting outage warning message is appearing when user inputs Actual Start time on the outage | Outage Scheduler | Conflicting Outage validation should check the submitted dates rather than the old dates stored in database.