| PRR Number |  | PRR Title | Requirement for Back-up QSE Control Center |
| --- | --- | --- | --- |
| ###### Status |  |  |  |
| Protocol Section Requiring Revision |  | Section 4.3.4 |  |
| Requested Resolution |  | ## Normal |  |
| Revision Description |  | This revision is meant to establish the minimum requirements for a QSE back-up control center so that real time scheduling can continue. |  |
| ###### Reason for Revision |  | The services provided by QSEs are an integral part of the ERCOT control area. The security and reliability of the ERCOT system is dependent on the QSE’s ability to schedule. Recent events have proven the necessity for QSEs to have a back-up control center so that their scheduling and ancillary service obligations can resume in the event the primary center becomes inoperable. This revision would establish the requirement for a back-up QSE facility within one year of ERCOT Board approval. |  |
| ## Timeline |  |  |  |
| Date Received |  |  |  |
| Date Posted |  |  |  |
| PRS Review Date |  |  |  |
| PRS Recommendation |  |  |  |

Proposed Protocol Language Revision

### 4.3.4         Operations of the Qualified Scheduling Entity

Scheduling Center Requirement. A QSE shall maintain a 24-hour, seven-day-per-week scheduling center with qualified personnel for the purposes of communicating with ERCOT for scheduling purposes and for deploying the QSE’s Ancillary Services in Real Time.

[PRRXXX:  Insert the following sentences at the end of the paragraph in Section 4.3.4 one-year after Board approval:]

Each QSE shall maintain a back-up facility so that its Real Time scheduling and Ancillary Service functions can resume within six (6) hours.  The back-up facility must be functional no later than one (1) year after ERCOT Board approval of this requirement.

Each QSE back-up facility shall meet the following minimum requirements:

- Remote and secure location that is not subject to flooding or other weather concerns;

- Able to perform critical business functions including Resource Plan entry, Scheduling, Dispatch Instruction, and Ancillary Service deployment;

- Adequate communications in place including Digital Certificates, API, and Portal accessibility; and

- Internal procedures to address switching between facilities.

QSE Representative. Each QSE shall, for the duration of the scheduling process and settlement period for which the QSE has submitted schedules to ERCOT, designate a representative who shall be responsible for operational communications and who shall have sufficient authority to commit and bind the QSE.

| ## Sponsor |  |
| --- | --- |
| Name | Rick Keetch |
| E-mail Address | rkeetch@reliant.com |
| Company | Reliant Energy |
| Company Address | P.O. Box 1700, Houston, TX 77251-1700 |
| Phone Number | 713-207-2526 |
| Fax Number | 713-207-0098 |
| ## ERCOT Impact Analysis |  |
| Date |  |
| Financial Impact |  |
| Analysis |  |
| ## TAC Action |  |
| TAC Vote Date |  |
| TAC Proposed Implementation Date |  |
| TAC Vote Results |  |
| ## ERCOT Board Action |  |
| ERCOT Board Vote Date |  |
| ERCOT Board Implementation Date |  |
| ERCOT Board Results |  |
| ## Appeal |  |
| Appeal Date |  |
| Entity Initiating Appeal |  |
| Nature of Appeal |  |