| PRR Number | 287PRR | PRR Title | Dynamic Resource Transfer (DRT) |
| --- | --- | --- | --- |
| ###### Status |  | Posted |  |
| Protocol Section Requiring Revision |  | 4.9 |  |
| Requested Resolution |  |  |  |
| Revision Description |  | Definition and description of Dynamic Resource Transfers (DRTs) |  |
| ###### Reason for Revision |  | Clarify language in Protocols |  |
| ## Timeline |  |  |  |
| Date Received |  | 01/10/2002 |  |
| Date Posted |  | 01/14/2002 |  |
| Comments Due |  |  |  |
| PRS Review Date |  |  |  |
| PRS Recommendation |  |  |  |
| TAC Consideration |  |  |  |
| Board Consideration |  |  |  |

Proposed Protocol Language Revision

## Dynamic Resource Transfer (DRT)

QSE’s may use dynamic power signals to control generation to match a metered load or obligation. This process is defined as a Dynamic Resource Transfer (DRT).  To utilize a DRT, QSEs must establish Real Time telemetry that will allow ERCOT to record the generation being transferred and to monitor the load-following aspects of the transfer.   ERCOT will integrate the value for each Settlement Interval and provide the integrated value to settlement as the Scheduled Amount for that metered load or obligation.  Settlement will use the integrated value as the QSE’s Supply Schedule for that interval. The integrated values will be used for settlement as a Supply or Obligation schedule by using the correct sign convention for the respective QSEs.

### 4.9.1 Designated Supply Schedule

### The QSEs Schedule will include one Supply Resource, or Fleet, designated to follow the schedule for a designated load or obligation.  The designated Supply Schedule will be estimated in the same manner as the designated load or obligation.  At settlement, the estimated schedule for the designated Resource will be replaced with the integrated power value from the dynamic load or obligation for the entire settlement period.

### 4.9.2 Approval of the Use of Dynamic Resource Transfers (DRT)

- QSEs planning to utilize a DRT must submit a DRT request to ERCOT prior to the DRT start date.  Consideration will be given for time required to establish communication (i.e., RTU, ICCP etc.).  ERCOT will analyze the DRT request for congestion and reliability impacts in accordance with the Operating Guides. ERCOT will notify the requesting QSE(s) of approval, or rejection, of the DRT request.

- A QSE representing Non Opt-In Entities that owned, had under construction, or had contractual rights to Generation Resources, on May 1, 2000, may use DRTs.  Once a Non Opt-In Entity offers Customer Choice, it must submit a new proposal for DRTs to ERCOT for approval.

- ERCOT will approve DRT requests on a case-by-case basis. Approval will be based on the impact of the DRT on ERCOT’s ability to determine and manage Congestion and to monitor Generation Resource and Load behavior and its impact on system reliability.  QSEs representing Non Opt-in Entities may submit DRT requests in accordance with (1) and (2) above.

- DRTs are permitted for intra-congestion zone use only, i.e., both the resource and the load/obligation are located in the same Congestion Management Zone.

### 4.9.3 Principles for Dynamic Resource Transfers (DRTs)

- All power signals for DRTs will be sent to ERCOT in Real Time via telemetry or other ERCOT-approved data acquisition methods.

- Each DRT will be tied to a load meter, group of load meters, or a varying obligation. This tie will include any load calculated by subtracting interchange telemetry from actual generation telemetry. The calculation will be adjusted for T&D Losses.

- QSEs utilizing DRTs will provide a dynamic power signal(s) to ERCOT.  DRT requests will indicate the range of the dynamic power signal to be used in creating the QSE’s final schedule.  The QSE sending the energy shall provide a signal to ERCOT indicating the amount of load transferred.  The receiving QSE shall provide an RTU signal to ERCOT indicating the amount of energy received.

- Each QSE utilizing a DRT will include an estimate for the integration of the QSE’s schedule for each Settlement Interval in schedules and plans submitted to ERCOT.  The schedule integration estimates will be used for allocation of RPRS costs.

- ERCOT will integrate the dynamic power signal provided by the QSE for each Settlement Interval. This integrated signal shall replace the estimate and will be used in settlement as the final schedule. DRTs do not alter the settlement process for metered Loads.

- If a DRT signal is lost for any reason, ERCOT will immediately notify both the sending and receiving QSEs.  ERCOT will use the final schedule for Settlement purposes pending confirmation of more reliable data and agreement or acceptance between the involved QSEs.

- ERCOT will use the DRT signal in each of the applicable QSE’s SCE equation.

### 4.9.4 Approval of the Use of Dynamic Resource Transfers

DRTs will be approved unless ERCOT determines that the system cannot accommodate these transfers without compromising reliability or settlement accuracy.  Each QSE proposing to use a DRT will submit a request for approval to ERCOT for analysis of potential congestion and reliability impact.

### 4.9.4  Principles for Dynamic Resource Transfers

For settlement purposes, DRTs may be used to transfer responsibility for Supply from one QSE to another QSE within the same Congestion Zone. The total energy scheduled from each Supply, added together, will not change. As the DRT of one QSE changes there must be an equal and opposite change in the DRT schedule of the other QSE.

Only one of the QSEs will act as the controller of the Real Time Schedule and will send a Real Time signal to ERCOT representing the QSE’s power commitment to the other QSE. The Dynamic Schedule of the other QSE will be adjusted correspondingly by ERCOT such that the total scheduled amount of Supply from the two QSEs equals the total energy scheduled by the Real Time Schedules prior to Real Time.

Each QSE must enter an Inter-QSE Trade to represent the DRT prior to the Operating Period. DRTs will meet the telemetry requirements of ERCOT and must be updated at a rate compatible with ERCOT frequency control system.

| ## Sponsor |  |
| --- | --- |
| Name | Jim Calloway |
| E-mail Address |  |
| Company | Calpine |
| Company Address |  |
| Phone Number | 713/830-8865 |
| Fax Number |  |
| ## ERCOT Impact Analysis |  |
| Date |  |
| Financial Impact |  |
| Analysis |  |
| ## TAC Action |  |
| TAC Vote Date |  |
| TAC Proposed Implementation Date |  |
| TAC Vote Results |  |
| ## ERCOT Board Action |  |
| ERCOT Board Vote Date |  |
| ERCOT Board Implementation Date |  |
| ERCOT Board Results |  |
| ## Appeal |  |
| Appeal Date |  |
| Entity Initiating Appeal |  |
| Nature of Appeal |  |