White Paper on Dynamic Resource Transfer (“DRT”)

# Background

Market Participants have identified the desire to use inter-QSE (QSE-to-QSE) energy transfers in the deregulated ERCOT market. Use of inter-QSE energy transfers will be used for transfers within the same Congestion Management Zone only.  For purposes of discussion this method of inter-QSE transfer shall be called a Dynamic Resource Transfer (“DRT”). The use of DRT will allow QSEs to dynamically meet obligations without co-mingling resources on the obligation side of the balanced schedule.  This document describes a method that allows QSEs to utilize inter-QSE transfers without impacting ERCOT’s ability to properly schedule, energy flows, complete settlement activities or to perform required  reliability studies.  This paper describes the base functionality of the DRT and provides a reference to market participants and ERCOT for implementation of transfers. This document also  provides the basis for the revision of PRR #287.

Fundamental Principles of the DRT :

- The QSE designated as the “buyer”, or receiver, of the generation transfer will be known as the Controlling Entity (“CE”).

- The QSE designated as the “seller”, or sender, of the generation transfer will be known as the Following Entity (“FE”).

- As used in conventional tie-line flows, a negative sign (-) indicates a CE’s intent to import power. A positive sign (+) indicates a CE’s intent to export power.

- For all scheduled flows, the CE will provide ERCOT a real-time signal ( of the transaction amount via ICCP or RTU.

- Each DRT will have only one CE and one FE.

- For multiple DRTs between the same two QSEs, “netting” of values will be performed by summing schedules with transfers in the same direction (+ or - sign) (by CE).

- QSEs utilizing the DRT process will have established communication methods, either ICCP or RTU, sufficient to send and receive the signals and/or information necessary to complete the transfer

- DRTs shall be used to transfer power between QSEs within the same Congestion Management Zone only.

- Minimum and maximum ramp rates will be agreed to by the QSEs prior to initiating a DRT transfer.

- Market Participants using the DRT process will submit the following information to ERCOT prior to initiating a DRT:  1) CSC Zone, 2) maximum value, 3) unit/units supplying energies, and 4) other information required by ERCOT. ERCOT approval of the inter-QSE transfer is necessary prior to implementation.

Figure 1 provides a functional diagram of signal paths for a typical DRT.

Figure 1

Typical DRT Data Flows

Acknowledgement from the “FE”

# QSE ‘X’

(“CE”)

# QSE ‘Y’

(“FE”)

# ERCOT

# ISO

Signal (-) to ERCOT via ICCP, RTU, etc. to be used for QSE Y SCE calculation and settlement.

Signal (-) to “FE” via ICCP, RTU, etc.

ERCOT provides Verbal notification of communication Failure to both parties.

A Simple Scenario Using a DRT:

Assumptions:

- QSE X plans to buy up to 75 MW dynamically from QSE Y.

- QSE X agrees to send a dynamic signal via its EMS to QSE Y’s EMS.

- QSE X, the Controlling Entity (CE), sends a dynamic positive signal (-) to ERCOT via its ERCOT RTU.

- QSE X transmits a negative (-) signal indicating a desire of QSE X to import power. QSE Y is the Following Entity (FE).

- All required paperwork has been provided to ERCOT.

- The DRT request has been approved by ERCOT.  Assume a maximum response rate for the DRT of 50 MW/Min.

- In the event communication errors are identified with either the CE or FE, ERCOT will notify both entities immediately.

Data Flows:

The CE sends a negative 50 signal to the FE.

The CE sends a negative 50 signal to ERCOT ISO.

ERCOT ISO verifies that the signal from the CE complies with the DRT documentation submitted.

Control Actions:

The FE increases generation, or other dynamic resources, by 50 MWs via EMS to drive its SCE up to zero.

The CE reduces generation, or other dynamic resources, by 50 MWs via EMS to drive its SCE down to zero.

ERCOT shall calculate the SCE for both the FE and the CE to include the DRT.

ERCOT multiplies the signal value sent by the CE by (-1) for use in the FE’s SCE calculation.

ERCOT ISO shall integrate the real-time signal from the CE for each settlement interval as a generation offset.

ERCOT ISO shall multiply the integrated value for the CE by (–1) and use for the FE for each settlement interval as a generation offset.

For the purposes of counter party power accounting and ERCOT settlement, the value of the power transfer will be integrated to an energy (MWh) integer value for each settlement period by use of conventional rounding with no carryover of decimal remainders.

Real-Time Example:

Assume that the dynamic signal from the CE to the FE  and to ERCOT is not rate limited.

Assume that the CE desired 50 MWs from the FE.

Dynamic Signal at zero

CE			FE

(QSE X)		       (QSE Y)

Generation:			1000			1250

Static Schedule:			1000			1250

Frequency:			60.000			60.000

Ancillary Services:		0			0

UBES:				0			0

DBES:				0			0

DC Curtailments:			0			0

Signal to FE:			0			0

Signal to ERCOT ISO:		0			0

SCE (CE)	= Generation – Obligations

“		= (1000) – (1000)

“		= 0

SCE (FE)	= Generation – Obligations

“		= (1250) – (1250)

“		= 0

Dynamic Signal changes instantaneously to –50

CE			FE

(QSE X)		        (QSE Y)

Generation:			1000			1250

Static Schedule:			1000			1250

Frequency:			60.000			60.000

Ancillary Services:		0			0

UBES:				0			0

DBES:				0			0

DC Curtailments:			0			0

Signal to FE:			-50			-50

Signal to ERCOT ISO:		-50			-50

SCE (CE) = Generation – Obligations

= (1000 – (-50)) – (1000)

=  1050 – 1000 = 50

SCE (FE) = Generation – Obligations

= (1250 + (-50)) – (1250)

= 1200 – 1250 = -50

Notes:

When a DRT signal is initiated the CE’s SCE goes positive by the amount of the DRT signal.  The FE’s SCE goes negative by the amount of the DRT signal. ERCOT ISO calculates the same SCE for the CE and FE on EMS.  ERCOT ISO will integrate the CE signal for use in settlements as described below.

Settlement Example:

DRT from the CE integrated to –50 MWh for the 15-minute settlement period

.

QSE X (CE)	       QSE Y (FE)

Generation Meter MWH		  950			1300

- DRT (calc by ERCOT)		  -50			    50

- Static Schedules			1000			1250

- Ancillary Services			      0			      0

- UBES				      0			      0

- DBES				      0			      0

- DC Curtailments			      0			      0

Error					      0			      0

Observations

Neither of the CE and FE obligation values are changed but their apparent generation or resource values do change. Both parties are held whole during the ERCOT settlement process via the use of the DSG signal provided to ERCOT. Both entities real-time SCE properly reflects whether their respective resources should increase or decrease

Using this method and the conventions indicated, the respective power balances and SCE calculations for the QSEs are altered only on the generation side and the obligations of each entity continue to be met without corrupting the parties’ SCE values.

Issues and Recommendations

Outstanding items to be addressed in crafting the bilateral agreement for the DRT:

Loss of communications between the QSEs – It is recommended that the QSEs shall have in place written formal operating procedures that clearly define the course of action if telemetry is interrupted between the QSEs. These procedures are between the QSEs but ERCOT should review to determine if generally accepted utility practices are followed in the procedures to ensure safe reliable operation of the grid

DRT not in service – It is recommended that the QSEs pass a DRT ON/OFF flag between themselves. This flag will allow the DRT to be turned off or on automatically without multiple phone calls.

Loss of Communication with ERCOT – It is recommended that if ERCOT determines that the DRT signal from the CE is out of scan then ERCOT shall notify both the CE and the FE of the condition. All three parties shall then agree on the current value of the DRT. The proper entity shall then examine the out-of-scan situation and inform the other entities of the situation duration. With this information, the parties will then determine the proper course of action for the DRT. Manually replacing the DRT value in the parties EMS is one alternative.

Number of potential QSE to QSE signals – Issue needs to be discussed among the parties.

Netting of DRT signals – It is strongly recommended that DRT signals can be netted with other DRT signals only if the DRT have the same CE and are within the same CMS.

Administration

At least two weeks prior to initializing a DRT schedule, the QSE involved in the DRT shall file an abstract of the scheduling and signal arrangements with ERCOT.