| PRR Number | 287PRR | PRR Title | Dynamic Resource Transfer (DRT) |
| --- | --- | --- | --- |
| ###### Status |  | Posted |  |
| Protocol Section Requiring Revision |  | 4.9 |  |
| Requested Resolution |  |  |  |
| Revision Description |  | Definition and description of Dynamic Resource Transfers (DRTs) |  |
| ###### Reason for Revision |  | Clarify language in Protocols |  |
| ## Timeline |  |  |  |
| Date Received |  | 01/10/2002 |  |
| Date Posted |  | 01/14/2002 |  |
| Comments Due |  |  |  |
| PRS Review Date |  |  |  |
| PRS Recommendation |  |  |  |
| TAC Consideration |  |  |  |
| Board Consideration |  |  |  |

Proposed Protocol Language Revision

## 4.9	Schedules

QSE’s may use dynamic power signals to control generation to match a metered load or obligation.  This process is defined as a Dynamic Resource Transfer (DRT).  To utilize a  DRT,  the QSE must establish Real Time telemetry that will allow ERCOT to record the generation being transferred and to monitor the load-following aspects of the transfer.    ERCOT will integrate the value for each Settlement Interval and provide the integrated value to settlement as the scheduled amount for that metered load or obligation. Settlement will also use this integrated value as the QSE’s Supply schedule for that interval. The integrated values will be used for settlement as a Supply or Obligation schedule by using the proper sign convention for the respective QSE..

    - Designated Supply Schedule

### The QSE’s schedule will include one Supply Resource or fleet designated to follow the schedule for a designated load or obligation.  The designated Supply schedule will be estimated in the same manner as the designated load or obligation.  At settlement, the estimated schedule for the designated Resource will be replaced with the integrated power value from the dynamic load or obligation for the settlement period.

### 4.9.2	Approval of the Use of Dynamic Resource Transfer

- A QSE  planning to a DRT  must submit a DRT  request  to ERCOT for approval.  The DRT request must be submitted sufficiently prior to the planned implementation date to allow ERCOT analyze the request  impact on congestion and reliability in accordance with the Operating Guides.  Installation and verification of required telemetry between the QSE(s) and ERCOT is required prior to implementation of the DRT.  ERCOT will notify the requesting QSE(s) of approval, or rejection, of the DRT request.

- A QSE representing Non Opt-In Entities that owned, had under construction, or held contractual rights to Generation Resources, as of May 1, 2000, may use DRTs.  Once a Non Opt-In Entity offers Customer Choice, it must submit a new proposal for DRT to ERCOT for approval.

- ERCOT will approve other DRTs  on a case-by-case basis. Approval will be based on the DRT’s  impact on ERCOT’s ability to determine and manage Congestion and to monitor the generation resource and load behavior associated with the schedule and its impact on system reliability.  QSEs representing Non Opt-in Entities may submit DRT requestsoposals in accordance with (1) and (2) above.

(4)   DRTs are permitted for intra-congestion zone use only, i.e., both the resource

and the load/obligation are located in the same Congestion Management Zone.   New proposals for Dynamic Schedules within Congestion Zones will be considered after June 1, 2001 and across Congestion Zones after June 1, 2002.

4.9.3	Principles for Dynamic  Resource Transfers

- All power signals for Dynamic Schedules must be sent to ERCOT in Real Time via telemetry or other ERCOT-approved data acquisition methods..

- Each Dynamic Schedule will be connected to a load meter or group of load meters. This connection will includeany load that is calculated by subtracting interchange telemetry from actual generation telemetry.  This calculation will be adjusted to account for associated T&D losses.

- QSEs using  DRTs willprovide dynamic power signal or signals to ERCOT.  DRT requests will indicate the range of the dynamic power signal to be used in creating the QSE’s final schedule.  The QSE sending the energy shall provide a signal to ERCOT indicating the amount of load transferred.  The receiving QSE shall provide an RTU signal to ERCOT indicating the amount of energy received.

- Each QSE with a Dynamic Schedule will include in its schedules and plans submitted to ERCOT, an estimate for the integration of the schedule for each Settlement Interval.  These schedule integration estimates will be used for allocation of RPRS costs.

- ERCOT will integrate the dynamic power signal provided  by the QSE for each Settlement Interval. This integrated signal shall replace the estimate and will be used in settlement as the final schedule. DRTs do not alter the settlement process for metered loads.

- If a DRT signal is lost for any reason ERCOT will immediately notify both the sending and receiveing QSEs.  ERCOT will use the finial schedule for Settlement purposes pending confirmation of more reliable date and the agreement or acceptance between the involved QSEs.

- ERCOT will use theDRT signal in each of the applicable QSE’s SCE equation.

### Approval of the Use of Dynamic Resource Transfers

DRTs will be approved unless ERCOT determines that the systems cannot accommodate these transfers without compromising reliability or settlement accuracy.  Each QSE requesting a DRT schedule will submit a DRT request  to ERCOT for analysis of potential congestion and reliability impacts in accordance with the Operating Guides.

### Principles for Dynamic Resource Transfers

DRT may be used to transfer responsibility for Supply from one QSE to another QSE within the same Congestion Zone for settlement purposes. The total energy scheduled from each Supply, added together, will not change. As the DRT schedule of one QSE changes there must be an equal and opposite change in the  DRT schedule of the other QSE.

One of the QSEs will act as the controller of the Real Time Dynamic Schedule and will send a Real Time signal to ERCOT that represents that QSE’s current power commitment to the other QSE. The schedule of the other QSE will be adjusted correspondingly by ERCOT such that the total scheduled amount of Supply from the two QSEs equals the total energy scheduled by the DRT schedules prior to Real Time.

Each QSE must enter an Inter-QSE Trade to represent a RspT prior to the Operating Period. RspTs will meet the telemetry requirements of ERCOT and must be updated at a rate compatible with ERCOT frequency control system.

Certain PUCT mandated Capacity Auction Products (as defined in PUCT S.R. §25.381) allow the entitlement holder (Buyer) to provide Balancing Energy Service to ERCOT whenever a Responsibility Transfer (“RspT”) between Buyer’s and Seller’s respective QSEs is established.  A simplified procedure to facilitate the provision of Balancing Energy from Capacity Auction Products is set forth in the Protocols under Section 6.5.2.1, Balancing Energy Service Bids from Bilateral Contracts.

| ## Sponsor |  |
| --- | --- |
| Name | Jim Calloway |
| E-mail Address |  |
| Company | Calpine |
| Company Address |  |
| Phone Number | 713/830-8865 |
| Fax Number |  |
| ## ERCOT Impact Analysis |  |
| Date |  |
| Financial Impact |  |
| Analysis |  |
| ## TAC Action |  |
| TAC Vote Date |  |
| TAC Proposed Implementation Date |  |
| TAC Vote Results |  |
| ## ERCOT Board Action |  |
| ERCOT Board Vote Date |  |
| ERCOT Board Implementation Date |  |
| ERCOT Board Results |  |
| ## Appeal |  |
| Appeal Date |  |
| Entity Initiating Appeal |  |
| Nature of Appeal |  |