# APPROVED – 02/07/02

MINUTES OF THE ERCOT TECHNICAL ADVISORY COMMITTEE (TAC) MEETING

ERCOT Austin Office

# 7620 Metro Center Drive

#### Austin, Texas

#### January 3, 2002

Chair Les Barrow called the meeting to order on January 3, 2002 at 9:45 a.m.

Attendance:

| Dreyfus, Mark | AEN | Guest |
| --- | --- | --- |
| Ramirez, Andy | AEN | Member |
| Ross, Richard | AEP | Member |
| Werner, John R. | AES NewEnergy | Member |
| Helton, Bob | ANP | Member |
| Holligan, Jeff | BP Energy | Member |
| Lenox, Hugh | Brazos Electric Cooperative | Member |
| Smith, Richard | Brownsville PUB | Member |
| Calloway, Jim | Calpine | Member Representative (for Jones) |
| Greer, Clayton | Constellation Power Source | Member |
| Barrow, Les | CPS | Member /Chair |
| Jones, Dan | CPS | Guest |
| Hughes, Hal | Denton | Guest |
| Mays, Sharon | Denton | Member |
| Huddleston, Barry | Dynegy | Member/WMS Chair |
| Lane, Terry | Dynegy | Guest |
| Conto, Jose | ERCOT | Staff |
| Dautel, Pamela | ERCOT | Staff |
| Donohoo, Ken | ERCOT | Staff |
| Grimm, Larry | ERCOT | Staff |
| Jones, Sam | ERCOT | COO |
| Mellon-Werch, Michelle | ERCOT | Staff |
| Moseley, Cheryl | ERCOT | Staff |
| Tucker, Don | ERCOT | Staff |
| Walker, Mark | ERCOT | Staff |
| Trenary, Michelle | First Choice Power | Member |
| Garza, Beth | FPL Energy | Member |
| Zarnikau, Jay | Frontier Associates | Guest |
| Kimbrough, Todd | Green Mountain | Member |
| Belk, Brady | LCRA | Member Representative (for Phillips) |
| Phillips, Ross | LCRA | Member |
| Bruce, Mark | Legislative Oversight Committee | Guest |
| Wittmeyer, Bob | Longhorn Power | Member |
| Stockstill, Dottie | Mirant | Member |
| Herrera, John | MVEC | Member |
| McClellan, Suzi | OPUC | Member |
| Downey, Marty | PG&E | Member |
| Adib, Parviz | PUCT | Guest |
| Schubert, Eric | PUCT | Guest |
| Daniels, Howard | Reliant Energy | Guest |
| Gastineau, Paul | Reliant Energy | Guest |
| Gresham, Kevin | Reliant Energy | Member Representative (for Meyer)/PRS Chair |
| Houston, John | Reliant Energy | Guest |
| Stricklin, Lance | Reliant Energy | Guest |
| Shumate, Walt | Shumate & Associates | Guest |
| Wood, Henry | STEC | Member/ROS Chair |
| Comstock, Read | Strategic Energy | Member |
| Bell, Wendell | TPPA | Guest |
| Fenoglio, Walt | TXU | Acting RMS Chair |
| Jenkins, Charles | TXU | Member |
| Ward, Jerry | TXU | Guest |
| Reynolds, Jim | Utility Choice Electric | Member |

The following Proxies were held:

- Linda Whatley – held by Jeff Holligan

- Ed Mader – held by Suzi McClellan

- Jill Hall – held by Suzi McClellan

### Select TAC Chair and Vice Chair for 2002

Les Barrow asked for nominations for TAC Chair.  Beth Garza nominated and Jim Calloway seconded the nomination of Les Barrow for Chair.  Bob Wittmeyer nominated and Marty Downey seconded the nomination of Dottie Stockstill for Chair.  The voting resulted in Les Barrow being re-elected as Chair of the TAC for 2002.

Barrow then asked for nominations for TAC Vice Chair.   Sharon Mays nominated and Marty Downey seconded the nomination of Dottie Stockstill for Vice Chair.  The nomination was approved by acclamation.

- Approval of Minutes of the December 6, 2001 TAC Meeting

A motion was made by Dottie Stockstill and seconded by Beth Garza to approve the draft December 6, 2001 TAC Meeting Minutes as amended.  The motion was approved by a unanimous voice vote.

- ERCOT Board Update

Les Barrow reported on the activities of the Board.  The Board elected Jack Hawks as Chair and Milton Lee as Vice Chair for 2002.  The Board discussed PRR 298 and the effect of the delay of the change in the settlements calendar.  The Board remanded PRR 298 to the TAC for further clarification.  The Board was particularly concerned that delaying data aggregation associated with initial settlement would result in data from the same day, one week previous, not being available for Ancillary Service Obligation calculation.  The Board also approved PRR 300, however, PRR300 was amended to include language proposed by the PUCT’s MOD related to TCR ownership (limit of 25 percent).

- PRR 298 – Revise Settlements Calendar: Requests changes to the Settlement Payment Calendar for Initial Statements and Final Statements only.  The payment dates are kept the same according to the settlement calendar by changing the due dates of invoices from net-30 to either net-16 or net-9, depending on the preferred 2 or 3-week change approved.  In addition to the revisions proposed by PRR 298, ERCOT recommended modification of the invoice payment due to a Business Day rather than a specific time.  The current due time has been problematic in that there is no “time guarantee” in processing wires through the Fed Wire or ACH systems.  Typical business processes require payments as of a particular Business Day rather than specify a time.  It would be more practical to have payments that are due in to settle on one day, and payments due out to settle on the next Business Day.  (Effective 01/01/02, approved as revised, no System impact).  ERCOT subsequently requested that Sections 9.4.1, 9.4.2, 9.4.3, 9.4.4 and 16.2.9 also be modified and that the effective date of PRR 298 be January 4, 2002.

- Barry Huddleston and Sam Jones discussed the Settlements Calendar issue related to the accuracy of ancillary service requirements.  The TAC discussed performing additional data aggregation runs.  ERCOT expressed concern about the time required for the additional run and that additional machine power would be needed.  ERCOT agreed to perform a cost/benefit analysis and report to the TAC in February.  The Protocol Revision changing the payment deadlines (10:00 a.m.) is considered a critical issue.  Cheryl Moseley provided revised payment deadline language.  A motion was made by Bob Helton and seconded by Dottie Stockstill to retain only the payment part of PRR 298 where the payment date is extended from 10:00 a.m. to the close of the business day.  A new PRR should be developed to address settlement issues.  After discussion, the motion was withdrawn.

- A motion was made by Beth Garza and seconded by Barry Huddleston that PRR 298 only address payment date changes utilizing comments submitted by ERCOT addressing payment dates.  PRR 298 should be effective January 21, 2002 pending Board approval.  The motion was approved by a unanimous voice vote.  A motion was then made by Sharon Mays and seconded by Richard Smith to direct the PRS to create a new PRR (PRR 308) to address remaining settlement issues and consider urgent.   The motion was approved by a unanimous voice vote.

The Governance Committee was created in accordance with the new ERCOT Bylaws and John Stauffacher will chair the group.  The Board accepted Tex-La Electric Cooperative of Texas, Inc. as an Adjunct Member in ERCOT.

For details, the draft minutes of the December 18, 2001 ERCOT Board Meeting will be posted on the ERCOT Web Site.  The next Board Meeting is scheduled for January 15th.

- Protocol Revisions Subcommittee (PRS) Report

Kevin Gresham reported on the activities of the PRS.  Gresham discussed the following PRRs that the PRS was recommending be placed on an expedited timeline:

- PRR 303 – Move-in Rejection Changes

- PRR 304 – Un-executable Move-in

- PRR 305 – Inter-QSE Trades Under Direct Assignment Cost Allocation

Proposed Timeline:

Comments due to PRS	01/11/2002

PRS Review	01/16/2002

PRS Recommendation to TAC	01/18/2002

Comments on PRS Recommendation	02/04/2002

TAC Consideration	02/07/2002

Board Consideration	02/19/2002

A motion was made by Richard Ross and seconded by Todd Kimbrough to approve the urgent timeline for PRRs 303, 304, and 305 as recommended by the PRS.  The motion was approved by a unanimous voice vote.

Gresham then presented and discussed the following PRRs for approval:

- PRR 261 – CR Notification:  This PRR adds an option that places additional responsibility on the CRs.  A new DTM Code in the 814_12 (REF) when ERCOT is forwarding the move-in date change to the Current REP of record.  This only applies when the move-in date change request date is after the originally scheduled move-in date so that the Current CR knows to send a move-out date change request if it so desires.  CRs need to be able to handle this in an automated fashion (effective 07/01/02, approved as re-drafted by RMS and submitted on 12/03/2001, impacts System).

- PRR 289 – Block Load Transfers:  This PRR simplifies the manner that the ERCOT Protocols accommodate Block Load Transfers and makes the treatment of ERCOT and Non-ERCOT loads similar.  Removes the boxed text in PIP209 (effective 02/01/02, unless an impact to the system is identified, currently under review for impact, approved as revised).  Henry Wood noted that an additional PRR would be required to address how generators are treated in the affected blocked area.

- PRR 302 – BUL Capacity Payment Calculation:  This PRR establishes a baseline approach for calculating the BUL capacity payment based on historical data.  The baseline would be based on a 10-day or six-day average of actual metered load.  The baseline will be adjusted to actual load in the two hours prior to notice to reflect temperature sensitive load and to address gaming concerns (effective concurrent with PIP112, approved as revised).

The TAC discussed concerns that there is language in the Protocols but the systems to implement are not operational.  A motion was made by Richard Ross and seconded by Henry Wood to approve PRRs 289 (with language inserted “…as monitored by the TDSP…” in Section 5.7.(7) after “Transmission BLT metering points utilized 5 or more times per year…”) and 302 as recommended by the PRS.  The motion was approved by a unanimous voice vote.

A motion was made by Bob Wittmeyer and seconded by Bob Helton to approve PRR 261 as recommended by the PRS with an effective date in conjunction with the implementation of Version 1.5.  The motion was approved by a unanimous voice vote.

For details, the PRS Meeting Minutes are posted on the ERCOT Web Site.  The next PRS Meeting is scheduled for January 16, 2002.

- Retail Market Subcommittee (RMS) Report

Walt Fenoglio reported on the activities of the RMS.  Fenoglio reported that the RMS reviewed PRR 283 and recommended that it remain as originally submitted to the TAC.  The PRR changed PIP 204 to provide Market Participants Data for ERCOT Populated ESI IDs via a data extract instead of 867_03 EDI transactions and added the requirement to provide Market Participants EPS Meter Recorder (RIDs) level data via a data extract.  A motion was made by Beth Garza and seconded by Kevin Gresham to waive the seven-day notice to allow the TAC to take action on this issue.  The motion was approved by a unanimous voice vote.  A motion was made by Beth Garza and seconded by Kevin Gresham to approve PRR 283 as originally recommended by the PRS and submitted to the TAC.  The motion was approved by a unanimous voice vote.

The RMS is also working on an Implementation Guide Proposal for the Critical Care filing that was recently approved by the PUCT.  At the December 20th RMS Meeting, each TDSP presented its current implementation plan and schedule, including testing and the date that its 867_03 Contingency Plan Process will be in place and operational.  The plans for AEP, Reliant, and TXU will be operational by the end of January to be used by Market Participants as necessary.

Fenoglio reported on supplementing the current testing process with automated testing – Testing on Demand.  Testing on Demand is the use of dedicated systems and databases so that a MP can automatically verify transactions and test independently of all other MPs.  Utilizing automation in Retail Testing will simplify the testing process, minimize testing barriers for new market participants to enter the market, and expedite the certification process.  The customer migration plan that is to be used for the migration of the TDSP to the affiliated REP is in process.

For details, the RMS Meeting Minutes are posted on the ERCOT Web Site.  The next RMS Meeting is scheduled for January 9, 2002.

- Wholesale Market Subcommittee (WMS) Report

Barry Huddleston reported on the activities of the WMS.  The PRS had requested that the WMS further review and possibly revise PRR 287 related to Dynamic Scheduling.   The WMS discussed PRR 287 and that it is being rewritten to incorporate language from a WMS sponsored “White Paper”.   These revisions clarify that dynamic scheduling of resources between QSEs is to be allowed, as well as clarify details of responsibility transfers to conform with ERCOT systems capability.

Huddleston noted that at a previous meeting, the WMS had received a presentation related to the Settlement Metering Operating Guides (SMOG).  At that time, a Change Control Process had not been completed and was not included in the SMOG.  The Metering Working Group has added the Change Control Process to the document as Attachment G and Bates discussed.  This process has been established to announce, develop, revise, and approve changes to the SMOG.  Don Tucker responded to questions.  A motion was made by Richard Ross and seconded by John Herrera to approve the SMOG, including the Change Control Process, as distributed.  The motion was approved by a unanimous voice vote.

Jerry Ward summarized the definitions of a Closely Related Element (CRE) and a Boundary Generation Resource (BGR).  Ward then discussed proposed CREs and BGRs for the CSCs to be used in 2002.  CSCs for 2002 were identified as follows:

- Graham to Parker 345 kV Double Circuit

- Temple to Sandow 345 kV Double Circuit

- STP to Dow 345 kV Double Circuit

BGRs were identified for CREs as follows:

- Around Graham to Parker CSC – None

- Around Temple to Sandow CSC – Lake Creek and Sandow

- Around STP to Dow CSC – Dow and Texas Gulf

Ward proposed that TCRs be sold in both directions on the Parker to Graham 345 kV Double Circuit since there are limits in both directions.  It was suggested that it should be clarified that CSCs and TCRs are unidirectional.  A motion was made by Beth Garza and seconded by Bob Helton to approve the CREs and BGRs as presented and recommended by the WMS.  The motion was approved by a 28 to 0 vote with one abstention.

A motion was made by Charles Jenkins and seconded by Brad Belk to approve Parker to Graham as a fourth CSC and that the CREs associated with this fourth CSC are the same as those associated with the Graham to Parker CSC.  The motion was approved by a 28 to 0 vote with one abstention.

The TAC discussed the methodology used to determine the TCRs for each CSC.  A motion was made by Brad Belk and seconded by Henry Wood to approve the number of Pre-Assigned Congestion Rights (PCRs) for each of the four CSCs.  The motion was approved by a unanimous voice vote.  Dautel agreed to distribute the draft auction notice previously distributed and amended during the TAC Meeting.

For details, the WMS Meeting Minutes are posted on the ERCOT Web Site.  The next WMS Meeting is scheduled for January 7, 2002.

- Reliability and Operations Subcommittee (ROS) Report

Henry Wood reported on the activities of the ROS.  Wood reported on the status of the study to utilize load to offset Responsive Reserve Obligations.  Wood presented and discussed a scope that was developed and reviewed the objective of the study.  The study will take approximately six months (June 2002).  Currently, based on preliminary studies, 25 percent is currently being allowed.  The TAC directed the ROS to continue its studies to determine the amount of load that can be used to offset Responsive Reserve Obligations.

The ROS is continuing to attempt to address concerns related to frequency control and ERCOT’s ability to deploy balancing and regulation service.  It is unclear whether it is an ERCOT or a QSE control or operating performance problem.  ERCOT has six months to resolve and be in compliance with NERC CPS 2.  Wood emphasized that due to data confidentiality issues, the PDCWG and ROS were unable to conduct a study.  Wood discussed ERCOT CPS performance since August 2001 and the NERC Level of non-compliance and penalties that would have been imposed as a result of the non-compliance.  Wood discussed a draft RFP for a Frequency Control Study that was developed by the ROS.  The TAC discussed at length, including whether or not the frequency excursions experienced to date are a “reliability problem”.  It was suggested that the focus of any study should be on system behavior after unit trips.  Wood requested that the TAC closely review Phase 1 of the study scope and that it be adopted at a subsequent TAC Meeting.  The TAC discussed the possible need to develop enforceable performance standards.  ERCOT agreed to solicit proposals for a Frequency Control Study using the scope defined in the RFP developed by the ROS as a basis.  ERCOT will return to the TAC for additional discussion and further direction after proposals are received.

For details, the ROS Meeting Minutes are posted on the ERCOT Web Site.  The next ROS Meeting is scheduled for January 10, 2002.

- Operations Report

Sam Jones reported that as of January 1, 2002, the full retail market is open.  ERCOT implemented the four zone conversion on New Year’s Eve and has found only a couple of minor issues that are being followed up on at this time. ERCOT experienced an unexpected event on New Year’s Eve.  All four of the satellite clocks on Package 1 suddenly shifted to August 16, 2021 just prior to midnight GMT (7:00 pm local).  The computers then stopped since there were no operations databases for a date almost 20 years in the future.  ERCOT implemented its contingency operating procedures and ERCOT IT Staff was on site to diagnose and correct the problem.  The problem was corrected and the system was returned to normal operation.  There was no reliability impact or significant financial issues that ERCOT is aware of. The vendor has provided the fix for the clocks and is reviewing the issue.  The vendor has indicated that this was caused by a software “patch” they used two years ago as a Y2K work around.  Kent Saathoff discussed congestion problems on the Sandow to Temple Circuit.

Bill Bojorquez reported on Retail Operations.  The retail mechanics (switching) system for full market was actually in service with the successful conversion to Version 1.4 software on December 17th.  There are currently 135,000 customer switches scheduled.  ERCOT is now averaging about 2,000 switch requests per day.  The systems are performing well and as required to meet the total workload.  Bojorquez noted that issues are being encountered and addressed.

- Prioritization Process for ERCOT System Design Changes

Kevin Gresham distributed and discussed a proposed Prioritization Process for ERCOT System Design Changes developed by the PRS.  Gresham discussed details of the proposed prioritization process and the process goals.  Sam Jones reminded the TAC that there are resource limitations ($5 Million in 2002).  The PRS was directed to revise the PRS Procedures to incorporate the language in the proposed Prioritization Process for ERCOT System Design Changes Document.   Cheryl Moseley distributed an updated prioritized list of projects.

- TAC Meeting Schedule for 2002

The TAC discussed its meeting schedule for 2002.  The TAC agreed on the following meeting schedule:

| February 7th | August 8th |
| --- | --- |
| March 7th | September 5th |
| April 4th | October 3rd |
| May 9th | November 7th |
| June 6th | December 5th |

Since the meeting for July would normally fall on July 4th, the meeting was not yet scheduled.  Dottie Stockstill suggested that an Orientation and Planning Session be held on Wednesday afternoon, February 6th to discuss current and upcoming issues, priorities, etc.

The next TAC Meeting is scheduled for February 7, 2002 from 9:30 p.m. to 4:00 p.m. to be held at the ERCOT Austin Office.

There being no further business, the meeting was adjourned at 4:05 p.m. on January 3, 2002.