# Load Profiling Methodology

## Introduction

This section of the Load Profiling Operating Guides (LPOG) describes the periodic evaluation of the Load Profiling Methodologies as specified in ERCOT Protocols Section 18.2.9.

The procedure to request a change to Load Profiling Methodologies is presented in LPOG Section 6, “Request for Changes to Load Profiling Methodology.”

There shall be no retroactive application of any approved modifications to Load Profiling Methodology.

## Timing

ERCOT shall review Load Profiling Methodologies annually. When special circumstances warrant, a more immediate review may be necessary.  The findings of all Load Profiling Methodology reviews shall be presented to the Profiling Working Group (PWG) for consideration.

## Considerations for Load Profiling Methodology Evaluation

The evaluation will consider the following factors, which is neither an exclusive nor an exhaustive list:

### Load Profile Model Performance

Model performance serves as a basis for evaluating Load Profiling Methodology.  The result of Load Profile Model performance evaluations will help determine if a methodology modification is necessary. Load Profile Model performance shall be evaluated according to LPOG Section 7 “Load Profile Models”.

### Methodology Performance

The performance of alternative Load Profiling Methodologies shall be assessed according to the evaluation criteria presented in LPOG Section 7, “Load Profile Models”.

### Effect of Proposed Alternative Methodology

The effect of the proposed alternative methodology on load profiling issues needing resolution will be a consideration in evaluating the methodology.  Alternative Load Profiling Methodologies may mitigate, intensify or have no effect on these issues. These effects shall be assessed for probability and manageability. Some effects of the alternative methodology may include the following:

  - Unusual events that affect the ERCOT system;

  - Dramatic changes in a relatively short period of time;

  - Sensitivity of the methodology to random error;

  - Changes to data quality; and

  - Impacts to the cost.

### Practical Implementation of Load Profiling Methodology

The practical implementation of a Load Profiling Methodology is a key-determining factor. The time and the resources needed to implement the change may make the proposed methodology prohibitive. Additional issues that may be considered are:

- Alternative changes (e.g., changes to models), which may provide the market participants a desired result; and,

- The complexity of implementation and operational production (e.g., system functionality) for ERCOT and market participants.

## Possible Results of the Evaluation of Methodologies

The following are possible resolutions of requests to change Load Profiling Methodologies:

### No Reconsideration of Load Profiling Methodologies

The evaluation of the methodology may conclude that no changes are needed. Another outcome of the evaluation may indicate that adjustments to model coefficients are needed for specified segments and/or weather zones. Either case will be resolved by not altering the current Load Profiling Methodology.

### Modify Existing Load Profiling Methodology

During any annual evaluation, significant biases may be exposed which require major changes such as re-estimating models, changing weather zones, or changing segments. In such cases, modifying the existing Load Profiling Methodology may be employed as a practical resolution.

### Implement Alternative Load Profiling Methodology

If the evaluation indicates that substantial biases exist, and that these biases are unlikely to be mitigated or are likely to be increased by reasonable modifications to the existing methodology, a more comprehensive change to an alternative Load Profiling Methodology shall be considered. The likely effects on these biases and other processing issues will be determining factors in the decision to adopt a new methodology.