# Load Research Samples

Load research samples are required by ERCOT as the basis for developing and evaluating load profiles for most load profile types.  Section 18.2.11 of the Protocols broadly define the responsibilities of ERCOT and TDSPs regarding load research samples.  This part of the LPOG also provides guidelines on communication and expectations between ERCOT and TDSPs in fulfilling those responsibilities.

TDSPs have provided their load research data in the past and will continue to provide available data in the future in the interests of keeping ERCOT’s costs down.  TDSPs may, at their own discretion, determine what overall level of load research effort they will maintain.  TDSP’s load research is independent of ERCOT, except as specified in Protocols Section 18.  ERCOT will make use of TDSP and NOIE load research data to the extent such data are available and useful.  ERCOT will attempt to minimize the burden to TDSPs of providing data to ERCOT.

TDSPs and NOIEs provided all load research data to ERCOT used in the initial development of load profiles.  ERCOT will periodically request current load research data from all TDSPs and NOIEs for load profile model evaluations.  ERCOT plans to develop and arrange for implementation of its own load research samples.

## TDSP Samples

### Maintenance of existing samples

TDSPs that currently have load research samples are required by the Protocols, Section 18.2.11.2, to maintain these samples to the accuracy designed.  Maintaining accuracy means that as long as the sample is deployed, the TDSP is responsible for performing the following:

- Replacing sample points as needed to compensate for sample attrition.

- Replacing or repairing malfunctioning data collection equipment as needed.

- Maintaining and operating data collection and processing systems.

- Providing annual reports to ERCOT as defined in LPOG Section 13.1.2.2.

Subject to the one-year notification requirement in LPOG Section 13.1.2, a TDSP may discontinue any sample, at its own discretion.

### Notification to ERCOT

Types of Changes Given Advance Notice

For any major change to the design of a sample, the TDSP shall provide ERCOT with at least one-year advance notice.  In particular, this amount of advance notice will be given for taking an existing sample out of the field. .

TDSPs will also provide one-year advance notice whenever practical for any of the following changes:

- Putting a new sample into the field.

- Rotating a sample, by systematically replacing a subset of the working meters with new meters.

- Adding supplemental strata to account for new accounts added to the population of the class.

- Bulk replacement of equipment or data collection systems with new types of equipment or systems.

- Other major changes to the sample design or implementation.

Notification to ERCOT is not intended to be a barrier to developing and implementing changes within less than a year.  If a TDSP determines a need to implement any of the above changes on a shorter timetable, the TDSP may do so at its own discretion, but will notify ERCOT of its plans a soon as practical.  The sole exception is that a TDSP will not discontinue an existing load research sample with less than one-year notice to ERCOT.

Changes involving routine sample maintenance, including replacement of dropped points or replacement or repair of individual units of problem equipment do not require case-by-case notification to ERCOT.

General Reporting Procedures

Each TDSP will report to ERCOT by April 1st of each year the status of its load research samples and future plans for these samples, in addition to providing the load research data.  The annual report on sample status will include the information on each existing load research sample, as well as on any plans for new load research samples.

TDSPs will update ERCOT with a report by September 1st of each year regarding any major changes to samples planned for the next 12 months.

ERCOT will ordinarily request data for each load research sample once a year, on the schedule indicated above.  For new samples, requests may be more frequent to allow ERCOT to begin using the data before a full year of data are available.  ERCOT may also request data more frequently in special cases (e.g. PUC mandate).  TDSPs will provide requested data to ERCOT within 60 days.

Load research data will be provided by the TDSP both at the individual premise level and aggregated to class estimates.  The load data and status codes delivered will be in edited and validated form.

Specific required and desired information for each report is described below.  Where information is specified for each class load research sample, the information will be provided for each load research sample that existed as of the last reporting period (or for the first such report, as of the time data were delivered to ERCOT for development of the profiles for market open), as well as for all current load research samples.  If a new sample will be placed for a class that does not currently have one, this information should be provided as part of item 6 under Section 13.2.2.3 “Required Information.”

Required Information

The following information is required as part of the annual reporting and data transmittal.

- Included as fields in the data files provided:

- Data quality flags

- Sample expansion weights

- Stratum identifiers

- A data dictionary providing the file layout(s) and codebook.

- For each class sample, a description of the sample design, stratification, procedure for calculating expansion weights, and data validation procedures.

- For each stratum in each sample,

- The original and current sample sizes

- The original population number of customers and annual energy in MWh

- For each class sample, the most recent available estimates of annual peak load and whatever accuracy measures have been calculated for that estimate.

- The date for which the analysis was conducted and the year when the analysis was completed will also be reported.

- If the sample design was based on accuracy criteria other than annual peak kW, a description of these criteria, with the corresponding most recent estimates and accuracy measures, and dates of these analyses will be provided.

- Plans for any major changes, as defined in LPOG 13.1.2.1, above, planned for the next 12 months.

- The type of change planned

- The anticipated schedule

- Description of major changes during the preceding 12 months.  Major changes include the bulleted items under LPOG section 13.1.2.1.  For each change, the TDSP will indicate

- The type of changes made

- The timing of the changes.

Items 1 through 5 do not have to be re-submitted, if they have not changed since prior reports to ERCOT.  The report will note that these items were previously submitted and have not changed.  Items 6 and 7 are required only with the regular (April and September) status reports, not as part of periodic reporting in response to special requests.

Additional Requested Information

The following additional items are useful to ERCOT for analysis.  TDSPs should provide as much of this or related information as practical given their current practices and operations.

- For each stratum in the sample

- The number of points removed and added in the past year, excluding direct replacements

- The fraction of intervals with missing or bad data

- For each class sample

- Distributions of energy

- Definitions of rate classes (tariffs) that the samples are applicable to, along with the rate classes that the samples are assigned to

- Description of sample coverage

  - Give customer counts and annual energy for the portion of the population that is not represented by any of the samples.

  - This information may be provided as a single total for each category, or by identifying and quantifying specific subgroups that were not included in any of the sample frames.

  - Provide this information separately by residential and business categories

ERCOT will provide a standard reporting format for TDSPs’ use for reporting on Load Research.

### Availability of Data

Load research data provided to ERCOT from the TDSP will only be available to ERCOT for its use in load profiling.

### Creation of New TDSP Samples

A TDSP may at its discretion develop new load research samples.  These samples may be a replacement for existing samples, or may represent a population not currently covered by an active load research sample.

A TDSP that develops a new load research sample shall inform ERCOT of the plan to develop the sample.  This information will be provided as part of the reporting procedures described above in 13.1.2.2 General Reporting Procedures.  Information the TDSP will provide about a planned new sample will include:

- A description of the population to be represented by the sample

- The relationship between this population and classes represented by current samples or previously existing samples for which data have been provided to ERCOT

- The approximate size of the population, in number of customers and MWh.

When plans for a new sample are sufficiently developed, the TDSP will provide in its report to ERCOT a description of the sample design.  This description will include

- The sample design accuracy target

- The estimation method for which the sample accuracy is designed (typically, mean-per-unit or ratio estimation)

- The stratification scheme

- The population size of each sampling cell, in number of customers and annual MWh

- The sample size of each sampling cell.

## ERCOT Samples

According to the Protocols Section 18.2.11.1, ERCOT is responsible for developing new load research samples if it determines that existing load research data are insufficient for profile development and maintenance.  ERCOT or its designated agent will develop sample designs, select samples, install metering equipment, collect, process, and validate data, and develop population estimates. ERCOT shall be responsible for the costs associated with the Sampling functions it directs.  ERCOT will adhere to good professional practice in all these functions.  ERCOT will utilize the Association of Edison Illuminating Companies Load Research Manual as a reference for standards of good practice.

### Maintenance

As long as an ERCOT load research sample is in the field, ERCOT will maintain the sample to good standards.  Sample maintenance will include the following.

- Replace sample points as needed to compensate for sample attrition.

- Replace or repair malfunctioning data collection equipment as needed.

- Review incoming data on at least a monthly basis to identify problems of high rates of missing data, or anomalous values.

- Repair or correct apparent equipment or system malfunctions on a timely basis.

- At least once a year, calculate class means for each class load research sample, using the estimation procedure appropriate to the sample design, and calculate the accuracy of the estimated peak load.  If criteria other than accuracy of load at peak were used in designing the sample, calculate these accuracy measures.  If the sample no longer meets the design accuracy criteria, initiate steps to bring the sample into conformance with the design criteria.

### Availability of Data

Load research data collected by ERCOT will be available only to ERCOT or its designated agent.  Profiles developed from these data will be made available through ERCOT’s standard profile reporting procedures.  ERCOT will provide descriptive information available on Load Research samples, in support of load profiling, according to Protocols Section 18.3.1.  This data is strictly used for load profiling purposes.

In addition to the published load profiles, other aggregate data from the load research samples will also be made available to market participants by ERCOT.  Aggregate data that ERCOT will provide for each load research sample will include:

- ERCOT’s estimate of average kW per ESI ID in each time interval based on the load research sample

- Standard errors or other statistical accuracy measures for the estimated average kW per ESI ID in each interval.

- Sample size.

The standard errors and sample sizes for each load research sample may be provided as ranges or averages rather than providing individual values for each time interval.  ERCOT may provide additional aggregate information that it deems to be of value to the market participants.

REVISIT AFTER PUC DECISION ON LR SAMPLING - Interval data from an individual ESI IDs in the sample will not be made available to market participants while the ESI ID is still in the sample.  Interval data for individual ESI IDs that are no longer in the sample will be made available to market participants upon request, subject to certain confidentiality restrictions.  These restrictions are:

- The identity of the individual ESI IDs will not be released.  Only the stratum identifiers will be provided.

- The data will be released only after a full year has passed since the ESI ID was in the load research sample.

- If, because of special characteristics of an ESI ID and/or the sample design, release of individual data for one or more ESI IDs is likely in ERCOT’s judgment to jeopardize the confidentiality of one or more customers or to jeopardize the integrity of the load research process, ERCOT may withhold the individual sample point data for those ESI IDs.

{MG:  I wasn’t around for the recent discussion of this issue.  At one point we had said it could be deferred since it’s going to be a while before there are individual sample points retired that could even be considered for release.  I still have concerns about making the data available to anyone who wants it without some review of the practice and rationale elsewhere.  This could be a big messy privacy issue. Hence my points 2 and 3, but I don’t know that this takes care of it.  See my lengthy comments in my 1/29 version.  Did PWG see this and were these points considered?}

Action Item/QUESTION:  Should TDSPs have special treatment to sample point Load Research data?  {MG thoughts:  As I indicated in my 1/29 comments, I think you can make a case for TDSPs as regulated entities having access differently from other market participants.  The LR data would be supporting wires company tariffs etc.  So you’re mitigating these redundant costs.  It is standard for public money (ratepayer $) to be used to support public goods, and a regulated wires company can be viewed as such.  It is not standard for public money to be used to support competitors’ business interests, even if all competitors get supported.  Also, in the private sector there are more likely to be business interests that would benefit from potential abuses of the confidential data.  I think a potential problem with TDSP access is that the value of the LR data isn’t the same for all TDSPs.  ERCOT gets pressure from TDSPs who want new samples in their territories when ERCOT doesn’t see the need yet.}

### Criteria of Standards

Each load research sample developed by ERCOT will be designed to meet a standard of +/- 10 percent accuracy at 90 percent confidence. Initially, peak hour and for total energy consumption in each month shall be used for design criteria.  A discussion of the meaning of accuracy measures and procedures for meeting this standard are in the AEIC Load Research Manual.

For load research samples used for universally applicable profiles, this accuracy standard will be applied at the level of each profile segment definition in each weather-modeling region.  Universally applicable profiles are defined in Section 7, “Requests for Changes to Profile Segment Definitions.”  Weather modeling region is defined in Section 8, “Requests for Changes to Weather Zone Definitions.”

For load research samples used for supplemental load profiles, the accuracy standard shall be applied at the level of each supplemental load profile segment as a whole, not separately by weather modeling region.

Designing a sample to meet a particular accuracy standard requires information about the population, including the number and total load by subgroup, and the variability in load across the group.  Such information is typically not available before the data have been collected.  It is therefore standard practice to design samples initially using proxy measures.

Prior to collecting data for the designated population, the sample design will be developed using characteristics from the load research data already compiled by ERCOT.  After a year of data have been collected, ERCOT will review the achieved accuracy of the samples.  If the achieved accuracy is worse than the design target, ERCOT will consider increasing sample sizes or modifying the design to achieve the target accuracy.  For any such re-design efforts, the data from the current sample will be used as the basis for estimating the population parameters needed to calculated sample requirements.

In reviewing the achieved accuracy of the initial load research samples, ERCOT will consider these possible metrics as well as conformance to the design accuracy standard:

- Accuracy of the fraction of energy allocated into each of several time-of-use periods (several being about 4).

- Accuracy of the ratio of on-peak to off-peak consumption (this is a variation on #2, with only 2 time periods considered).

- Demand at the peak hour in each month.

- Total energy consumption in each month.

- Accuracy of load-weighted average price, using a standard price series.

Based on this review, ERCOT may recommend new standards based on one or more of these metrics for future load research samples.

### Creation of New Samples

ERCOT has the authority to determine the need for new load research samples.  These samples may be a replacement for existing samples, or may represent a population not currently covered by an active load research sample.

REVISIT AFTER PUC DECISION ON LR SAMPLING - ERCOT reserves the right to restrict the use of Load Research data collected by any 3rd party agent, TDSP, or otherwise who collects the data.

Prior to fielding a new sample, ERCOT will notify the TDSPs in the affected areas of the plan for the sample.  ERCOT may contract with the TDSPs to implement the sample, or may contract with a new party.  TDSP sees the data on ERCOT samples.  Can install on customer meter side.  Can ERCOT contract with a third party BEFORE metering goes competitive?  {I don’t think there’s anything to prevent them doing so under current rules.  It’s the revenue metering that goes competitive or not.  TDSPs don’t control all metering that happens at a customer site.  And if it’s ERCOT’s sample, TDSPs don’t have any special rights to the data.  Does having 3rd parties implementing ERCOT LR samples cause any problems for TDSPs other than that they’d prefer to be the ones who get the work and they may want to have access to the data too?  Do we need to specify any limits on how TDSPs may use the LR data they collect when ERCOT is paying for it?  Or is TDSP access to and use of new LR data considered a kind of re-payment for their provision of their own data to ERCOT for modeling?  Except that the ones who’ve given the best data in the past are likely to be the last to get new ERCOT LR, and the ones with worst data in the past may be the first.}

Samples developed by ERCOT may be regional, spanning more than one TDSP.  The sampled populations may also be restricted to only a geographic subset of a TDSP’s service territory.

Information that ERCOT will provide to the PWG about a planned new sample will include:

- A description of the population to be represented by the sample.

- The relationship between this population and classes represented by current samples or previously existing samples for which data have been provided to ERCOT.

- The approximate size of the population, in number of customers and MWh.

When plans for a new sample are sufficiently developed, ERCOT will provide to the PWG a description of the sample design.  This description will include:

- The sample design accuracy target.

- The estimation method for which the sample accuracy is designed (typically, mean-per-unit or ratio estimation).

- The stratification scheme.

- The population size of each sampling cell, in number of customers and annual MWh.

- The sample size of each sampling cell.

### Guidelines for Installing and Refreshing Load Research Samples

The decision to develop a new load research sample will be based on ERCOT’s annual evaluation of models and methods.  This evaluation process is described in Section 6, “Load Profile Models,” and Section 9, “Changes to Load Profiling Methodology.”  Circumstances that may trigger ERCOT’s decision to field a new load research sample might include the following:

- Indications that existing models do not perform well in areas that do not have recent load research data.  Such indications could include:

- Load profiles whose monthly fractions are very different from those observed in monthly billing data for a particular area

- Systematically high UFE for a particular area

- Other indicators that the equipment present or operating patterns are very different in a particular area from that for load research data were available.

- Reported plans by a TDSP to discontinue collecting load research data for particular samples.

- Determination that too much time has elapsed since the load research data on which current models are based were collected.

Determination that current load research samples do not meet accuracy standards for a particular population segment.