NERC Resources Subcommittee Report

# ERCOT April 9, 2002 ROS Meeting

- NERC Resources Subcommittee has requested a presentation at the May 2, 2002 meeting on the progress and plan for addressing CPS1 and CPS2 violations. Doug Cameron of ERCOT Compliance is scheduled to make this presentation.

- NERC Policy 1, except for the Frequency Standard (Section C), has been approved by the Resources Subcommittee for submittal to the NERC Operating Committee for ballot. One notable addition to the policy since the last comments is in Policy 1E sections 4.8.3.1 and 4.8.3.2. This is a requirement that control areas supply CPS source data (one minute averages of frequency deviation, ACE) and DCS source data (two minutes prior and thirty minutes after a disturbance of scan rate frequency deviation and ACE) within one week of a request from NERC.

- The Frequency Standard has been re-posted for another round of comments. The proposed standard includes measurements for single control area interconnections (ERCOT and Hydro Quebec) that were created just prior to the re-posting. I have requested that the PDCWG review, provide comments and alternatives if appropriate.