ISSUE FOR

RMS CONSIDERATION

SCENARIO/SITUTATION:

Retail Settlements – Load settled on system wide 3 MW average for all IDR customers if actual 867-03 is not available.

ISSUE/PROBLEM:

Due to the mounting problems with the inability to generate 867-03 by the TDSP’s or the inability for ERCOT to load 867-03 data due to either a gap in the information, or it does not conform to their system requirements, Load Serving Entities are incurring incorrect settlement charges.  These are not just limited to balancing energy, it is any settlement charge that is based on load ratio share.

By not having this IDR data available during each stage of the settlement process, loads under the profiled 3 MW level are being incorrectly charged various settlement fees.

PROPOSED SOLUTIONS:

Protocol Revision Request should be submitted so this doesn’t continue.  Unfortunately, this will take too much time.  We are approaching the summer months and balancing energy will only increase.

RMS should team up with WMS to recommend to TAC, a stopgap process until a Protocol change can be submitted for TAC approval.

INTERMEDIATE/TEMPORARY WORKAROUND:

No final settlement until 867-03 data is available and validated by ERCOT.

SUBMITTED BY: Brenda Crockett -- Dynegy