PRS Items for TAC

May 9, 2002 Meeting

PRS recommended approval of the following:

- 318PRR – Two Zone Adjustment; approved as submitted.

  - System Impact:  Minor impact on ERCOT process, no system build required.

  - Benefit:  Alleviates the situation of one station having transmission busses assigned to two different transmission congestion zones.

  - Recommended effective date:  June 1, 2002.

- 321PRR – Uninstructed Resource Charge Process, approved as revised by PRS.

  - System Impact:  None.

  - Benefit:  Allows for better frequency control and a more stable Ancillary Service market.

  - Recommended effective date:  June 1, 2002.

- 323PRR – TCR Creditworthiness Monitoring, approved as revised by PRS.

  - System Impact:  None.

  - Benefit:  Clarifies TCR late payment enforcement.

  - Recommended effective date:  June 1, 2002.

- 324PRR – EPS Meter Polling Timeline, approved as submitted.

  - System Impact:  None.

  - Benefit:  Eases meter staffing burden on weekends and holidays for ERCOT and TDSPs.  For ERCOT, it reduces the need for metering staff to work overtime and reduces current need for additional meter staff.

  - Recommended effective date:  June 1, 2002.

# Status of pending PRRs:

- 281PRR – Change ERCOT Deployment Instructions to Settlement Meter Specific; pending on-going review by WMS working groups.  No specific language was submitted; proposed language being drafted by the sponsor.

- 282PRR – Define OOME as an Instructed Deviation; pending on-going review by WMS working groups.  No specific language was submitted with the original PRR.

- 293PRR – Uncontrollable Renewable Resources; pending on-going review by WMS working groups.  The PRR language is being revised.

- 320PRR – Loads Participation in AS Market; pending on-going review by ROS, ERCOT and PUCT-MOD.

- 322PRR – RPRS Award Performance; approved as submitted; recommended effective date of July 1, 2002, based on manual work-around by Settlements and Operations, ERCOT to confirm system impact analysis.  Pending on-going comment period on the PRS recommendation report, comments due 5/22/02.

- 325PRR – Sub-QSEs Partition Limit; pending initial comment period on a normal timeline, comments due 5/06/02.  ERCOT requested the full 21-days to perform an impact analysis, due 5/21/02.

- 326PRR – Day Ahead Schedule; pending initial comment period on a normal timeline, comments due 5/10/02.

- 327PRR – Confidentiality; pending initial comment period on a normal timeline, comments due 5/15/02.

- 328PRR – Customer Service Establishment Notice; pending initial comment period, comments due 5/20/02.