| OGRR Number | 104-OGRR | OGRR Title | References Update |
| --- | --- | --- | --- |
| ###### Date |  | May 10, 2002 |  |
| ## Submitter’s Information |  |  |  |
| Name |  | Rick Keetch |  |
| E-mail Address |  | rkeetch@reliant.com |  |
| Company |  | Reliant Energy |  |
| Company Address |  | 1111 Louisiana, Houston, Texas 77210-4567 |  |
| Phone Number |  | 713-207-2526 |  |
| Fax Number |  | 713-207-0098 |  |

Instructions:

Comments are to be submitted electronically and are due by close of business of the comment due date.  Please follow this file naming convention:

###OGRR <Company Name> Comments<date>.doc.

Comments

Requested reference update needs to be corrected.  The “Relay Misoperation Report” can be found in Appendix A Report A.1.2 not A2.2.

Proposed Revision needed for Appendix B Section 4.2 Item 13 bullet #7

Documentation of SPS failures or misoperations shall be provided to ERCOT using Form 1 of item 3. in Appendix C6.1. “Relay Misoperation Report” Appendix A Report  A.1.2

Proposed Revision needed for Appendix B Section 4.3 Item 2 description

All PRS misoperations shall be documented using “Relay Misoperation Report” Form 1 (Appendix C6.1). Appendix A Report  A.1.2

Proposed Revision needed for Appendix B Section 4.3 Item 3 description

All SPS misoperations shall be documented using “Relay Misoperation Report” Form 1 (Appendix C6.1). Appendix A Report A.1.2