System Planning Report to the ROS

Base Cases Data Set A - development of the seasonal base cases for 2003 is underway with SSWG.

2002 Annual Load Data Request - all data has been received and is being incorporated into the SPTO Planning Database

Capacity Demand & Reserve Report - complete, posted and emailed out 5/9/2002

Voltage Reactive Analysis Study - about 20% complete, a lot of interaction with consultant

Spinning Reserve Study - model/data and base case development underway, calcualtions will be started once DWG has completed reviewing and accepting the models and base case

Generation Interconnection Requests - SPTO staff is currently processing 6 requests for interconnection,  several others are expected to be received within the next few weeks

Generation Plant Data Gathering SPTO staff is continuing its data/model gathering and verification activities on every generation plant.  It is being coordinated with compliance.

Transmission System Map - the map is continuously being updated and posted on the internet,  SPTO will be sending a copy out to TDSP's for verification next month.  After verification maps will be printed a provided to members.

EIA-411 - completed and filed with DOE/NERC

FERC 715 - completed sending base case data to FERC

FERC 714 - data is under final review and will be sent to FERC by the end of the month,  ERCOT is now the control area and expanded reported was required

Dynamics Wind Generation Model - RFP issued, complete funding to support development has NOT been received from generation owners, this may result in delays in studies, delays constructing additional transmission and more conservative operations

RMR Study - RFP issued

Western Region Planning - Interim Report sent ot stakeholders for input,  comments received are being complied

South & North Region Planning - Draft options for study sent to stakeholders for input, comments receoved are being complied

Technical Support to Stakeholders and their consultants - SPTO staff continues to provide technical support to stakeholder questions related to planning issues via ERCOT Customer Representatives staff or directly. These are taking significant resources away from planning activities.