| OGRR Number | 106OGRR | OGRR Title | Generator Test Form Revisions |
| --- | --- | --- | --- |
| Status | Posted |
| Operating Guide Section Requiring Revision | Appendix A |
| Protocol Section Requiring Revision, if any. | None |
| Requested Resolution | Replace existing forms with these updated ones |
| Revision Description | Remove control area references, add additional details for units to aid in identification. Test-related content unchanged, except for quick start tests changed to 30 minute instead of 10. |
| Reason for Revision | Forms are out of date |