## Assessment
Profile Working Group
Options Analysis Addressing Marketplace Concerns Regarding the Application of the BUSIDRRQ Profile
Report to RMS (May 29, 2002)
Summary Assessment
Factors
| Options |  | Cost | Accuracy | Timing | Systems Impact
| Number | Short Description |  |  |  | ERCOT | Market Participants
| 1 | Apply BUS_Demand Load Factor Profiles | High | Medium | 6 mos. | High | High
| 2 | Scalar Adjust BUSIDRRQ Profile | High | Medium | 6 mos. | High | Medium
| 3 | Re-calibrate BUSIDRRQ Profile | Low | Low | 2 mos. | Low | Low
| 4 | Multiple BUSIDRRQ Profiles - Size | Medium | Medium | 4 mos. | Low | High
| 5 | Default Profile for Each ESI ID | High | High | 12 mos. | High | High
| 6 | Extend NWS review beyond 8 weeks | Low | Medium | 6 mos. | Low | Low
| 7 | Modify NWS to Get Like Day Last Year | Medium | Medium | 6 mos. | Medium | Low
| 8 | Develop Building Type Default Profiles | High | Medium | 12 mos. | High | High
| 9 | Modify NWS to Get Most Recent Like Day | Medium | High | 6 mos. | Medium | Low
| 10 | Develop IDR Specific Load Factor Profiles | High | Medium | 9 mos. | High | High
Notes: | 1) | Market Participant shadow settlement process are effected by any option so this
input is not included in the above matrix. However, #3, #4, and #8 will have no impact
on shadow settlement processes.
| 2) | Timing considerations are ballpark estimates of the expected time required to
deploy the option. Any ERCOT system changes will compete other projects in
queue to be worked. Market deployment can be significantly longer than
the time required to perform actual work on the project.
| 3) | It is assumed that all recommended modifications to ERCOT's ProxyDay
algorithm will not alter the "Weather Sensitive" logic, code, or parameters.
| 4) | Accuracy assessments include consideration for both improved estimation of daily
energy levels and distribution of energy across the day (load shape).
Recommendation
Option # 3 should be pursued immediately. This measure is quick to implement. It may provide an immediate though limited fix for the
problem of the BUSIDRRQ default profile over estimating IDR loads.
Option # 9 should be pursued concurrent with Option #3. This option is preferred as the long term solution for assuring account specific
load data is used to estimate a profile when actual data is not available.

## Description
Profile Working Group
Options Analysis Addressing Marketplace Concerns Regarding the Application of the BUSIDRRQ Profile
Report to RMS (May 29, 2002)
Options Detail Report
Option Number | Option Short Description | Option Details
1 | Apply BUS_Demand Load Factor Profiles | Apply the Business demand profiles BUSLOLF, BUSMEDLF, and BUSHILF to IDR loads
scaling the profile to reflect daily energy usage for the ESI ID. This option requires TDSPs submit
Load Profile ID changes to ERCOT. This option will require submitting a Protocol Revision Request.
This option requires modifying the IDR routine to allow scaling default load profiles.
2 | Scalar Adjust BUSIDRRQ Profile | Apply a scalar usage factor to the BUSIDRRQ profile so that ESI ID load is accurately estimated. For
new accounts, the CR would have responsibility for supplying ERCOT with an initial seed value. ERCOT
would take responsibility for periodically adjusting this factor using actual usage data in ERCOT's
database. This option will require submitting a Protocol Revision Request. This option requires modifying
the IDR routine to allow scaling default load profiles.
3 | Re-calibrate BUSIDRRQ Profile | ERCOT performs a study to true up calibration of the 3.3 MW average interval demand to reflect the
current average customer load. Based on the finding of ERCOT's analysis, average interval
demand may increase or decrease from the present 3.3 MW value.
4 | Multiple BUSIDRRQ Profiles - Size | Create a portfolio of BUSIDRRQ profiles scaled to a size parameter such as annual maximum
demand for each defined size classification. Data in ERCOT's database will be used to assign
accounts to a classification. This option requires TDSPs submit Load Profile ID changes to ERCOT.
5 | Default Profile for Each ESI ID | Develop a default profile for each ESI ID. ERCOT will not publish ESI ID specfic default profiles. Pro-
files can be developed to accommodate seasonality, and weekday type considerations. This option
involves significant system changes for ERCOT. This option will require submitting a Protocol Revision
Request.
6 | Extend NWS review beyond 8 weeks | Change the Non-Weather Sensitive (NWS) logic in the ProxyDay algorithm to look back further
than eight weeks to find a like day of data. Currently, Protocols specify that ERCOT's algorithm look
back eight weeks. Selecting this option will require submitting a Protocol Revision Request.
7 | Modify NWS to Get Like Day Last Year | Add a component to the Proxyday routine which selects the like day of the week which occurred
approximately one year earlier. Selecting this option will require submitting a Protocol Revision
Request.
8 | Develop Building Type Default Profiles | Compute default profiles for various building types such as chemical plants, office buildings, or grocery
stores. This option requires substantial modification of ERCOT databases since building type data
is not stored in ERCOT's database. This option requires TDSPs submit load Profile ID changes to
ERCOT. It is unclear which Market Participant will make the building type determination for each ESI ID.
9 | Modify NWS to Get Most Recent Like Day | Replace the Non-Weather Sensitive logic in Proxyday with code that reviews historical usage data
and selects the most current like day of actual usage. This option will require submitting a Protocol
Revision Request.
10 | Develop IDR Specific Load Factor Profiles | Develop high, medium, and low load factor default profiles using load data for IDR accounts. Profiles
are scaled to reflect daily energy usage for the ESI ID. This option requires TDSPs submit Load
Profile ID changes to ERCOT. This option will require submitting a Protocol Revision Request.
This option requires modifying the IDR routine to allow scaling default load profiles.