Steady State Working Group Report

- SSWG met June 10-12 to prepare Data Set A load flow cases.  Cases are in final review by TDSPs and will be posted July 1.

- AEP tentatively accepted the vice-chairman position pending management approval.

- Minutes of June 10-12 meeting are attached.

June 10th – 12th SSWG Meeting Minutes

- Data Set A Cases – Doug Evans will send out cases based on changes from the meeting on June 13.  Any final changes should be sent to Doug by June 17.  Doug will incorporate the changes and send to group on June 18.  Group to send approval for cases to Doug by June 21.

- Vice-Chairman - AEP tentatively accepted the position.  Will confirm with their management.

- Swing Bus Location – Swing bus was moved from PH Robinson 3 to WA Parish 5.  PHR 3 was not dispatched in this set of cases.

- Cathy Carter requested that certain buses in the cases be amended to reflect the actual nominal bus rating.  These buses show up in cases with low voltage.  Example:  Bus rating of 69.6 KV for nominal 66 KV system.

- Owner ID Table Update – Send updates to Doug Evans.  Generator owner IDs will be removed from cases.

- Steady State Review of Special Protection Schemes – SPWG has requested that SSWG review SPSs.  SPSs are posted on the web site.  Doug will send out SPWG procedures for group to review.

  - Reliant Comment:  Suggest that  each SPS owner provide IDEV files to perform the load flow studies and the SPWG review these IDEV’s before studies are done.

- Data Sharing Information Review - Information will be sent to ERCOT for posting 45 days after cases are completed.  ERCOT (Doug) will send reminder to group. Data Dictionary due 45 days after completion of Set B cases.

- Generator Capability File – Discussion about modeling generator capability using test data.  Should use at least 8 points on the capability curve for modeling.  Most TDSPs don’t have any data on the generators.  Doug will look at asset registration to see if data is available. .

  - Reliant Comment:  Caution!  This will require each TDSP to model auxillary load at the power plants unless the generator capability curve data is available on the high side of the step up.

- Generation Dispatch

  - How will dispatch change when one or more of distribution coops "opts in?"  Load of coops that opt in will be included in the pool for dispatch using the commitment order dispatch.  Rest of the NOIEs will be dispatched according to the schedule each NOIE TDSP sends to Doug .

  - Scaling Self-Serve Generation – TNMP and ONCOR SSG is scaled in off peak cases.  Reliant and AEP give dispatch information based on historical data to Doug.

  - Doug Evans to provide historical generation dispatch data in two months.

  - Exception Units – Units turned on out of commitment order for voltage support.  Each TDSP will provide a list of units to turn on to Doug.  Turning on exception units in cases may make mask problems that need addressing.

  - Pmax Ratings for Spring and Fall – Use summer rating for spring and fall cases.

- Transmission Line Ratings – Members of ROS would like to see a standard methodology among TDSPs for rating lines.  Possibly an emergency rating based on a time such as 4 hours.

- MLSE – Send to Doug.  Due August 1.

- Jose Conto discussed the Voltage Reactive study that is under way.  He has requested that each TDSP verify capacitor data and reactive reserve data in the 02sum1, 02sum2, 02spg2 and  03win1 cases.  Response due June 14.  He also discussed and passed out a “wish list” from DWG concerning data in the cases that may need correction.  Each TDSP should consult with their DWG member.

- Procedure Manual update – Update will be handled through e-mail.  Rex McDaniel will send most recent version out to group for comments and changes.

- Data Set B Schedule

# September 10	NOIEs send generation dispatch data to ESPTO

September 17	Raw data files due to ESPTO

September 25	Pass 1 cases due to SSWG

September 30	SSWG general meeting if needed

October 7 	Pass 1 changes due to ESPTO

October 14	Pass 2 cases due to SSWG

October 21	Pass 2 changes due to ESPTO

November 4-6 SSWG meeting at ESPTO office to finalize cases

November 15	Cases posted on the ERCOT web site by ESPTO