| OGRR Number | 109OGRR | OGRR Title | Appendix A & B SPTF Revisions- May, 2001 |
| --- | --- | --- | --- |
| ###### Recommended Action |  | Approve |  |
| Recommended Effective Date |  |  |  |
| OGRR Background |  | ## Minor revisions to Appendix A and B to specify requirements for NERC, add language for dynamic disturbance recorders, and to correct simple errors due to re-organizing the Guides. These revisions were previously approved by ROS, but did not make the TAC-approved version on May 6, 2001. |  |
| Reliability and Operations Subcommittee Recommendation |  | Approve as submitted. |  |

Recommended Language

APPROVED – 6/14/01

MINUTES OF THE ERCOT RELIABILITY AND OPERATIONS SUBCOMMITTEE (R0S) MEETING

- Omni Southpark Hotel

- Austin, Texas

- May 8, 2001

System Protection (SPWG)

Garza presented and discussed proposed revisions to Operating Guides Appendices A and B that are proposed by the SPWG for ROS approval.  Although the revisions are minor, they are required for the upcoming NERC Compliance Review due June 1, 2001.  Garza noted that the SPWG assumed that "Facility Owner" includes generators because they were unable to find a definition in the new Operating Guides for "Facility Owner".  A motion was made by Lee Westbrook and seconded by Stuart Thomas to approve the proposed revisions to Appendices A and B as presented.  The motion was approved by a unanimous voice vote.

Proposed Operating Guides Revision

The ROS briefly discussed clarifying language to a proposed Operating Guides Revision related to Dynamic Disturbance Recording Equipment.  One minor change was suggested.  A motion was made by Jack McCartney and seconded by Jack Karn to approve the proposed Operating Guides Revisions to Appendix V.B. related to Dynamic Disturbance Recording Equipment as amended.  The motion was approved by a unanimous voice vote.

- See three, attached documents.  Note these were previously approved by ROS.

http://www.ercot.com/RTOS/010508/DynamicDisturbanceRecordingEquipment.htm

| ## Other TAC Subcommittee Review |  |
| --- | --- |
| PRS Review Date | 07/22/2002 |
| PRS Protocols Impact Decision | None. |
| WMS Review Date |  |
| RMS Review Date |  |
| ## TAC Action |  |
| TAC Vote Date |  |
| TAC Proposed Implementation Date |  |
| TAC Vote Results |  |

| OGRR Evaluation |  |
| --- | --- |
| Comments Author | Comments Summary |