| OGRR Number | 115-OGRR | OGRR Title | Change due to PRR219 Frequency Level Deviation |
| --- | --- | --- | --- |
| ###### Recommended Action |  | Approve |  |
| Recommended Effective Date |  | October 1, 2002 |  |
| OGRR Background |  | ## Revised the Operating Guide section 1.6 to reflect the frequency deviation that is in Protocols Subsection 6.10.5.4 (0.175 Hz). PRR 219, approved by the Board on 6-19-2001 and effective 7-01-2001, made this change. Protocol references found in this section were also updated to reference the latest Protocols. |  |
| Reliability and Operations Subcommittee Recommendation |  | Approve as submitted. |  |
| ## Other TAC Subcommittee Review |  |  |  |
| PRS Review Date |  | 27 August 2002 |  |
| PRS Protocols Impact Decision |  | None. |  |
| WMS Review Date |  |  |  |
| RMS Review Date |  |  |  |
| OGRR Evaluation |  |  |  |
| Comments Author |  | Comments Summary |  |
|  |  | None. |  |

Recommended Language

Reference: Protocol 6.10.5.4.

For all frequency deviations exceeding  0.175 Hz, ERCOT shall measure and record each two (2) second scan rate values of real power output for each QSE Resource providing Responsive Reserve. ERCOT shall measure and record the MW data beginning one (1) minute prior to the start of the frequency excursion event until ten (10) minutes after the start of the frequency excursion event.