OGRRs for TAC Consideration

September 5, 2002 Meeting

These OGRRs were developed to make the Operating Guides consistent with the Protocols.

- OGRR 112 – Block Load Transfers between ERCOT and Non-ERCOT Control Areas:  Revises Operating Guides Section 4.5 to reflect the Protocol Revision (PRR 289 and PIP 209) related to BLTs.

- OGRR 113 – Responsibility Transfers:  Revises Operating Guides Section 3.2.7 to update the excerpt from Section 4.9.4 of the Protocols related to the use of Responsibility Transfer Schedules.

- OGRR 115 – Frequency Deviation:  Revises Operating Guides Section 1.6 to reflect the correct frequency deviation contained in Protocol 6.10.5.4.  The frequency deviation in Protocol 6.10.5.4 was 0.375 Hz. and should have been 0.175 Hz.  PRR 219, approved by the Board on June 19, 2001 and effective July 1, 2001, made this change.  Current practice is to collect data from the existing Control Areas for deviations of 0.175Hz. and there is no reason to change that practice under single control area operation.