| PRR Number |  | PRR Title | Proposal to Address Dispatching Issues for Combined Cycle Units Through Settlement Aggregation |
| --- | --- | --- | --- |
| ###### Status |  |  |  |
| Protocol Section Requiring Revision |  |  |  |
| Requested Resolution |  |  |  |
| Revision Description |  | To change the way instructions to combined cycle plants are settled to more accurately reflect the operational interdependencies of these plant technologies. |  |
| ###### Reason for Revision |  | The configuration of combined cycle facilities (multiple units with interconnected steam and turbine configurations where the levels of one unit impact the achievable capacity of the other units) combined with the Resource Plan and unit-specific premium information have caused operational complexity for ERCOT and Market Participants. At combined cycle facilities, unit-specific instructions for one unit, when followed, may operationally require movement of other units. Unit specific instructions requiring only one unit to move can rarely be achieved with this technology. Therefore, when unit specific instructions are issued to a combined cycle plant, owners move their units in tandem to achieve the resulting bus output ERCOT needs to maintain reliability. However, at settlement, the plant owner will only receive payment for the portion of the instruction that was followed by the instructed unit. This is often 1/3 or ¼ the payment the generator should receive for the benefit provided to the system. |  |
| ## Timeline |  |  |  |
| Date Received |  |  |  |
| Date Posted |  |  |  |
| PRS Review Date |  |  |  |
| PRS Recommendation |  |  |  |

Proposed Protocol Language Revision

### 6.5.10	Out-Of-Merit Capacity and Out- of-Merit Energy Services

- ERCOT will use OOMC and OOME Services to procure additional capacity and energy required to provide reliable ERCOT System operation, as determined by ERCOT.

- Any Generation Resource or Load acting as a Resource may be called upon by ERCOT to provide OOMC or OOME service, in any time frame that the Resource or Load is listed as available in the Resource Plan.

- For combined cycle plants, or other plants that require tandem operation of units, approval may be sought of ERCOT to treat these units in aggregation at settlement.

- OOMC is used by ERCOT only when necessary to provide ERCOT System security and capacity adequacy. ERCOT will call on OOMC and OOME service in such a way as to minimize the use of this service as much as practicable.

- OOME will be settled in accordance with Balancing Energy settlement provisions in Section 6.8.2.2, Energy Payments.

- Bids from Loads acting as Resources may also be used by ERCOT under the OOME instructions and pricing structure.

- The QSE associated with the Generation Resource or Load acting as a Resource that receives a Dispatch Instruction to provide OOMC and/or OOME service(s) must use all commercially reasonable efforts to provide the requested service(s).  If the QSE declines the Dispatch Instruction according provisions of Section 5.4.4, Compliance with Dispatch Instructions, of these Protocols to provide OOMC and/or OOME service(s), ERCOT will post such declines on the MIS.

#### 6.8.2.2		Aggregating Units

- PGCs in ERCOT may choose to aggregate two or more units in a location for settlement purposes if the operation of those units requires an interdependent and coordinated relationship is maintained (for example, combined cycle operation).

- ERCOT will review requests to have units aggregated and will determine if such aggregation can be performed without negative impact to ERCOT’s operations.  Criteria ERCOT will use includes evaluation of shift factors of the units to be aggregated relative to local congestion in the same zone as the units to be aggregated.

  - Requests for site-specific aggregation of resources shall be prepared by the QSE representing the PGC for the resources using the form________(Attachment # ? in Appendix ?).  Once aggregation of resources for dispatching purposes is approved, the resources may not be requested to be disaggregated for 365 days.

- Once approved ERCOT shall have fifteen (15) business days to establish the relationships in their settlement process to correctly settle the units as one aggregated unit.  The effect of the aggregation will be that all schedules, instructions, and actual output for the aggregated units will be summed and the total used in the settlement calculations.

- Specifically:

EOOMUPivq = Sum(EOOMUPiuq)

IOOMUPiv = Sum(IOOMUPiu)

MRivq = Sum(MRiuq)

OLivq = Sum(OLiuq)

EOOMDNivq = Sum(EOOMDNiuq)

IOOMDNiv = Sum(IOOMDNiu)

Where:

i	interval

u	unit

v	aggregated group of units

q	QSE

EOOMUPiuq	OOM Up quantity deployed for each unit in the aggregated group per interval per QSE

EOOMUPivq	OOM Up quantity deployed for the aggregated group of units per interval per QSE

IOOMUPiu	OOM Energy Up Instructions for that interval for that unit converted to MWh for that interval by dividing by the number of intervals  per hour (4 per hour for 15 minute Settlement Intervals)

IOOMUPiv	OOM Energy Up Instructions for that interval for that aggregated group of units converted to MWh for that interval by dividing by the number of intervals  per hour (4 per hour for 15 minute Settlement Intervals)

MRiuq	Meter Reading for that unit for that interval per QSE

MRivq	Meter Reading for that aggregated group of units for that interval per QSE

OLiuq	Resource plan output level submitted by the QSE for the specific Resource given the OOM instruction for that interval.

OLivq	Resource plan output level submitted by the QSE for the specific aggregated Resources given the OOM instruction for that interval.

EOOMDNiuq	OOM Down quantity deployed for each unit in the aggregated group per interval per QSE

EOOMDNivq	OOM Down quantity deployed for the aggregated group of units per interval per QSE

IOOMDNiu	OOM Energy Down Instructions for that interval for that unit converted to MWh for that interval by dividing by the number of intervals  per hour (4 per hour for 15 minute Settlement Intervals)

IOOMDNiv	OOM Energy Down Instructions for that interval for that aggregated group of units converted to MWh for that interval by dividing by the number of intervals  per hour (4 per hour for 15 minute Settlement Intervals)

#### 6.8.2.3		Capacity Payments

#### 6.8.2.4		Energy Payments

- Whenever a Resource is called for OOME Up, the QSE will receive, any Resource Imbalance payment it is entitled to receive as specified in 6.8.1.13.  In addition, an OOME energy payment adjustment will be made such that the resulting total payment to the Resource is equal to the higher of either (a) Resource Category Generic Fuel Cost (RCGFC) for that Resource or the (b) MCPE for the Congestion Zone.

- The calculation for OOME Up is as follows:

PEOOMUPiq 	= SUM (PEOOMUPiuq)uq + SUM (PEOOMUPivq)vq

Where:

PEOOMUPiuq = -1 * EOOMUPiuq * [Max [(RCGFCc - MCPEiz) , 0]

EOOMUPiuq = 	Max (0, Min ((MRiuq - OLueq), IOOMUPiuq))

PEOOMUPivq = -1 * EOOMUPivq * [Max [(RCGFCc - MCPEiz) , 0]

EOOMUPivq = 	Max (0, Min ((MRivq – OLveq), IOOMUPivq))

The equation below will be used to determine the Total OOM Energy Payments to be allocated to each QSE in Section 6.9.7.2 OOM Energy Charge.

PEOOMUPi 	= SUM (PEOOMUPiu) + SUM (PEOOMUPiv)

Where:

c	Resource category

i	interval

u	unit

v	aggregated group of units

z	zone

q	QSE

MCPEiz	Market Clearing Price of Energy for that interval of the zone in which unit resides

PEOOMUPiuq	Out of Merit Energy Up Payment ($) for that interval per unit per QSE

PEOOMUPivq	Out of Merit Energy Up Payment ($) for that interval per aggregated group of units per QSE

PEOOMUPiq	Out of Merit Energy Up Payment ($) for that interval per QSE

PEOOMUPi	Summation of Out of Merit Energy Up Payment ($) per interval for all QSEs in the market

EOOMUPiuq	OOM Up quantity deployed for that unit per interval per QSE

EOOMUPivq	OOM Up quantity deployed for that aggregated group of units per interval per QSE

IOOMUPiu	OOM Energy Up Instructions for that interval for that unit converted to MWh for that interval by dividing by the interval count per hour (4 per hour for 15 minute Settlement Interval)

IOOMUPiv	OOM Energy Up Instructions for that interval for that aggregated group of units converted to MWh for that interval by dividing by the  number of intervals per hour (4 per hour for 15 minute Settlement Intervals)

MRiuq	Meter Reading for that unit for that interval per QSE

MRivq	Meter Reading for that aggregated group of units for that interval per QSE

OLiuq	Resource plan output level submitted by the QSE for the specific Resource given the OOM instruction for that interval.

OLivq	Resource plan output level submitted by the QSE for the specific aggregated Resources given the OOM instruction for that interval.

RCGFCc	Resource Category Generic Fuel Cost for a specific category.

- If a Resource is called to provide OOME Up service and the payment for OOME service is insufficient to cover all costs of providing the Service, then that Resource will be paid, in addition to the energy payment, all verifiable, costs in excess of the OOME payment that are directly attributable to the OOME Service.  These costs may include the cost of exceeding swing gas contract limits, additional gas demand costs set by the fuel supply or transportation contracts, and any additional costs to purchase emissions credits or other costs incurred due to environmental regulations.  Verification of these costs must be submitted to ERCOT by the QSE or the Resource to allow resolution by the end of the dispute process for Settlement True-Up as defined in Section 9.2.6, True-Up Statement.  QSEs requesting such cost recovery shall perform the following:

(a)	Submit a settlement dispute in accordance with the dispute process outlined in Section 9.5.  In addition to the standard information required on the entry form on the ERCOT Portal, the dispute should clearly indicate:

(i)	The deployment instruction received from ERCOT to provide services.

(ii)	The payment received for providing the service.

(iii)	The actual cost of providing the service.

(iv)	A reference to the documentation to be provided in writing as indicated in section

(b)	Requests for additional compensation shall provide documentation in writing to allow for verification of the claimed amounts.  Documentation requirements for each cost type are as follows:

(i)	Fuel cost for providing the service shall be determined by taking the product of the deployed energy (MWH) the incremental fuel requirement (MMBtu/MWH) and the associated fuel cost ($/MMBtu) of the resource for deployed.

(ii)	Incremental fuel requirement shall be the incremental fuel consumption from the scheduled loading of the resource to the deployed loading based upon a heat rate curve for the resource from the most recently conducted heat rate tests.  Test data shall be provide in sufficient detail to allow for the validation of the heat rate curve provided.

(iii)	Fuel cost, including transportation cost, will require supporting documentation of sufficient detail to allow for the verification of the cost of fuel consumed at the deployed resource.  Documentation may include contracts, invoices or other documents that will be treated as confidential.  All copies of such documentation will be returned upon completion of the review.  For gas fired resources, such documentation will not be required if the requested incremental fuel cost is less than 115% of the Fuel Index Price.

(iv)	Compensation for additional types of cost, not outlined above, will must be reviewed and approved by the ERCOT Board of Directors during an Executive Session of their next regularly scheduled meeting.  Requests must be presented in person by a representative of the company submitting the request and must also include language suitable to be included in the Protocols to define the documentation requirements for future request of a similar nature.  Subsequent to the approval of such costs, the requesting company shall submit a Protocol Revision Request, in accordance with Protocol 21, incorporating the necessary documentation standards provided to the ERCOT Board.

- Whenever a Resource is called on for OOME Down, the QSE will be paid an energy payment equal to the total amount of energy to be reduced by the Resource, multiplied by the greater of: (a) the difference between (i) the MCPE of the Congestion Zone and (ii) the RCFGC for that Resource or (b) $0.00.  The calculation for OOME Down is as follows:

PEOOMDNiuqz	=	 -1 * EOOMDNiu  * Max (0,(MCPEiz-RCGFCc))

EOOMDNiu = 	Max (0,(Min(OLue - MRii ),IOOMDNiu))

PEOOMDNivqz	=	 -1 * EOOMDNiv  * Max (0,(MCPEiz-RCGFCc))

EOOMDNiv = 	Max (0,(Min(OLivq - MRivq ),IOOMDNiv))

PEOOMDNiq 	= SUM (PEOOMDNiu)q + SUM (PEOOMDNiv)q

PEOOMDNiz 	= SUM (PEOOMDNiu)z + SUM (PEOOMDNiv)z

The equation below will be used to determine the Total OOM Down Energy Payments to be allocated to each QSE in Section 6.9.7.2, OOM Energy Charge.

PEOOMDNi = SUM (PEOOMDNiq)q

Where:

i	interval

u	unit

v	aggregated group of units

z	zone

q	QSE

PEOOMDNiuqz	Out of Merit Energy Down Payment ($) for that interval per unit for the QSE

PEOOMDNivqz	Out of Merit Energy Down Payment ($) for that interval per aggregated group of units per QSE

PEOOMDNiq	Total Out of Merit Energy Down Payment in the interval for the QSE

PEOOMDNiz	Out of Merit Energy Down Payment ($) per interval per zone

EOOMDNiu 	OOM Energy quantity instructed down for that unit per interval

EOOMDNiv 	OOM Energy quantity instructed down for that aggregated group of units per interval

MCPEiz	Market Clearing Price for Energy per interval for that zone

IOOMDNiu	OOM Energy Down Dispatch Instructions per interval per unit converted to MWh for that interval by dividing by the interval count per hour (four (4) per hour for fifteen (15) minute Settlement Interval)

IOOMDNiv	OOM Energy Down Dispatch Instructions per interval per aggregated group of units converted to MWh for that interval by dividing by the number of intervals  per hour (four (4) per hour for fifteen (15) minute Settlement Intervals)

MRiu	Meter reading per unit per interval

MRiv	Meter reading per aggregated group of units per interval

OLiuq	Resource plan submitted by the QSE for the specific Resource given the OOM instruction for that interval.

OLivq	Resource plan submitted by the QSE for the specific aggregated Resources given the OOM instruction for that interval.

RCGFCc	Resource Category Generic Fuel Cost for a specific category as defined in Section 6.8.2

PEOOMDNi	Total OOM Down Energy Payments

(5)	If a wind Resource is called upon to provide OOME Down Service and the normal payment for OOME Service is insufficient to cover actual verifiable costs of providing the service, then that Resource may file a claim with ERCOT to be paid the lower of:

- All verifiable costs that are directly attributable to the OOME service; or

- MaxCap * CCF * Curtail% * Hrs *CRP

Where:

MaxCap:	Registered Maximum Capacity of the Resource (MW)

CCF:	Capacity Conversion Factor as defined at 30%

Curtail%:	Set at 15% for the period July 1, 2002 through June 30, 2003; 10% for the period July 1, 2003 through June 30, 2004; and 5% from July 1, 2004 and thereafter.

Hrs:	Total number of hours in the month

CRP:	Price paid for curtailment,  $27/MWH

The verifiable costs of providing the service shall be provided to ERCOT in writing from the QSE, certified by an authorized representative of the Resource and within a timeframe to allow resolution by the end of the dispute process for Settlement True-Up.  Verifiable costs under section (a) above shall be based on the actual verifiable MW production that the unit could have produced based on actual operating and maintenance conditions and actual wind speeds.  Verifiable costs must be established in order for a claim to be valid even if paid under method (b) above.

A wind Resource filing a claim under this Section 6.8.2.3(5) must provide actual production and actual wind speed data for the entire month of the claim.  ERCOT will review this data for all hours of the month.  In the event ERCOT determines that it paid the Resource for any OOME down service in any hour of the month that the actual wind speed data show could not have actually been provided, then ERCOT shall deduct any such excess payment from the payment otherwise payable under (a) or (b) above.  A wind Resource filing a claim under Section 6.8.2.3(5) shall also provide an affidavit indicating that the wind Resource, or its Affiliate(s), has tax liability sufficient to fully utilize any lost credits claimed to offset taxes for the year in which the credit would have been received.

This provision will expire at the earlier of:

(i)	December 31, 2006; or

(ii)	When ERCOT implements direct assignment of local congestion costs in accordance with the PUCT’s Order on Rehearing in Docket 23220; or

(iii)	Within one (1) month after accumulated verifiable costs paid under this Section 6.8.2.3(5) reach ten million dollars ($10,000,000).

7.4.3.1 Balancing Energy Up from a Specific Resource

In accordance with section 6.7.1.2, Deployment of Balancing Energy when Congestion Occurs, if a Market Solution exists, whenever an incremental specific Resource is deployed to solve Local Congestion, the QSE will be paid the incremental premium specified.  Aggregated resource rules as described in Section 6.8.2 apply to those units who are approved by ERCOT for this treatment.

LPCRSUqiz 	= 	-1 * Σ((PMqiuz – MCPEiz )* Max(0, Min(MRqiuz -OLquiz, IOLqiuz - OLqiuz))) - Σ((PMqivz – MCPEiz )* Max(0, Min(MRqivz -OLqviz, IOLqivz - OLqivz)))

PMqiuz		=	Max (BPMqiuz, BPMqiuz + MCPEiz )

PMqivz		=	Max (BPMqivz, BPMqivz + MCPEiz )

BPMqivz = Min(BPMqiuz)

Where:

LPCRSUqiz:	Payment to QSE for providing Balancing Energy Up from Specific Resource to solve local congestion per QSE per interval per zone

PMqiuz:	Incremental Premium Specified for that specific Resource per interval

PMqivz:	Incremental Premium Specified for that specific aggregated Resource grouping per interval

BPMqiuz:	Incremental bid premium for that specific Resource per interval

BPMqivz:	Incremental bid premium for that specific aggregated Resource grouping per interval

OLquiz:	Resource plan output level submitted by the QSE for the specific Resource given the resource specific instruction for that interval

OLqviz:	Resource plan output level submitted by the QSE for the specific aggregated Resource grouping given the resource specific instruction for that interval

IOLquiz:	The Instructed output level for the resource given resource specific instruction

IOLqviz:	The Instructed output level for the aggregated resource grouping given resource specific instruction

MRqiuz:	Meter reading per unit per interval.

MRqivz:	Meter reading per aggregated group of units per interval.

MCPEiz:	Market clearing price of Energy per interval per zone

7.4.3.2 Balancing Energy Down from a Specific Resource

In accordance with section 6.7.1.2, if a Market Solution exists, whenever a decremental specific Resource is deployed to resolve the Local Congestion, the QSE will be paid the difference of MCPE in the commercial zone, which the specific Resource is in, and the decremental bid premium specified.

LPCRSDqiz 	= 	-1 * Σ( (MCPEiz - BPMqiuz ) * Max(0, Min(OLqiuz -MRquiz  , OLqiuz - IOLqiuz)))u- Σ( (MCPEiz - BPMqivz ) * Max(0, Min(OLqivz -MRqviz  , OLqivz - IOLqivz)))v

BPMqivz = Max(BPMqiuz)

Where:

LPCRSDqiz:	Payment to QSE for providing Balancing Energy Down from specific Resource to solve local congestion per QSE per interval per zone

BPMqiuz:	Decremental bid Premium Specified for that specific Resource per interval

BPMqivz:	Decremental bid Premium Specified for that specific aggregated Resource group per interval

OLquiz:	Resource plan output level submitted by the QSE for the specific Resource given the resource specific  instruction for that interval

OLqviz:	Resource plan output level submitted by the QSE for the specific aggregated Resource group given the resource specific  instruction for that interval

IOLquiz:	The Instructed output level for the resource given resource specific instruction

IOLqviz:	The Instructed output level for the aggregated resource given resource specific instruction

MRqiuz:	Meter reading per unit per interval.

MRqivz:	Meter reading per aggregated group of units per interval.

MCPEiz:	Market clearing price of Energy per interval per zone

| ## Sponsor |  |
| --- | --- |
| Name | Clayton Greer |
| E-mail Address | clayton.greer@constellation.com |
| Company | Constellation Power Source |
| Company Address | 111 Market Pl. Rm. 500 Baltimore, MD 21202 |
| Phone Number | 817-938-3692 |
| Fax Number | 817-735-5731 |
| ## ERCOT Impact Analysis |  |
| Date |  |
| Financial Impact |  |
| Analysis |  |
| ## TAC Action |  |
| TAC Vote Date |  |
| TAC Proposed Implementation Date |  |
| TAC Vote Results |  |
| ## ERCOT Board Action |  |
| ERCOT Board Vote Date |  |
| ERCOT Board Implementation Date |  |
| ERCOT Board Results |  |
| ## Appeal |  |
| Appeal Date |  |
| Entity Initiating Appeal |  |
| Nature of Appeal |  |