# OWG report to ROS October 22, 2002

OWG met last on September 20th and reviewed the Firm Load Interruption Table that ERCOT has prepared for Step 4 of the EECP.  The load ratios are based on the 2001 4CP calculation that TDSPs filed with the PUCT and are assigned to Transmission Operators who act on behalf of TDSPs.  ERCOT posted this table as Market Operations Bulletin #8 on October 3rd and it can be found at:

http://www.ercot.com/Participants/MarketBulletins/MarketBulletin100302.doc

Since Protocol 5.6.6.1 outlines the annual process, it was agreed that an OGRR would not be required and all future ERCOT updates to this table in EECP Step 4 of the OG could be done administratively.

ERCOT Compliance requested that those QSEs representing Generation Resources provide ERCOT a Reactive Test Schedule (leading and lagging) by October 31st. The next OWG meeting is scheduled for October 23, 2002.

A.	The Black Start Task Force met on October 3rd. ERCOT has provided the TF with the islands and synchronization points for 2003. TOs were requested to submit individual BS plans in accordance with the minimum requirements that are outlined in the 2002 Black Start Plan.  Once OGRR 118 is approved, these requirements will be listed in Section 4.6, Attachment A.4 of the OG. The TO Black Start Plans are due to ERCOT by October 31st.

The BSTF has scheduled a two-day meeting on November 12th and 13th to review individual TO 2003 Black Start Plans. The 2003 Black Start Plan is on schedule for end of year completion.

B.	The OGRTF met on September 26th.

New Operating Guides were posted on October 1st incorporating OGRRs 112 – Block Load Transfers between ERCOT and Non-ERCOT Control Areas; 113 – Responsibility Transfers; and 115 – Frequency Deviation; as approved by TAC on September 5th.

- Due to time constraints, the PRS has yet to determine Protocol impact on the following OGRRs that were approved at the September 19th ROS meeting:

  - 116 Day Ahead Scheduling – incorporates change due to 319PRR and PIP 144.

    - 117 Communicating with ERCOT – Appendix C – as amended by ERCOT, NDSWG, and OGRTF.

    - 119 Back up QSE Plan – as amended by OGRTF – requires a back up plan to be on file at ERCOT and updated annually.

    - 120 Back up TO Plan – requires a back up plan to be on file at ERCOT and updated annually.

- The OGRTF recommends ROS approval for the following OGRR:

    - 114 Changes due to 218PRR Responsibility Assignment RPC and AVR as amended by the OGRTF.

http://www.ercot.com/ercotpublicweb/market/ftp/operatingguides/114OGRR%20RPC-AVR%20Responsibility%20Assignment/114OGRR%20OGRTFrec092602.doc

- OGRRs that are outstanding:

    - 110 Rename and Expand OG to Include Planning – pending re-draft by sponsor

    - 111 EECP Steps 1–4, update to reflect current procedures – posted for comments on October 9th.

    - 118 Black Start – pending further review by OGRTF.

    - 121 Fault Recording Equipment and Maintenance – pending OGRTF review.

The OGRTF will meet on October 24th.

## C.	The Communication Task Force met on October 9th. The OWG has assigned this TF to draft a recommendation for short and long-term solutions to fix the ERCOT Operator Certification testing.