Load Participation
in the ERCOT Market

Financial Opportunities for

Reducing Electricity Load

A guide to ERCOT’s Load Reduction Programs 
and Introduction to the ERCOT Protocols

Prepared by the Demand-Side Working Group

of the ERCOT Wholesale Market Subcommittee

ELECTRICITY RELIABILITY COUNCIL OF TEXAS

VERSION 2.0

September, 2002

Table of Contents

Executive Summary	3

Texas Electricity Market Description	3

Figure 1:  ERCOT Market Overview	4

Background	6

The ERCOT Markets	7

Participation as a Demand-Side Resource	8

Table 1:  Demand-Side Resources in ERCOT	8

Passive Load Response	8

Balancing Up Loads	9

Ancillary Services Markets	10

Table 2:  Ancillary Services	12

Table 3:  Loads Acting as a Resource	13

ERCOT Scheduling Process	14

ERCOT Settlement Process	16

Scheduling and Settlement Example	17

Examples of Potential Payments	18

Frequently Asked Questions	19

The Restructured Texas Electricity Market	22

Glossary of Market Participants	23

## A note to readers:  this section provides definitions of terms that are used frequently throughout this document.  If you are unfamiliar with the new market structure, it is a good idea to read this section first to gain familiarity with these new terms.

Appendix A (example details)	25

This document is intended as an introductory guide to the opportunities available to demand-side resources to participate in various ERCOT markets, and should not be treated as a comprehensive resource.  The ERCOT Protocols are continuously subject to change, and therefore may be more current than the information presented here.  If there is any variation between the information in this document and that contained in the Protocols, the Protocol language takes precedence.

Executive Summary

If you are a business or institution with the ability to curtail your electricity use (i.e., interrupt load), you can be paid for electricity not taken from the grid.

To participate, you must have at least 1 megawatt (1,000 kilowatts) of interruptible load available, and must be willing to allow your supplier, on short notice, to reduce the amount of electricity being delivered.  You can accomplish this by shutting down facilities, or by tapping into on-site generation or relying on alternative fuel capabilities if they are available.

If you have this ability…

Your Load May Have Value — and Profit Potential!

The Value of Load Reductions

Wholesale electricity market prices fluctuate based on simple rules of supply and demand—that is, the relationship between the amount of demand being placed on the grid at any time, and the generation resources (supply) available to meet that demand.  During periods of extreme peak demand, such as hot summer days, wholesale prices often reach many multiples of their off-peak levels.  Even during milder weather when demand is lower, premium prices are often paid for available resources because many generation plants choose these times to shut down temporarily for maintenance.  (The “Examples of Potential Payments” section of this document, beginning on Page 18, uses actual market prices from late April 2002.  A likely cause of this price volatility was unseasonably hot weather through most of the state when many generating plants were shutdown for maintenance.)

In today’s market, a reduction in load is considered a form of available energy, with a value equivalent to that of an increase in generation.  Thus, during these periods, payments for load reductions are equal, dollar for dollar, to that which generating companies are paid for bringing additional power on line.   In fact generators have bid caps imposed where loads do not.  A load can bid more that a generator and if the load sets the market price, then all resources, both generators and loads, will get the higher price.

Texas Electricity Market

Unlike other existing pool-type retail markets (notably California and Pennsylvania-New Jersey-Maryland, or PJM), the ERCOT market is primarily a “bilateral” market.  In a bilateral market, market participants arrange to meet all of their anticipated electric energy needs through the use of bilateral contracts with suppliers.  There is no large “pool” of resources from which retail entities can choose to assign a portion of their load responsibilities. However, markets for balancing energy and certain ancillary services do exist, as discussed below.

In the ERCOT market, market participants known as Qualified Scheduling Entities (QSEs), which typically have both load responsibilities and generation capabilities, must schedule their energy obligations on a daily basis (see Figure 1). Schedules are submitted a day in advance showing a balance between generation and load for each 15-minute interval of the following day.  Adjustments to these schedules are allowed up to one hour prior to actual deployment. For each of the ninety-six 15-minute intervals covering the 24-hour period, the participant is required to have acquired electric energy from a supplier to exactly match the projected load for that interval—a “balanced” schedule of load and resources.

Figure 1 – ERCOT Market Overview

Under ERCOT’s market structure, Retail Electric Providers (REPs), must contract with a QSE to provide scheduling services for its load customers.  REPs may be the same company as the QSE, and thus have compelling incentives to contract for as much energy as possible through direct agreements with generators. These bilateral contracts are confidential, so the prices paid for the overwhelming majority of energy on the ERCOT market are not available to other parties.

An important aspect of the bilateral market is that all participation in ERCOT’s Load Reduction Programs must be contracted through the customer’s REP and QSE.  QSEs are the only entities permitted to perform scheduling and settlement services with ERCOT.  So while participating loads must be registered with ERCOT and are subject to testing administered by ERCOT, any actual participation in the market must be conducted through a single REP and single QSE under contract with the customer.  Any payments from ERCOT for load reductions are made to the QSE and, therefore, any customer reimbursement for a load reduction event is subject to the terms of the customer’s contract with its REP.  This underscores the importance of an informed working relationship between the customer and its REP/QSE combination.

Participation Checklist

Here is a checklist of criteria to help you determine whether participation through your REP is appropriate or advisable for your company or facility:

	Your facility’s interruptible load must be greater than 1 megawatt.  (Alternatively, your retail electric provider or a third party may be able to aggregate smaller loads to reach this threshold).

	Your facility must have Interval Data Recorder metering.  For some programs, your facility should also have telemetry—a real-time direct communication from your meter to ERCOT.

	You must have the ability to deliver the load reduction on short notice.

	For some programs, you must register as an available Resource with ERCOT, and your facility must be made available for testing prior to actual participation. For others, you need only contract with your REP.

	You must contract with your Retail Electric Provider (REP) to represent your available load as a Resource to the system.  Your REP then arranges participation through its Qualified Scheduling Entity (QSE), which is the entity that provides scheduling and balancing services to ERCOT.  In many cases, your REP and QSE are the same company.

	You must be able to maintain the load reduction for at least 15 minutes, up to a period determined by your QSEs bid, or by the need of the electrical system, whichever is more.

If this sounds like a program your company may desire to participate in, read on…

An overview of the ERCOT market appears on the following pages.  Some more detailed Frequently Asked Questions appear at the end of the document.  Familiarity with the details of the new Texas market design and the ERCOT protocols is strongly recommended prior to your actual participation.

Background

Historically, utilities in the Electric Reliability Council of Texas (ERCOT) relied on over 4,000 megawatts of interruptible and curtailable load, group load curtailment programs, residential direct load control programs, thermal energy storage systems, and other “demand-side resources” to maintain reliability and meet the system’s resource needs.  In the restructured market, the Public Utility Commission of Texas has established a goal to “ensure not only that the load resources that have historically participated in the markets have reasonable opportunities to continue to participate, but also that a framework is established for even greater participation by load resources in the future.”  Participation by loads in the restructured ERCOT market is viewed as a means of enhancing competition in those markets, mitigating unwarranted price spikes, encouraging the demand side of the market to respond better to wholesale price signals, and preserving system reliability.

While state mandates and incentives for interruptible tariffs have been discontinued, customers may still negotiate contracts for these special rates with their suppliers.  However, new market-based financial incentives for reducing load are now also available.  Qualifying customers cannot only save money by making themselves available to come off line, but also earn money.  Interruptible customers today are considered not merely a load to be removed from the system, but a resource to the system comparable to a generating plant.

PProviding a demand-side resource is more complicated than signing up for a special tariff or utility program.  Generally, demand-side resources must be tested and registered, and then included in ancillary services plans or offered to a market.  The value of a resource is largely determined by market conditions.  Perhaps most importantly, compensation for being voluntarily interrupted is subject to contractual arrangements between the customer and its Retail Electric Provider (REP).  Providing a demand-side resource into this market requires knowledge of the Texas electric market structure, scheduling and settlement processes, and the requirements associated with participating in various markets.

The purpose of this document is to provide additional background and supporting data to customers, or load entities, who are interested in determining their eligibility for the load reduction programs in the newly deregulated Texas electricity market.  This paper will provide an overview of the organization and operation of the ERCOT market.  It provides the basic information necessary for load entities to understand how the ERCOT market operations can affect their daily activities and processes, and provides an overview of the opportunities, rules and risks of actively participating in some of the ERCOT ancillary services markets.  This paper is intended only to provide an overview of the ERCOT Protocols.  For additional detailed information, the reader should refer to the current Protocols themselves, which may be found on the ERCOT website at: http://www.ercot.com/AboutERCOT/PublicDisclosure/ProtocolRev.htm.

The ERCOT Markets

The primary role of ERCOT under restructuring is to maintain reliability of the ERCOT electricity grid, including operation of the ERCOT system as one control area.  ERCOT serves as the Independent System Operator (“ISO”) and is charged with maintaining a precise balance between load and generation on a second-by-second basis.

To assist market participants in meeting that portion of their balanced-schedule requirement that cannot be accurately accommodated through bilateral contracts, ERCOT administers various programs or spot markets:

- Ancillary Services (“AS”), defined in the ERCOT Protocols (Section 2) as “Those services…necessary to support the transmission of energy from Resources to Loads while maintaining reliable operation of transmission provider’s transmission systems in accordance with Good Utility Practice.” ERCOT requires REPs to carry a specified level of operating reserves—the ability to call up additional resources, whether generation increases or load reductions, on varying levels of short notice.  These operating reserves serve as "insurance" in case a generating unit goes down, load is higher than anticipated, or another problem emerges.  Most such reserves can be self-arranged.  If a REP doesn't self-arrange all its reserves, then ERCOT will purchase the necessary reserves on the REP’s behalf by operating a day-ahead market for the various Ancillary Services programs.  Currently there are 11 AS programs in place, eight of which are available for participation by loads (more detail is provided in the following pages).  In the AS markets, a QSE can bid in any resources (generation or operating reserves) that aren't already committed.

- The Balancing Energy Market, a special type of AS, is a “thin” balancing pool of energy that allows market participants to acquire additional resources that may be necessary to correct imbalances between generation and load.  ERCOT looks at the balance between supply and demand approximately 30 minutes prior to each 15-minute interval.  If a general shortage of generation is anticipated, then ERCOT will operate a market to buy additional "balancing energy" on behalf of the market.  During the settlement process, ERCOT will determine which REPs were actually short, and thus who should pay for the balancing energy.  REPs cannot self-arrange balancing energy, but they do have the ability to adjust their plans if they think they might be short of generation and don't want ERCOT buying it on their behalf.

ERCOT also provides data collection and billing services for settlement quality data of bi-lateral contracts at the QSE level, including actual load data (through metering and profiling services) and generation production.  ERCOT is also responsible for collection of certain market information that will be made available to the public.

## Participation as a Demand-Side Resource

The ERCOT market was explicitly designed with a number of features to reward energy consumers that are willing to curtail load as a way of helping maintain system reliability.  These “demand-side resources,” or loads, are encouraged to make their resources available by responding to wholesale price signals.  Actual dollar values to be paid for these resources are established in the form of Market Clearing Prices, which are based on bid processes in various ERCOT-operated markets described below.  The Market Clearing Price for Capacity (MCPC) expressed in dollars per megawatt per hour represents the price paid for making a capacity resource (load reduction or generation increase) available to the system.  The Market Clearing Price for Energy (MCPE) expressed in dollars per megawatt-hour represents the price paid for actual deployment of a resource’s energy (load reduction or generation increase).  When the ERCOT markets are operating, demand resources (reductions in load) have the same dollar value as generation resources (increases in generation).

There are three basic types of load resources, or demand-side resources, in the ERCOT market, as summarized in Table 1 and detailed below.

## Table 1: Demand-Side Resources in ERCOT

| Resource Type | Resource or Service that can be Provided | Requirements |
| --- | --- | --- |
| Passive Load Response | Passive response to the Balancing Energy Market Price | - Interval Data Recorder (IDR) meter |
| Qualified Balancing Up Load (BUL) | Balancing-Up Load (associated with the Balancing Energy Market) | - IDR meter - Qualification |
| Load Acting as a Resource (LaaR) | Various ERCOT Ancillary Services (AS) | - Telemetry - Qualification |

## Passive Load Response

“Passive load response” refers to a load’s deviation from its scheduled or anticipated level, in response to price signals, in situations where the customer has not formally offered this response to the market as a “resource.”  If a QSE’s actual load level turns out to be lower than its scheduled load level during a given 15-minute interval (while its actual generation is equal to its scheduled generation), then the scheduling entity is entitled to a payment or credit, based on the energy imbalance multiplied by the Balancing Energy Market price.  Assuming the customer has negotiated a contract with its REP requiring the QSE to pass these benefits along to the customer, this provides loads with an incentive to respond to wholesale market prices.  Loads (and their QSEs) are not penalized if they fail to follow their schedules, but will pay the market price for energy if loads are above their scheduled levels.  Depending on their REP contract, customers may receive a credit or payment if their delivered loads are below their scheduled levels.  However, ERCOT’s system operators may adjust load forecasts and rebalance processes if the observed deviations from schedules are too great.

The manner in which any bill credits, payments from the market, or transmission cost savings are shared among responsive customers, their REPs, and their scheduling entities is a contractual matter among these market participants.

## Balancing Up Loads (BULs)

Loads that contract with a QSE to formally submit offers to ERCOT to provide balancing energy by reducing their electricity use are referred to as Balancing Up Loads (BULs).  BUL resources are paid only if they actually deploy (reduce energy use) in response to selection by ERCOT, but if deployed they receive two separate forms of compensation:

- They receive an energy payment for the actual load reduction delivered, based on the prevailing Market Clearing Price for Energy (MCPE) in the Balancing Energy Market.

- They also receive a capacity payment based on the Market Clearing Price for Capacity (MCPC) in the Non-Spinning Reserves market (an Ancillary Services market described below).  This payment is an additional reward for BULs submitting bids into the balancing energy market, even though they are not actually providing non-spinning reserves.

These payments are made to a load’s QSE who may pass the value on to its REP who may in turn pass the value along to the customer (load). Many variations in products offered by REPs are available and the load customer has choices on how it may receive value for its interruptible load.

To qualify for these payments, a QSE must register (Qualify) the load as a BUL  and make an offer to the ERCOT market.  The offer is placed according to its dollar value (per MWh) in the balancing energy “bid stack” along with other offers submitted by generation resources and other BULs. If it is selected from the bid stack, which is prioritized according to price, then the QSE will receive notification to deploy (reduce load) and will be eligible for the energy and capacity payments.  If it isn't selected by ERCOT, it isn't deployed (interrupted), and it won't receive any payment.

## Ancillary Services Markets

ERCOT is responsible for developing a daily Ancillary Services (“AS”) Plan with sufficient AS to maintain the security and reliability of the ERCOT System consistent with ERCOT and North American Electric Reliability Council (NERC) standards. As discussed previously, ERCOT determines the amount of AS that each market participant is required to provide.  Each market participant may self-provide its AS or may elect to have all or a portion of its AS provided by ERCOT.  ERCOT will deploy the AS in order to maintain system reliability.

Customers with interruptible loads that can meet various performance requirements can be qualified to provide operating reserves under the Load Acting as a Resource (LaaR) program.  In the eligible AS markets, the value of a LaaR’s load reduction is equal to that of an increase in generation by a generating plant (MWh times MCPE).  Moreover, any provider of operating reserves selected through an ERCOT AS market is eligible for a capacity payment, regardless of whether the Resource is actually deployed (or curtailed, in the case of the LaaR).

ERCOT qualifies LaaRs to be able to provide AS based on the load’s available technology, as follows:

- Responsive Reserve: Requires that an Under Frequency Relay (UFR) be installed that opens the load feeder breaker on automatic detection of an under frequency condition. The load must also have real-time telemetry installed.  Loads qualified for the Responsive Reserve market are also automatically qualified for the Non-Spin market, Replacement and Balancing Energy Market.

- Non-Spin Reserve:  Requires that interruptible loads be manually interrupted (e.g., opening a circuit  breaker ) within 30 minutes notice. The load must also have real-time telemetry installed. Loads qualified for the Non-Spin Reserve market are also automatically qualified for Replacement and Balancing Energy Market.

- Regulation Up and Down Service: Requires that interruptible loads through automatic controls respond to signals provided by ERCOT to increase and decrease load while meeting rigorous performance monitoring criteria.  Loads qualified for Regulation Up and Down service are also qualified to provide Non-Spinning Reserve, Balancing Energy Services, and Replacement Reserves.

- Balancing Energy Up:  Requires that loads be able to respond through manual or automatic operations to interrupt load within 10 minutes.  Loads qualified for Balancing Energy up are not eligible to provide any other ancillary services.

- Replacement Reserve Service: Electricity that is bought from individual Generation Resource units that were otherwise planned to be off-line, and individual Load(s) acting as a Resource that are available for interruption during the period of requirement.

All ERCOT Resources are susceptible to being deployed during system emergencies or when no other market solution exists to solve certain system operating problems. As such, Loads that are qualified to provide AS may be deployed as Out-of-Merit Capacity  Service and /or Out-of-Merit Energy  Service.

Out-of-Merit Capacity (“OOMC”) Service:  Resources may not be selected by its bid price, because of a relatively urgent need for additional capacity or capacity at a specific location.  This is a service whereby ERCOT procures capacity from Resources, or LaaRs, that would otherwise not be selected to operate because of their place (or absence) in the Merit Order of Resources’ bids for Ancillary Services (the “bid stack”).  OOMC is used by ERCOT to provide for the availability of sufficient capacity so that Balancing Energy bids are available to solve capacity insufficiency, Congestion, or other reliability needs, when a Market Solution does not exist.   If provided by a QSE, it is Generation or LaaRs capable of providing additional Balancing Energy Service to ERCOT when deployed.*

Out-of-Merit Energy (“OOME”) Service:  Energy from Resources may also be purchased by its bid price  because of a relatively urgent need for system energy or energy at a specific location.  Technically, this is a service whereby ERCOT procures energy from Resources that may or may not have provided bids.  It is used by ERCOT to provide Balancing Energy Service when no market solution exists for resolving congestion, or if required in declared emergencies as described in the ERCOT Protocols.  If provided by a QSE, it is the provision of incremental or decremental energy dispatched from a specific Resource in emergency operations by Settlement Interval in Real Time to meet the balancing needs of the ERCOT System when no Market Solution exists or in declared emergencies.*

*OOMC and OOME are services that are used by ERCOT to solve local congestion problems or to address emergencies.  By registering for the LaaR program, customers agree to make their loads available for curtailment in these situations.  Compensation for being deployed in these instances is determined by a special formula tariff that is established in advance.

Day Ahead Processes

Each QSE may arrange bilaterally for AS or may have ERCOT make the arrangements through a market (i.e., an auction) administered by ERCOT.  ERCOT holds auctions on a daily basis for each of the following AS:

  - Balancing Energy

  - Regulation Up

  - Regulation Down

  - Responsive Reserve

  - Non-Spinning Reserve

In addition, ERCOT may also conduct an auction for Replacement Service ERCOT requires Replacement Service on a very infrequent basis.

Table 2 summarizes the different Ancillary Services available for participation by loads:

Table 2: Ancillary Services

| Type of Service | Dn Reg | Up Reg | Resp Res | Non Spin | Replacement | OOMC | Up BES | Dn BES | OOME |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| System Response to instruction: | Must be on AGC | Must be on AGC | AGC or Relay action | Resp w/in 30min | Response as bid |  | Response w/in 10min | Response w/in 10min |  |
| Generation Resources | X | X | X | X | X | X |  |  |  |
| Regulation Control Equipment installed | X | X |  | X | X | X | X | X | X |
| Load with Under frequency relay installed |  |  | X | X | X | X | X |  | X |
| Load with real time telemetry |  |  |  | X | X | X | X |  | X |
| Balancing Up Load (BUL) |  |  |  |  |  |  | X |  |  |

Loads that agree to be interrupted when directed by ERCOT via their QSE (and that meet other metering and operational requirements as specified in the ERCOT Protocols) may participate in AS market auctions described above.  As noted in Table 2, the type of ancillary service that a LaaR may provide will depend upon the load’s response time and metering system, as well as other requirements described in the Protocols.  In the Responsive Reserve and Non-Spin Reserve markets, the QSE receives capacity payments without actually being interrupted, but must be available to be interrupted at any time if needed.

## Table 3:  Load Acting as a Resource Participation in AS Markets

| Resource | Metering | Used by | Participation Basis for Payment | Ancillary Services Markets Payment Determination | Time to Curtail/ Interrupt |
| --- | --- | --- | --- | --- | --- |
| Responsive Reserves | Telemetry | Market Participant or ERCOT | Being available to be interrupted | Market clearing price in Responsive Reserve Market | Either instantaneously or within 10 minutes |
| Non-Spinning Reserves | Telemetry | Market Participant or ERCOT | Being available to be interrupted | Market clearing price in Non-Spinning Reserve Market | 30 minutes |
| Replacement Reserves | Telemetry | Market Participant or ERCOT | Being available to be interrupted | Market clearing price in Replacement Market | Must bid and respond in Balancing Energy Market |
| Regulation | Telemetry | ERCOT | Being available to be interrupted | Market clearing price in Regulation Up and Down Markets | Within moments to meet performance criteria |
| Balancing Energy Markets | Telemetry | ERCOT | Actual deployment | Market-clearing balancing energy price | Within 10 minutes |
| BUL | Interval Data Recorder | ERCOT | Actual deployment | Market-clearing balancing energy price, plus prevailing price in Non-Spinning Reserve Market | Within 10 minutes for a full payment; within 70 minutes for a partial payment. |
| OOMC, | Telemetry | ERCOT | Being available to be interrupted | Compensation based on formulas for OOMC | Varies |
| OOME | Telemetry | ERCOT | Actual deployment | Compensation based on formulas for OOME | Varies |

For additional details regarding Ancillary Services, refer to Section 6 of the ERCOT Protocols.

## ERCOT Scheduling Process

As shown below, the ERCOT scheduling process considers three different time periods, the Day Ahead Market period, the Adjustment period and the Operating period.

No adjustments are made during the Operating Period.

Expressed another way:

Adjustment Period

No

Adjustments

Operating

Hour

Operating Period

1 Hr.

Day Ahead Market

06:00    18:00

The following timeline describes the Day Ahead Market scheduling process (from a QSE perspective):

06:00	Market Open – data posted by ERCOT will include: updated transmission system information, load forecasts (by congestion zone and total ERCOT), AS Plan, AS responsibility for each QSE, mandatory decremental Balancing Energy Service bid percentage requirements and transmission and distribution loss factors.

11:00	Submit balanced energy schedule of obligations (i.e., load) and resources.

11:15		Resubmit corrected updated schedules.

13:00	Update balanced energy schedule of obligations and resources; update self-arranged AS schedule; provide AS bids for ERCOT AS market.

13:15		Resubmit final corrected updated schedules.

13:30		ERCOT procures AS needed to complete its Day Ahead AS Plan

15:00	Submit updated AS schedule that includes self-arranged and AS bids selected by ERCOT.

16:00	Submit Resource Plan with non-binding unit-specific information; submit Replacement Reserve Service bids.

18:00		Day Ahead Market closed by ERCOT.

After 18:00	Modify Replacement Reserve Service bids (if necessary)

Once the Day Ahead Market is closed, then QSEs may continue to modify their schedules during the Adjustment Period as shown below (where T=the start of the Operating Hour):

T-60 min.	Submit:

- updated Balanced Schedule of obligation (i.e., load) and supply for hour beginning at time T and any hour after time T;

- bids for Balancing Energy including any mandatory decremental Balancing Energy bids;

- self-arranged AS schedule for the hour beginning at time T and any hour after time T;

- TCRs, if any, for the hour beginning at time T and any hour after time T;

- updates of the Resource Plan;

- bids for Replacement Reserve Service;

- bids for additional AS; and

- bids for incremental and decremental resource-specific premiums.

T-45 min.	Resubmit corrected schedules.

One hour prior to the Operating Hour, no more adjustments are allowed.

For additional information related to scheduling, refer to Section 4 of the ERCOT Protocols.

## ERCOT Settlement Process

The ERCOT Settlement process is used to receive funds and send payments to QSEs who participated in the market during any given settlement interval. The Settlement process takes into account administrative and miscellaneous fees as well as the cost of transmitting the electricity around the state.

ERCOT will produce daily settlement statements reflecting a breakdown of market charges for hourly and other settlement interval (i.e., 15 minute) market services, monthly charges and any annual charges applicable to each Operating Day. The ERCOT Settlement Statement timeline is:

Day 0			Energy Consumed during Operating Day

Day 17			Initial Statement for Day 0 is issued by ERCOT.

Day 59		Final Statement for Day 0 is issued by ERCOT.

Day 0 + 6 Months	True-Up Statement for Day 0 is issued by ERCOT.

Any dispute pertaining to settlement information must be raised by the QSE with ERCOT within ten days of the issuance of a Final or a True-Up Statement for the appropriate Operating Day.  If such a dispute is found to be valid by ERCOT, it will issue a Resettlement Statement within 21 business days of the issuance of the True-Up Statement.

For additional information pertaining to settlements and invoicing, please refer to Section 9 of the ERCOT Protocols.

## Scheduling and Settlement Example

In order to better understand the ERCOT scheduling and settlement processes, consider the following simple example (data shown for a single settlement interval).

G2

G1

R1

R2

175 MW

55 MW

25 MW

45 MW

Here, Retailer 1 (“R1”) buys 25 MW from Generator 1 (“G1”) and 175 MW from Generator 2 (“G2”) under bilateral contracts to meet its estimated load of 200 MW (i.e., 200 MW of generation balanced by 200 MW of load).  Retailer 2 (“R2”) buys 45 MW from G1 and 55 MW from G2 under bilateral contracts to meet its estimated load of 100 MW.  This information represents the Day Ahead schedule, adjusted as necessary during the Adjustment Period.

Now, in real-time, assume that the following occurred:

Actual production of G1 was 105 MW and G2 was 200 MW (a total of 305 MW of generation during the settlement interval).  Actual load requirement of R1 was 195 MW and R2 was 110 MW (a total of 305 MW of load during the settlement interval).  Market Clearing Price of Energy (“MCPE”) for the settlement interval was $25/MW

Based on the above, the following amounts the QSEs representing the generators and retailers would be settled and invoiced as appropriate:

- R1 pays G1 for 25 MW and G2 for 175 MW as called for under the terms of the bilateral contracts between R1 and G1 and G2.

- R2 pays G1 for 45 MW and G2 for 55 MW as called for under the terms of the bilateral contracts between R2 and G1 and G2.

- The Balancing Market (i.e., ERCOT) pays R1 $125 (5 MW x $25/MW) because its load was 5 MW less than scheduled.

- The Balancing Market pays G1 $875 (35 MW x $25/MW) because it generated 35 MW more than scheduled.

- The Balancing Market is paid $250 (10 MW x $25/MW) by R2 because its load was 10 MW more than scheduled.

- The Balancing Market is paid $750 (30 MW x $25/MW) by G2 because it generated 30 MW less than scheduled.

Thus, for this settlement interval, the Balancing Market (i.e., ERCOT) is balanced ($125 +$875) = $1,000 = ($250 + $750).

Examples of Potential Payments

Here are some examples of potential earnings using actual market conditions (assuming that 100% of the value paid the Qualified Scheduling Entity (QSE) and subsequently made available to the Retail Electric Provider (REP) who could provide value to the end-use customer):

During the period of April 28-30, 2002, wholesale electricity prices in Texas spiked dramatically.  For comparison purposes, typical off-peak wholesale electricity prices during these periods were under $5 per megawatt-hour (MWh).

- On April 28, the Market Clearing Price for Capacity (MCPC) in the Responsive Reserves Market reached $833 for a one-hour period.  The price stayed above $75 for a full eight hours on April 29,and above $60 for 10 hours on April 30.  A customer with 20 MW of load with an ability to withstand interruptions via automatic relay trip could have earned up to $54,396 (depending upon its relationship with its electricity provider) for making its load available for curtailment in the Responsive Reserves market during this volatile 72-hour period.  It would have earned this money as a capacity payment—even if its electricity service was never actually curtailed.

- The MCPC in the Non-Spinning Reserves market (a different market) reached $999 for one hour on April 29, and stayed above $990 for a full 12 hours on April 30.  Under this program, a customer with 20MW of interruptible load could have earned a capacity payment of up to $286,662 (again, depending upon its relationship with its electricity provider) from the Non-Spinning Reserves market for making its load available for interruption (with up to 30 minutes of prior notice) during the full three-day period.

- The Balancing Energy Market (MCPE) price for electricity stayed between $44 and $53 for over four hours on April 28, and between $42 and $54 for over three hours on April 29.  If a 20 MW customer had interrupted its load for two hours (3-5 p.m.) on April 28, it would have earned a combined energy payment of $13,457 from the Balancing Market, assuming that it was selected and deployed by ERCOT.

These examples occurred in an immature market due to temporary shortages of generation capacity and energy. Future prices and benefits to load customers is a function of future market prices. History may not be a suitable predictor of the future price.

As was previously explained, under the ERCOT system customers do not earn the payments directly.  Payments are made to the QSE, and the customer’s reimbursement is subject to the terms of its contract with its REP.

## Frequently Asked Questions

Q.	How do I register with ERCOT as a LaaR or BUL?

A.	To participate as a LaaR you must register as a Resource entity, and then as a LaaR asset.  (At the time of publication of this document, the BUL program had not yet been launched and the application process not yet defined).   The application forms are located on the ERCOT website as follows:

http://www.ercot.com/mkt_part_apps/market_participant_application_f.htm

Q.	What level of compensation (dollars times kWh) makes it worthwhile or profitable for me to reduce the load?

A.	This is the key business decision you must make internally.  Only you know the financial impact of shutting off electricity to some or all of your operations, and the cost of restarting operations.  If you plan to use electricity generated on site to replace power from the grid, you should factor those costs into your decision.  Some REPs may offer you the ability to set the minimum price you will accept to have your load interrupted.  The REP may notify you a day in advance what the projected market price will be and whether you are likely to be notified to curtail.  Other REPs may offer other variations of products where you receive a discount off your bill for giving your REP the right to count on you to interrupt your load at their request for a specified number of hours and events during the hot summer.  Your REP could offer you the ability to decide a day in advance whether to participate. Except for rare emergency situations, your interruption schedule is something that can be negotiated between you and your REP.

Q.	Can I “aggregate” a number of small residential and commercial loads that can be interrupted, and offer this aggregated resource into the market as an ancillary service or a BUL?

A.	Yes, but there are some complications.  First, ERCOT will only recognize a resource of at least 1 MW.    Also, an offer to provide a LaaR or BUL resource should be submitted by the same scheduling entity (QSE) that is used to schedule the generation purchased by the customer.  If the scheduling entity that was used to offer a resource to the market differs from the scheduling entity used to schedule power for the load, then the scheduling and settlements processes might become unworkably complicated.  Finally, keep in mind that LaaRs require telemetry, which may be prohibitively expensive for smaller loads.  BULs require interval data recorders, but ERCOT will soon be implementing system changes to enable a sampling approach for direct load control programs that wish to provide a BUL resource (or to simply have interruptions recognized in the settlement process).

Q.	Can I “directly” offer a demand-side resource to the market?

A.	No.  Only a QSE can schedule a resource or offer a resource to an ERCOT market.  (You could become a QSE, but that can be a very expensive proposition.)  As noted earlier, your REP already has a QSE.  Your success in these load reduction programs will require you to have an informed working relationship with your REP, and the terms of your participation in these programs should be clearly spelled out in your REP contract.

Q.	My industrial load can be interrupted.  The REP that I’m negotiating with doesn’t have a standard contract to provide interruptible service, but is willing to negotiate with me.  What do I need to do?

A.	Make sure this REP understands your degree of flexibility or ability to endure interruptions and knows how to value these attributes.  The manner in which any bill credits, payments from the market, or cost savings are shared among consumers, and their REP, and the QSE scheduling the power is a contractual matter among these parties.  Your contract with the REP must clearly describe how any payments or credits will be shared.

Q.	My electricity use at my industrial facility may be interrupted once or twice a year, provided I have 30 minutes notice.  But I don’t want to endure too many interruptions.  Should I participate as a LaaR?

A.	Sure.  You might consider offering a non-spinning reserve ancillary service.  Your QSE can control the bid price at which your load would be made available as a capacity resource to ERCOT.  The higher the price, the less likely you will be selected to provide the service, and the less likely you will actually be called on to be interrupted.  And if there are times when you do not wish to be interrupted, you may notify your QSE and choose not to participate in the market.  Remember though, you may in rare circumstances get called to participate in emergency actions of OOMC and OOME.

Q.	How long will the interruption typically last, and how will I know when to restore my load to the grid?

A.	The minimum period of interruption is 15 minutes, but there is no “typical” period of interruption.  The maximum time is determined by the need of the electric system for the resource you have offered, or the time you have established as your stated availability, whichever is more.

Q.	Is there any chance I’ll be interrupted even if I haven’t submitted a bid for that day?

A.	LaaRs assume an obligation to make their load available for interruption in cases of emergency under the OOME and OOMC Ancillary Services programs.  You will receive some, but possibly not much, notice prior to being interrupted, and you will be compensated based a special formula tariff established in advance.

Q.	Under what circumstances would I get paid without having to actually interrupt my load?

A.	Some of the Ancillary Services programs available to LaaRs offer capacity payments.  This means that if your bid is accepted, you’ll receive some compensation simply for making your load available, even if you are not notified to deliver the actual reduction.

Q.	What happens if I can’t deliver the full load reduction I contracted for?

A.	This is a contract issue between you and your REP/QSE.  Remember, your QSE is the entity that actually interfaces with the ERCOT markets, and your performance can affect your QSE’s ability to meet its scheduling obligations.  ERCOT compensates QSEs only for the actual resources provided.  So, if you under-deliver a load reduction, it could result in your QSE having to pay into the market to correct the resulting schedule imbalance.

Q.	Do I receive extra payments if I deliver more of a load reduction than I contracted for?

A.	Your QSE does stand to benefit from the market by providing extra resources, so that makes this another contract issue between you and your REP/QSE.  At the time of publication of this document, the final protocol language and payment formulas for compensating QSEs for over-delivery of load resources were still in the development process at ERCOT.

Q.	Can I use my backup generators to keep my plant running during a LaaR or BUL curtailment?

A.	If you are going to use a backup power source (e.g., diesel generators) at any time other than an emergency (blackout or brownout) situation, you must obtain an Air Quality Standard Permit for Electricity Generating Units from the Texas Natural Resource Conservation Commission (TNRCC).  For some industrial customers, you may be able to include the increased emissions from your generators in your facility’s overall emissions limits, if you can show reduced emissions from other sources.

Q.	I’m interested in providing a BUL resource.  How is the “baseline” set?  That is, how will ERCOT measure the amount of my demand reduction?

A.	Any energy payment or credit is simply based on the difference between actual and baseline energy use, times the balancing energy price.  (This assumes that your QSE can separately settle your load from the other loads it is scheduling.)  The baseline approach for calculating the BUL capacity payment is based on historical data—a 10-day average of actual metered load for similar days (weekends or weekdays, ignoring hours when previous curtailments were requested) prior to the deployment or curtailment.  The baseline is adjusted to actual load in the two hours prior to notice, to reflect temperature sensitive load and to address gaming concerns.  This is similar to the approach used in demand response programs in other regions of the U.S.

Q.	How do I determine what value my “interruptibility” has in this new market?

A.	The value of an energy consumer’s interpretability depends on at least three factors:

- How quickly you can respond to an interruption request (this determines which services you can provide);

- The cost at which you are willing to interrupt service; and

- The market conditions for that particular service.

Market clearing prices and quantities procured by ERCOT are posted on the ERCOT web site at http://www.ercot.com/ercotPublicWeb/PublicMarketInformation/MCP/MarketClearingPrices.htm.

Q.	I want to make sure I’m getting the best value for my load interruption.  How will I know in advance which of the various ERCOT markets will pay the best price?

A.	Keeping in mind that the flexibility of your facility dictates which of the markets you can bid into, you can bid simultaneously into different markets.  You can only be selected to provide one. Under a new process called “simultaneous combinatorial auction,” QSEs may bid in all markets and ERCOT will determine where the load resources would have the most value.

The Restructured Texas Electricity Market

Familiarity with the following terms and facts will help you to navigate through the new ERCOT programs.

The TEXAS LEGISLATURE restructured the wholesale electric power market in 1995.  Four years later, the legislature passed Senate Bill 7 (SB7), which was signed into law by then-Gov. George W. Bush, opening most of the state to retail electricity competition effective Jan. 1, 2002.  This law currently affects approximately 70 percent of Texas electricity customers.  The exceptions are customers served by the following entities:

- Municipally-owned utilities such as those serving Austin and San Antonio*;

- Electric cooperatives*;

- El Paso Electric, Entergy/Gulf States, Mutual Energy–SWEPCO, and Southwestern Public Service Company (SPS).  These are investor-owned utilities with service areas that are not administered by ERCOT.**

*Municipals and co-ops have the ability to “opt in” to competition at any time.  Thus far none have opted in.

**Competition in these service areas has been postponed until a future date.

Prior to deregulation, the Public Utility Commission of Texas (PUCT) helped to ensure system reliability by requiring utilities to offer special tariffs to those customers who had “interruptible” loads.  In exchange for these reduced rates, interruptible customers agreed to allow their utility to curtail electricity service on short notice during periods of extreme peak demand.  In the restructured market, the LaaR and BUL load reduction programs operated by ERCOT are replacing these rates.  The PUCT retains some regulatory authority over market participants, but no longer has the power to mandate rates or programs designed to achieve peak load reductions.

The Electric Reliability Council of Texas (ERCOT) is the Independent System Operator (ISO) formed to ensure the reliability of the electricity grid.  ERCOT’s primary responsibility is to maintain a precise balance between load and generation throughout its service area on a second-by-second basis.

In practice, the term “ERCOT” is used interchangeably to define three different entities:

- It is a nonprofit corporation (ERCOT Inc.) that has been assigned the task of administering or facilitating the Texas market rules set forth in the Protocols and Operating Guides.  ERCOT Inc. handles the interface with the North American Reliability Council, reporting, and Operating Authority requirements.  ERCOT Inc. does not set market rules, nor does it create or inhibit market opportunities, though it does establish and enforce grid performance associated with reliability issues.  ERCOT Inc. is responsible for the reliability of the electric grid within ERCOT, the region, and acts toward that end.  When the term ERCOT is used, it is most often referring to ERCOT Inc.

- It is a defined electrical region of the country, comprising about 85 percent of Texas, where utilities have shared access to the electrical grid, and have organized under a common set of rules, the Protocols and Operating Guides.  When referring to this collaboration of Texas utilities, the term ERCOT Region is often used.

- It is also a title for one of the 10 Reliability Authorities of the North American Electric Reliability Council (NERC).

ERCOT administers the electricity grid covering most of Texas, including all areas that are open to retail competitive choice.  (The El Paso area and portions of the Panhandle and East Texas are not connected to the ERCOT grid).

Zones are set based on the current arrangement of resources, loads, and power pathways within the ERCOT bulk power transmission system, with the final determinant being the associated transmission constraints that may exist between zones.  All loads and generating units are assigned to a zone by ERCOT.  Participation in the market may result due to needing power at a specific location in one of these zones.  These zones may change annually.

###### Under SB7, which amended the Texas Public Utility Regulatory Act (PURA), the state’s former vertically-integrated utilities were required to restructure in such a way that separates their generation assets and retail operations from their core business of transmission and distribution.

###### GLOSSARY OF MARKET PARTICIPANTS

###### In the new market paradigm, the following terms are used to identify the Registered Market Participants, defined as those entities registered to participate in the competitive market administered by ERCOT within the ERCOT Region, plus any non-ERCOT participants using the statewide systems administered by ERCOT:

Retail Electric Provider (“REP”) sells electric energy to retail customers. A REP may not own or operate generation assets.

Affiliated Retail Electric Provider (“AREP”) is a REP that was formerly a part of a vertically-integrated utility prior to restructuring.

Qualified Scheduling Entity (“QSE”) is the entity required to submit daily balanced schedules to ERCOT.  The QSE also manages Ancillary Services bids, including those from the LaaR program. QSEs are responsible for all financial settlement activities with ERCOT, and must obtain certification demonstrating that they are financially responsible to ERCOT for all bills and payments.  A QSE may be a REP, a PGC, a NOIE, a PM, or a combination of several entities.  A QSE may represent multiple REPs, and a REP may contract with multiple QSEs to schedule its services.  However, a customer participating in ERCOT’s load reduction programs must be represented by a single REP and a single QSE.

Competitive Retailer (“CR”) is technically any REP selling electricity at retail in the restructured market, although this term is frequently used to describe those REPs that are not affiliated with a former vertical utility.

Non-Opt In Entity (“NOIE”) is a municipally owned utility or electric cooperative that does not offer customer choice.  (While municipals and co-ops are permitted to offer competitive choice, to date none have chosen to do so.)

Transmission/Distribution Service Provider (“TDSP”) is that portion of the former vertical utility that owns and maintains equipment or facilities to transmit and distribute electricity over a certified service area.  Rates that the TDSPs must charge for transmission and distribution services are set by the PUCT.

Power Generation Company (“PGC”) generates electricity that is intended for the wholesale market.  This can include generation companies that are affiliated with former vertical utilities, as well as independent “merchant” generators.  A PGC cannot own a transmission or distribution facility other than that essential for interconnection.

Power Marketer (“PM”) is an entity that owns or controls electricity for the purpose of buying and selling it at wholesale.  A PM may not own generation, transmission, or distribution facilities, and cannot have a certificated service area.  The PM must either register at ERCOT, or obtain authority from the Federal Energy Regulatory Commission to sell electricity at market-based rates.

Qualifying Facility (“QF”) is a qualifying cogenerator or small power producer according to regulatory qualification criteria as defined in PURA.

Balancing Up–Load (“BUL”) is a market participant that can interrupt load in response to a request from ERCOT to effectively provide Balancing Energy Service (similar to a generating unit).  The BUL program is not part of the ERCOT Ancillary Services programs.

Load Acting as a Resource (“LaaR”) is a load that can be interrupted in response to a request from ERCOT under various Ancillary Services programs.  Some LaaRs are eligible for capacity payments (for making their loads available for curtailment) as well as energy payments (for actually delivering the load reduction on demand).

For additional definitions and a list of acronyms, refer to Section 2 of the ERCOT Protocols.

# DETAILS OF PAYMENT EXAMPLES

# 1.  Responsive Reserves – (RRS)

Highest ERCOT RRS price periods:

| Date | Price Range ($/MW) | Duration |
| --- | --- | --- |
| April 28, 2002 | $833 | 1 hour |
| April 29, 2002 | $75 | 8 hours |
| April 30, 2002 | $60-$75 | 10 hours |

Example:

If a 20 MW industrial load customer provided Responsive Reserves during the last three days of April their QSE would have received a capacity payment of $54,396.

∑72 hours (20 MW x MCPC) = $54,396

# 2.  Non-Spinning Reserves – (NSRS)

Highest ERCOT NSRS price periods:

| Date | Price Range ($/MW) | Duration |
| --- | --- | --- |
| April 28, 2002 | $25-$35 | 11 hours |
| April 29, 2002 | $999 $99-$199 | 1 hour 6 hours |
| April 30, 2002 | $990-$999 | 12 hours |

Example:

If a 20 MW industrial load customer provided Non-Spinning Reserves during the last three days of April their QSE would have received a capacity payment of $286,662.

∑72 hours (20 MW x MCPC) = $286,662

3.  Balancing-Up Loads (BUL’s)

Highest ERCOT Balancing Energy price periods:

| Date | Price Range ($/MWh) | Duration (15 min. intervals) |
| --- | --- | --- |
| April 28, 2002 | $44-$53 | 17 intervals |
| April 29, 2002 | $42-$54 | 13 intervals |
| April 30, 2002 | $30-$33 | 10 intervals |

Example:

If a 20 MW industrial load customer participating in the ERCOT BUL program curtailed their load for 2 hours (3:00-5:00 p.m.) on April 29, 2002 their QSE would have received $13,457.

## Energy Payment

Time		Balancing Energy Market Clearing Price (MCPE) - ($/MWh)

3:00 PM	$52.73

3:15 PM	$48.85

3:30 PM	$46.55

3:45 PM	$48.85

4:00 PM	$51.11

4:15 PM	$45.78

4:30 PM	$53.54
4:45 PM	$49.01

∑8 intervals (20 MW x MCPE) = $8,977

### Capacity Payment

Time		NSRS Market Clearing Price ($/MW)

3:00 PM	$99

4:00 PM	$125

∑2 hours (20 MW x MCPC) = $4,480

* If a BUL is selected it will also receive the prevailing market clearing price for Non-Spinning Reserves.

Total Payment 	= Energy Payment + Capacity Payment

= $8,977 + $4,480

= $13,457