- The following OGRRs have been recommended for approval by the ROS:

- OGRR 114 – Changes due to PRR 218, Responsibility Assignment for RPC & AVR:  Updates the Operating Guides Section 3.1.4.2 to reflect PRR 218 and updates the Operating Guides Section 3.1.4.3 to reflect appropriate responsible party.  Keeps the Operating Guides Current with the Protocols.

- OGRR 116 – Day Ahead Schedule Changes due to PRRs 268 and 319, and PIP 144:  Updates the Operating Guides to mirror revisions made to the Protocols.  Revises the Operating Guides as follows:

  - Section 2.6.1 reflects that the Load Ratio Share used to determine AS Obligation will be for the same hour and day of the week and from the initial settlement data that is available.  (PRR 319, approved by the Board on March 19, 2002; effective March 20, 2002).  Also, to reflect the implementation of PIP 144, assignment of AS Obligations by LSE, aggregated to the QSE level.

  - Sections 2.5.1, 3.1.3.2, and 3.2.2.1 reflect changes made to the Day Ahead Scheduling Time Line.  (PRR 268, approved by the Board on October 16, 2001; effective November 1, 2001).  In addition, revise Section 2.5.1 to reflect the implementation of PIP 144, Assignment of AS Obligations by LSE, aggregated to the QSE level.

    - OGRR 117 – Communicating with ERCOT:  Revises Appendix C to include Protocol references with language from the Protocols, replace references to “Communicating with ERCOT” with language from the document, and include the requirement for a backup source for Weather Zone tie-line data.  Various language changes are proposed throughout the document in an attempt to clarify the ERCOT real-time data requirements for TDSPs and QSEs.

The proposed revision of Appendix C will reduce the dependency of the Operating Guides to a document (“Communicating with ERCOT”) written by the ERCOT Staff.  The revision will serve to clarify ERCOT real-time data requirements from the TDSPs and QSEs to ERCOT.

** OGRRs can be viewed and/or downloaded at: http://www.ercot.com/AboutERCOT/PublicDisclosure/OpGuideRev.htm