# OWG report to ROS November 12, 2002

OWG met last on October 23rd and reviewed OGRRs 118 – Black Start and 121- Fault Recorder.  James Hinson reported on the activities of the Seminar Development Group.  Given the success of the 2002 seminar, the Twentieth Annual ERCOT Operations Training Seminar will be very similar to last years.  However, for the first time, payment will be required in advance. Seminar cost per attendee (excluding presenters) will be $150 for registration before March 1, 2003 and $200 after March 1, 2002.  Six sessions are scheduled starting the week of March 25th.  As usual the Rehearsal Session, March 4 – 6, will be critiqued by the OWG. The next OWG meeting is scheduled for December 12, 2002.

A.	The Black Start Task Force has not met since the last ROS meeting.

The BSTF has scheduled a two-day meeting on November 12th and 13th to review individual TO 2003 Black Start Plans. The 2003 Black Start Plan is on schedule for end of year completion.

B.	The OGRTF met on October 24th.

TAC approved the following OGRRs at the November 6th meeting:

- 114 Changes due to 218PRR Responsibility Assignment RPC and AVR as amended by the OGRTF

- 116 Day Ahead Scheduling – incorporates change due to 319PRR and PIP 144.

- 117 Communicating with ERCOT – Appendix C – as amended by ERCOT, NDSWG, and OGRTF.

These OGRRs will be effective December 1, 2002.

At the October 29th meeting, the PRS determined that “back up plan” requirement language should be added to the Protocols to reference and support OGRRs 119 - Back up QSE Plan and 120 - Back up TO Plan. PRR372 has been posted. Comments are due by November 20th and it will be on the agenda at the next PRS meeting scheduled for November 26th. Once approved by TAC these revisions will have the same effective date annually.

The OGRTF recommends ROS approval for the following OGRRs:

- 111 EECP Steps 1–4, update to reflect current procedures – no comments received – posted on October 9th.

- 118 Black Start – as amended by the OGRTF – posted on October 10th.

- 121 Fault Recording Equipment and Maintenance – posted on October 14th.

The OGRTF will meet on December 12, 2003.

## C.	The Communication Task Force will meet on November 20th. The OWG has assigned this TF to draft a recommendation for short and long-term solutions to fix the ERCOT Operator Certification testing.