ROS Recommendations – Responsive Reserve Study

“Utilizing High-Set Load Shedding Schemes to Provide Responsive Reserve Services (Responsive Reserve Study) Report”

- Qualifying high-set interruptible load may be immediately allowed to participate in the ERCOT Responsive Reserve Ancillary Service Market, up to an aggregated participation of 35% of the total ERCOT Responsive Reserve Requirement.

- Conditions that must be met by high-set interruptible load to qualify for inclusion in the ERCOT Responsive Reserve Ancillary Service Market should include the following:

- The frequency at which a load will be interrupted must be 59.7, 59.8, or 59.9 Hz.,

- The load cannot be part of the ERCOT Firm Load Shedding Program, and

- The amount of load that would be interrupted, and the frequency at which it would be interrupted, must be made known to the ERCOT operator.

- Because the results of the study cannot be realized unless a total ERCOT generating unit governor response rate equivalent to a 5% governor droop characteristic (deliverable within 1.6 seconds of a disturbance) or acceptable alternate performance is achieved, a mechanism to ensure that such a response rate will be achieved must be in existence prior to raising the high-set interruptible load participation percentage above 35%.  Once such a mechanism is in place, the high-set interruptible load participation percentage may be increased to 45 – 50%.

- To create the mechanism described in Recommendation 3, the PDCWG or a newly created ad hoc TAC task force should evaluate alternative mechanisms and recommend one for ERCOT adoption through the PRR or OGRR process.  Alternatives considered should include, but not necessarily be limited to, the following:

- Uncompensated requirements on all generating units in ERCOT, or on generating unit portfolios, mandating arrangements for minimum turbine governor response following system disturbances;

- Establishment of a new bid-based ancillary service and associated market specifically addressing generating unit governor response (deployment automatically initiated upon frequency deviation).

- Upon implementation of Recommendation 1, above, ERCOT Operations should monitor ERCOT System performance and adjust the total ERCOT Responsive Reserve Requirement as necessary to maintain acceptable reliability.  Such monitoring should continue following any increase in the high-set interruptible load participation percentage pursuant to Recommendation 3.

- No later than one year after implementation of Recommendation 1, ERCOT should prepare a summary report to the ROS and TAC on the experience with the high-set interruptible load participation.

- The high-set interruptible load participation percentage should not be increased beyond 50% without restrictions on the amount of high-set interruptible load at any single interruption frequency, nor should it be increased beyond 75% without additional study by the ROS.

- Any program designed for the participation of high-set interruptible load in the ERCOT Responsive Reserve Ancillary Services Market should be as simple as practical and should prohibit any geographical distribution of high-set interruptible load whose deployment is known to result in transmission facility overloads or other reliability problems.