- The following OGRRs have been recommended for approval by the ROS:

- OGRR 111 – EECP Steps 1-4:  Updates the Operating Guides Section 4.5.3.2 for EECP Steps 1 through 4.  Keeps the Operating Guides Current with the Protocols.

- OGRR 118 – Black Start.  This revision updates language and adds consistency to the Black Start Section of Part 4, Emergency Operation. Additions include: Transmission Operator Black Start Plan requirements and the Detailed Black Start Information found in Attachment A. References to the Pilot Program were removed, and a distinction was made between the Black Start responsibilities of Transmission Operators and TDSPs.

    - OGRR 119 – QSE Backup Plan.  Adds a backup plan requirement for QSEs to Section 3.1.3.1.

    - OGRR120 – TO Backup Plan.  Adds a backup plan requirement for Transmission Operators to Section 1.7.3.

    - OGRR121 – Fault Recording Equipment and Maintenance.  This OGRR modifies the language that allows manual and automatic triggers to count as a functional test as well as recorder event waveform analysis and verifications to count as calibration checks.  This language was approved at the July 2001 SPWG meeting and proposed to ROS in August 2001.  Revision to Appendix B, B.2.2.5

** OGRRs can be viewed and/or downloaded at: http://www.ercot.com/AboutERCOT/PublicDisclosure/OpGuideRev.htm