PRS Items for TAC

December 5, 2002 Meeting

PRS recommended approval of the following:

- 342PRR – AS Simultaneous Selection, originally approved in June 2002.

  - Impact Analysis:  Impacts the ERCOT IT system.

  - Benefit:  Compliance with PUCT Order in Docket No. 23220.

  - Recommended effective date:  Pending project start date.

- 357PRR – Market Solution Definition Revision, approved as revised by the ERCOT comments.

  - Impact Analysis:  Market Participant affiliate relationships will need to continue to be manually verified and refreshed as needed.

  - Benefit:  Clarifies the Market Solution definition.

  - Recommended Priority & Rank:

  - Recommended effective date:  January 1, 2003.

    - 359PRR – Improve Resource Plan, approved as submitted.

  - Impact Analysis:  Impacts the ERCOT IT system.

  - Benefit:  Current Resource plans providing full information on individual Resources are necessary to support reliable system operations.

  - Recommended Priority & Rank:  2.2

  - Recommended effective date:  Pending project start date.

- 372PRR – Backup Plan Requirement, approved as submitted.

  - Impact Analysis:  There is no impact to the ERCOT IT systems.

  - Benefit:  Establishes the requirement for the submittal of a backup plan from QSEs and Transmission Operators (TOs).

  - Recommended Priority & Rank:  N/A

  - Recommended effective date:  January 1, 2003.

- 373PRR – Define OOM as Instructed Deviation, approved as modified by WMS.

  - Impact Analysis:  There is an impact on the ERCOT IT systems, operating practices, and business processes.

  - Benefit:  This Protocol revision provides a more consistent unit specific and portfolio deployment mechanism when manual OOME instructions are issued.

  - Recommended Priority & Rank:  2.1

  - Recommended effective date:  Contingent on project start date.

# Rejected PRRs:

- 364PRR - RPRS Payment and Charge Calculations

- 365PRR - Replace Resource Specific Premium Bid with Price Bid

# Withdrawn PRRs:

- 353PRR – Change Control Classification Update

# Status of pending PRRs:

- 281PRR – Aggregate Site Instructions (previously, Change ERCOT Deployment Instructions to Settlement Meter Specific).  A revised version was submitted on 5/24/02; this PRR is on a normal timeline, PRS referred to the QSE Project Managers Working Group for comment and has deferred consideration.

- 293PRR – Uncontrollable Renewable Resources, pending on-going review by WMS working groups.  The PRR language is being revised.

- 320PRR – Loads Participation in AS Market; pending on-going review by ROS, ERCOT and PUCT-MOD.

- 340PRR – Define OOME as an Instructed Deviation; pending re-drafting of the proposed language to keep the market solution language, integrate generic costs and remove references to aggregate site deployments and OOME being an instructed deviation.

- 356PRR – SCE Performance Requirement, on hold pending review by PRS task force.

- 358PRR – Negative Impact SCE, on hold pending review by PRS task force.

- 361PRR – Section 15 Update, approved as revised by the ERCOT comments, pending on going comment period on the PRS recommendation, comments due December 18, 2002.  Will be forwarded to TAC in January 2002 for consideration.

- 362PRR - Load Profiling ID Type Correction, deferred, pending a timeline from the Load Profiling Group.

- 367PRR – IDR Installation & Use, approved as submitted, pending on going comment period on the PRS recommendation, comments due December 18, 2002.  Will be forwarded to TAC in January 2002 for consideration.

- 368PRR – Section 18 References, approved as submitted, pending on going comment period on the PRS recommendation, comments due December 18, 2002.  Will be forwarded to TAC in January 2002 for consideration.

- 371PRR – Minimum Energy OOME When OOMC Issued, deferred to the December 19, 2002 meeting pending review by the QSE Working Group.