#### ERCOT PRS Recommendation Report

| PRR Number |  | ### PRR Title |  | Recommended Action & Effective Date |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 211PRR |  | Balancing Energy Bid Curves for RPRS |  | Approve / June 1, 2001 |  |  |
| # Sponsor Information |  |  |  |  |  |  |
| Name | Company |  | ### Company Address |  |  | Phone Number |
| Cheryl Moseley | ERCOT |  | 2705 W. Lake Dr., Taylor, Texas 76574 |  |  | 512-248-3880 |
| Fax Number |  | E-Mail Address |  |  |  |  |
| 512/248-3886 |  | cmoseley@ercot.com |  |  |  |  |
| # Recommended Language |  |  |  |  |  |  |
| Review Protocol Revision Request 211PRR |  |  |  |  |  |  |
| ## PRR Background |  |  |  |  |  |  |
| The reason for the protocol revision is that systems will not support Balancing Energy bids submitted with Replacement Reserve Service (RPRS). |  |  |  |  |  |  |
| ## Protocol Revision Subcommittee Recommendation |  |  |  |  |  |  |
| PRS recommends approval of PRR211 with the proposed changes in the submitted comments. PRS notes that the box referenced in PRR211 as “PIP211” was not filed as part of the protocols and will be deleted. The recommended effective is June 1, 2001. |  |  |  |  |  |  |

| # PRR Evaluation |  |
| --- | --- |
| ## Comments Author | ## Comments Summary |
| ERCOT | Under “Protocols Sections and Subsections Requiring Modifications” add: 4.1.1 (@1430 and by 1630) Under “Revised Protocols Language” add: 4.1.1 to remove “and associated Balancing Energy bids” from the @1430 block. 4.1.1 to remove “and save RPRS energy bids for applicable balancing market” from the by 1630 block. |
| ## Non ERCOT Market Comparison |  |
| ## No comparison conducted. |  |