# ERCOT Protocols Revision Request

| PRR Number | PRR Title | Status |
| --- | --- | --- |
| 214PRR | ERCOT Polled Settlement Meter Communication | Final Approval 7/17/01 |

| # Sponsor Information |  |  |  |  |
| --- | --- | --- | --- | --- |
| Name | Company | Company Address |  | Business Phone Number |
| Terry Bates | TXU | 301 S. Harwood Dallas, Texas 75201 |  | 214-875-2972 |
| Business Fax Number | E-Mail Address |  | Requested Resolution Criticality |  |
| 214-875-2002 | terry.bates@txu.com |  | Urgent |  |
| # Revision Description |  |  |  |  |
| Allow a TDSP to provide other ERCOT approved communication technology for ERCOT to use in acquiring data from EPS Meters. Current wording in the Protocols restricts communication links to a standard voice telephone circuit. This limits much of the newer communication technology such as wide area network (WAN). The wording that was agreed by the Meter Working Group is shown in the Revised Protocols Language. This change will not be an impact to the ERCOT MDAS since the system is currently equipped to communicate using other technologies such as WAN. |  |  |  |  |
| # Reason for Suggested Revision |  |  |  |  |
| To allow a TDSP to provide alternate communication methods for ERCOT to acquire data from EPS Meters. |  |  |  |  |

| # Protocols Sections and Subsections Requiring Modifications |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 10.12.1 (2) |  |  |  |  |  |  |

Revised Protocols Language

## Communications ### Communication Links ERCOT will acquire data via the following communication links: - ERCOT will acquire data from ERCOT real-time metered Entities via ERCOT private communication network established by ERCOT. - ERCOT will acquire data from EPS Meters via a standard voice telephone circuit or other ERCOT approved communication technology provided by the TDSP. - TDSPs will submit meter consumption data to ERCOT through a standard data interface into the MDAS. In order to submit meter consumption data, TDSPs must use an automated system with an ERCOT approved and tested interface to MDAS.

| # For PRS Committee Use |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Revision Requested Date |  | Request Received Date |  | Revision Posted Date |  |  | ### ERCOT SME |  | PRS Review Date |
| 3/26/2001 |  | 3/26/2001 |  | 3/28/2001 |  |  |  |  | 4/12/01 |
| ## PRS Recommendation Report |  |  |  |  |  |  |  |  |  |
| ## Approved as submitted. |  |  |  |  |  |  |  |  |  |
| ERCOT Impact Analysis Date |  |  | Financial Impact |  |  | ## ERCOT Impact Analysis |  |  |  |
| TAC Actions |  |  |  |  |  |  |  |  |  |
| TAC Vote Date | TAC Proposed Implementation Date |  |  |  | TAC Vote Results |  |  |  |  |
| 5/03/01 | 8/01/01 |  |  |  | Approved |  |  |  |  |
| ERCOT Board Actions |  |  |  |  |  |  |  |  |  |
| ERCOT Board Vote Date | ERCOT Board Implementation Date |  |  |  | ERCOT Board Results |  |  |  |  |
| 7/17/01 | 8/01/01 |  |  |  | Approved |  |  |  |  |
| # Appeals |  |  |  |  |  |  |  |  |  |
| Appeal Number |  |  | Entity Initiating Appeal |  |  |  |  | # Nature of Appeal |  |