| PRR Number | 217PRR | PRR Title | Distribution Loss Factors – “K” Value |
| --- | --- | --- | --- |
| ###### Recommended Action |  | Approve |  |
| Recommended Effective Date |  | June 1, 2001 |  |
| PRR Background |  | ## The Protocol change is necessary because every Distribution Service Provider has submitted “K” factors that are greater than 0.10, which is currently in place in the Protocol, factor may also be a typographical error in the Protocol development process. The actual submission range from DSPs has been 0.1800-1.1501. There has been a lot of discussion and concern regarding the methodology and formula currently in place. |  |
| Protocol Revision Subcommittee Recommendation |  | PRS recommends approval of the proposed language revision in PRR217 as submitted. |  |
| ###### Recommended Language |  | Refer to 217PRR. |  |

| PRR Evaluation |  |
| --- | --- |
| Non-ERCOT Market Comparison | No Comparison conducted. |
| Comments Author | Comments Summary |
|  | None submitted. |