| PRR Number | 221PRR | PRR Title | Provision of Responsive Reserves by Hydroelectric Resources |
| --- | --- | --- | --- |
| ###### Recommended Action |  | Approve |  |
| Recommended Effective Date |  | June 1, 2001 |  |
| PRR Background |  | ## This revision is required by the Order issued by the PUCT on April 11, 2001. The language revision removes the limits on the provision of Responsive Reserve Service by hydroelectric resources. |  |
| Protocol Revision Subcommittee Recommendation |  | PRS recommends approval of the proposed language as revised in this recommendation for PRR221. |  |

Recommended Language

6.1.4	Responsive Reserve Service

As provided by ERCOT to the QSEs: Operating reserves ERCOT maintains to restore the frequency of the ERCOT System within the first few minutes of an event that causes a significant deviation from the standard frequency.  Furthermore, Responsive Reserve Service provides reserved Resources that are deployed for the Operating Hour in compliance with these Protocols in response to loss-of-Resource contingencies on the ERCOT System.

As provided by a QSE to ERCOT: The provision of capacity by unloaded Generation Resources that are on line, Resources controlled by high set under-frequency relays or from Direct Current (DC) tie response.    The amount of capacity from unloaded Generation Resources or DC tie response is limited to  the amount  allowed in the Operating Guides or that which can be deployed within 15 seconds.

| PRR Evaluation |  |
| --- | --- |
| Non-ERCOT Market Comparison | No Comparison conducted. |
| Comments Author | Comments Summary |
|  | None submitted. |