Protocol Revision Request

| PRR Number | PRR Title |  |  |  |  | Status |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 221PRR | Provision of Responsive Reserves by Hydroelectric Resources |  |  |  |  | Final Approval 5/15/01. |  |
| # Sponsor Information |  |  |  |  |  |  |  |
| Name |  | Company |  | Company Address |  |  | Business Phone Number |
| Brady Belk |  | LCRA |  | PO Box 220, Austin, TX 78767 |  |  | 512-473-3577 |
| Business Fax Number |  |  | E-Mail Address |  | Requested Resolution Criticality |  |  |
| 512-473-4026 |  |  | bbelk@lcra.org |  | ## Urgent |  |  |
| # Revision Description |  |  |  |  |  |  |  |
| Language change to remove limits on provision of Responsive Reserve Service by hydroelectric resources. |  |  |  |  |  |  |  |
| # Reason for Suggested Revision |  |  |  |  |  |  |  |
| The revision is required to be effective on June 1, 2001 by the PUCT Order in Docket No. 23220. |  |  |  |  |  |  |  |

| # Protocols Sections and Subsections Requiring Modifications |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 6.1.4 |  |  |  |  |  |  |

Revised Protocol Language

6.1.4 Responsive Reserve Service As provided by ERCOT to the QSEs: Operating reserves ERCOT maintains to restore the frequency of the ERCOT System within the first few minutes of an event that causes a significant deviation from the standard frequency. Furthermore, Responsive Reserve Service provides reserved Resources that are deployed for the Operating Hour in compliance with these Protocols in response to loss-of-Resource contingencies on the ERCOT System. As provided by a QSE to ERCOT: The provision of capacity by unloaded Generation Resources that are on line, Resources controlled by high set under-frequency relays or from Direct Current (DC) tie response. The amount of capacity from unloaded Generation Resources or DC tie response is limited to that which is allowed in the operating guides or that that can be deployed within 15 seconds.

| # For PRS Committee Use |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Revision Date | Request Received Date |  |  | Revision Posted Date |  |  | ERCOT SME | PRS Review Date |
| 4/12/01 | 4/12/2001 |  |  | 4/16/2001 |  |  |  | 4/26/01 |
| ## PRS Recommendation Report |  |  |  |  |  |  |  |  |
| ## Approved as modified by PRS. |  |  |  |  |  |  |  |  |
| ERCOT Impact Analysis Date |  | Financial Impact |  |  | ## ERCOT Impact Analysis |  |  |  |
| TAC Actions |  |  |  |  |  |  |  |  |
| TAC Vote Date | TAC Proposed Implementation Date |  |  |  | TAC Vote Results |  |  |  |
| 5/03/01 | 6/01/01 |  |  |  | Approved |  |  |  |
| ERCOT Board Actions |  |  |  |  |  |  |  |  |
| ERCOT Board Vote Date | ERCOT Board Implementation Date |  |  |  | ERCOT Board Results |  |  |  |
| 5/15/01 | 6/01/01 |  |  |  | Approved |  |  |  |
| # Appeals |  |  |  |  |  |  |  |  |
| Appeal Number |  |  | Entity Initiating Appeal |  |  | # Nature of Appeal |  |  |