| PRR Number | 233PRR | PRR Title | Offer Cap on Balancing Energy |
| --- | --- | --- | --- |
| ###### Date |  | 20 April 2001 |  |
| ## Submitter’s Information |  |  |  |
| Name |  | Cheryl Moseley |  |
| E-mail Address |  | cmoseley@ercot.com |  |
| Company |  | ERCOT |  |
| Company Address |  | 2705 W. Lake Drive, Taylor, TX 76574 |  |
| Phone Number |  | 512/248-3880 |  |
| Fax Number |  | 512/248-3886 |  |

Instructions:

Comments are to be submitted electronically and are due by close of business of the comment due date.  Please follow this file naming convention:

###PRR <Company Name> Comments<date>.doc.

Comments

### 6.5.2	Balancing Energy Service

The Balancing Energy Service bids shall consist of Balancing Energy Service Up and Balancing Energy Service Down bids. All Balancing Energy Service provider bids must be entered by the close of the Adjustment Period for the effective Operating Hour and shall become an obligation at the close of the Adjustment Period. However, Balancing Energy Service provider bids may be withdrawn at any time prior to the close of the Adjustment Period.

Beginning on June 1, 2001, and continuing thereafter until July 4, 2003, Balancing Energy Service bids shall be capped at $1,000 per MWh.  This limitation will not apply to Loads acting as Resources and BULs.

(1)	Balancing Energy Service bids must specify Congestion Zone, a ramp rate, and service time period.  Balancing energy service up bids consist of monotonically increasing ordered pairs ($/MWh, MW). Balancing energy service down bids consist of monotonically decreasing ordered pairs ($/MWh, MW).

- Balancing Energy is bid in 15-minute intervals, what is the limit on a 15-minute basis?  $250?

- Since energy is bid in portfolios which may include Generation and Load Resources, can ERCOT assume that a portfolio bid above $1,000 (or $250 per 15 minutes) originates from a load in the portfolio?

- If not, how would ERCOT know whether the above limitation is being honored?