| PRR Number | 240PRR | PRR Title | Delete Section 9.8.2 |
| --- | --- | --- | --- |
| ###### Recommended Action |  | Approve as submitted. |  |
| Recommended Effective Date |  | August 1, 2001 |  |
| PRR Background |  | ## The determinants that would have been defined in Section 9.8.2 do not have a supporting requirement in the PUCT Transmission Rule and are, therefore, unnecessary. Transmission Rule §25.192(d) states that the 4CP shall be calculated “in accordance with . . . ERCOT Protocols” and does not mention providing monthly billing determinants. ERCOT requests that the reporting requirements of Section 9.8.2 be removed entirely since there is no defined mechanism for any entity to utilize the data that would be produced. |  |
| Protocol Revision Subcommittee Recommendation |  | PRS recommends approval of PRR240 as submitted. |  |

Recommended Language

## 9.8 Transmission Billing Determinant Calculation

ERCOT will provide the market with the determinants defined below to facilitate billing of Transmission access service.  ERCOT will not be responsible for billing, collection or dispersal of payments associated to Transmission access service.

ERCOT shall calculate and provide to Market Participants via MIS the following data elements annually to be used by TDSP’s as billing determinants for Transmission access service. This data shall be provided by December 01 of each year.  This calculation shall be made in accordance with the requirements of the PUCT.  The data used to perform these calculations shall come from the same system(s) used to calculate settlement-billing determinants used by ERCOT:

- The 4-coincident Peaks (4-CP) for each TDSP, as applicable

- The ERCOT average 4-CP

- The average 4-CP for  each TDSP, as applicable, coincident to the ERCOT average 4-CP.

- Average 4 CP is defined as “the average Settlement Interval coincidental MW peak occurring during the months of June, July, August, and September.”

- Settlement Interval MW coincidental peak is defined as “the highest monthly 15 minute MW peak for the entire ERCOT Transmission Grid as captured by the ERCOT settlement system.”

| PRR Evaluation |  |
| --- | --- |
| Non-ERCOT Market Comparison | No Comparison conducted. |
| Comments Author | Comments Summary |
|  | None submitted. |