| PRR Number | 244PRR | PRR Title | Provisional Qualification for AS Providers |
| --- | --- | --- | --- |
| ###### Recommended Action |  | Approve as modified. |  |
| Recommended Effective Date |  | June 1, 2001 |  |
| PRR Background |  | ## Allows ERCOT to grant a ninety (90) day Provisional Qualification period during which additional testing may be rescheduled for QSEs that have encountered technical issues during Ancillary Services testing. |  |
| Protocol Revision Subcommittee Recommendation |  | PRS recommends approval of PRR244 and submitted to the TAC chair for an immediate TAC email vote. |  |

Recommended Language

### 6.10.3	Ancillary Services Qualification Criteria and Portfolio Test Methods

Only QSEs that have been qualified and tested may be used to provide Ancillary Services. ERCOT shall develop and operate its qualification and testing program to meet the following requirements for each Ancillary Service.

A QSE shall be qualified and tested to provide Service prior to initial operation and every five years thereafter. ERCOT is authorized to call up to two unannounced, unscheduled qualification tests after presenting to the QSE supporting information of an indication that a Resource may not be able to meet its stated Net Dependable Capability during any calendar year.

ERCOT may grant a “Provisional Qualification,” for a period not to exceed ninety (90) days, to a QSE that has performed an Ancillary Service qualification test (or tests) in good faith but failed to qualify due to problems that, in the sole discretion of ERCOT, are determined to be non-critical for the purpose of providing one or more Ancillary Services.    Notwithstanding the failure of a QSE with Provisional Qualification to meet the applicable Ancillary Service criteria, such QSE may provide such Ancillary Service to the extent permitted by the terms of the Provisional Qualification.

| PRR Evaluation |  |
| --- | --- |
| Non-ERCOT Market Comparison | No Comparison conducted. |
| Comments Author | Comments Summary |
|  | None received. |