| PRR Number | 247PRR | PRR Title | Ratcheting of OOME Payments |
| --- | --- | --- | --- |
| ###### Status |  | Remanded. |  |
| Protocol Section Requiring Revision |  | 6.8.2.2 |  |
| Requested Resolution |  | ## Normal |  |
| Revision Description |  | Apply a ratcheting down mechanism for OOME Up energy payment and a ratcheting up mechanism for OOME Down energy payment. |  |
| ###### Reason for Revision |  | First and foremost, the following PRR proposes to ratchet up (from zero) the cost that generators must pay for the power they DO NOT generate when ERCOT orders them (OOME down) to back down generation during a constraint situation. The existing proposal from the WMS keeps this power free. In other words, the loads are still paying the pre-arranged price for power to these GenCos even when they do not generate and ERCOT is providing the energy at uplifted cost. The following PRR proposes to adjust the payback rate for this non generated power based on the efficiency of the unit being OOMEed. Second, the attached PRR proposes a technology dependent ratchet down price when ERCOT orders the generator to increase generation (OOME up) which is also based on the efficiency of the unit. This would put some limit on the windfall profits a nuclear and other more efficient units could get in a constraint situation. Lastly, LCRA proposes that the ratchet be reset every 365 days as opposed to the existing 90 days. |  |
| ## Timeline |  |  |  |
| Date Received |  | 5/24/2001 |  |
| Date Posted |  | 5/25/2001 |  |
| Comments Due |  | 6/14/2001 |  |
| PRS Review Date |  | 8/27/2001 |  |
| PRS Recommendation |  | Approved pending an effective date. |  |
| TAC Consideration |  | 10/04/2001 |  |
| Board Consideration |  |  |  |

Proposed Protocol Language Revision

#### 6.8.2.2  Energy Payments

- Whenever a Resource is called for OOME Up, the QSE will receive, in addition to the Resource Imbalance as specified in 6.8.1.13, an OOME energy payment of the instructed amount of OOME Up provided by the Resource multiplied by the higher of 0 or the difference between (a) and (b), defined below:

  - The lower of the:

    - Actual Balancing Energy Service Up bid price submitted by the specific Resource or Incremental Premium Specified for the specific Resource if part of a portfolio or the Ratcheting OOME Up Price (ROUP) if neither bid were submitted by the specific Resource, or

    - The  Ratcheting OOME Up Price (ROUP)

  - The MCPE for the Congestion Zone.

The Ratcheting OOME Up Price (ROUP) will begin at 18 MMBTU/MWh times the Fuel Index Price (“FIP”) and remain at 18 MMBTU/MWh times FIP if the Resource has been used to provide OOME Up Service in fewer than five (5) days in the previous three hundred sixty five (365) days.  If the Resource has been used to provide OOME Up Service in five (5) or more days in the previous three hundred sixty five (365) days, the ROUP will be set to and remain at $15/MWh for Nuclear units, $18/MWh for Coal and Lignite units, 9 MMBTU/MWh times the Fuel Index Price (“FIP”) for Combined Cycle units, 11.5 MMBTU/MWh times FIP for Gas-Steam units, 14.5 MMBTU/MWh times FIP for Simple Cycle gas units, and 16 MMBTU/MWh for Diesel units, or for gas or diesel fired Resources, at the option of the QSE, 1.1 times the documented average heatrate of the Resource times FIP.

The Fuel Index Price (FIP) shall be the Midpoint price, expressed in $/MMBTU, published in Gas Daily, in the Daily Price Survey, under the heading: “East-Houston-Katy, Houston Ship Channel” for the day of OOME deployment.  The FIP for Saturdays, Sundays, holidays and other days for which there is no FIP published in Gas Daily, shall be the next published FIP after the day of OOME deployment.

- The calculation for OOME Up is as follows:

PEOOMUPiq 	= SUM(PEOOMUPiuq)uq

Where:

PEOOMUPiuq = -1 * EOOMUPiuq * [Max[0, Min(ROUP, IBPiuq) - MCPEiz]]

[PIP 125:  Energy Payments for OOM UP does not incorporate Bid Price.]

PEOOMUPiuq = 	-1 *  EOOMUPiuq  * Max(0,(ROUP-MCPEiz))

EOOMUPiuq = 	Max(0,Min((MRiuq – OLiuq),IOOMUPiuq))

IOOMUPiuq = 	Max(0,(ALiuq – OLiuq))

The equation below will be used to determine the Total OOM Energy Payments to be allocated to each QSE in Section 6.9.6.2 OOM Energy Charge.

PEOOMUPi 	= SUM(PEOOMUPiu)

where:

i	interval

u	unit

z	zone

q	QSE

IBPipq	Actual Balancing Energy Service Up bid price submitted by the specific Resource or Incremental Premium Specified for the specific Resource (IPMiuq as described in 7.4.3.1) if part of a portfolio or the ROUP if neither bid were submitted by the specific Resource

MCPEiz	Market Clearing Price of Energy for that interval of the zone in which unit resides

ROUP	 Ratcheting OOME Up price ($/MWh)

PEOOMUPiuq	Out of Merit Energy Up Payment ($) for that interval per unit per QSE

PEOOMUPiq	Out of Merit Energy Up Payment ($) for that interval per QSE

PEOOMUPi	Summation of Out of Merit Energy Up Payment ($) per interval for all QSEs in the market

EOOMUPiuq	OOM Up quantity deployed for that unit per interval per QSE

IOOMUPiu	OOM Energy Up Instructions for that interval for that  unit converted to MWh for that interval by dividing by the interval count per hour (4 per hour for 15 minute Settlement Interval)

MRiuq	Meter Reading for that unit for that interval per QSE

ALiuq	The minimum of the allowed range specified in the Dispatch Instruction for the specific Resource for that interval, i.e. the specified output level above which the specified Resource must operate for that interval

OLiuq	Resource plan output level submitted by the QSE for the specific Resource given the OOM instruction for that interval.

- If a Resource is called to provide OOME Up service and the payment for OOME service is insufficient to cover all costs of providing the Service, then that Resource will be paid, in addition to the energy payment, all verifiable, costs in excess of the OOME payment that are directly attributable to the OOME Service.  These costs may include the cost of exceeding swing gas contract limits, additional gas demand costs set by the fuel supply or transportation contracts, and any additional costs to purchase emissions credits or other costs incurred due to environmental regulations.  Verification of these costs must be submitted to ERCOT to allow resolution by the end of the dispute process for Settlement True Up as defined in Section 9.2.4, True-Up Statements.

- Whenever a Resource is called on for OOME Down, the QSE will be paid an energy payment, in addition to the Resource Imbalance as specified in 6.8.1.13, equal to the total amount of energy to be reduced by the Resource, multiplied by the higher of 0 or the difference between (a) and (b), defined below:

  - The MCPE for the Congestion Zone.

  - The higher of the:

    - Actual Balancing Energy Service Down bid price submitted by the specific Resource or Decremental Premium Specified for the specific Resource if part of a portfolio or the Ratcheting OOME Down Price (RODP) if neither bid were submitted by the specific Resource, or

    - The Ratcheting OOME Down Price (RODP).

The Ratcheting OOME Down Price (RODP) will begin at 0 and remain at 0 if the Resource has been used to provide OOME Down Service in fewer than five (5) days in the previous three hundred sixty five (365) days.  If the Resource has been used to provide OOME Down Service in five (5) or more days in the previous three hundred sixty five (365) days, the RODP will be set to and remain at 0 for Nuclear units, $3/MWh for Coal and Lignite units, 5 MMBTU/MWh times FIP for Combined Cycle units, 7.5 MMBTU/MWh times FIP for Gas-Steam units, 10.5 MMBTU/MWh times FIP for Simple Cycle gas units, and 12 MMBTU/MWh for Diesel units, or, for gas or diesel fired Resources, at the option of the QSE, 0.9 times the documented average heatrate of the Resource times FIP.

- The calculation for OOME Down is as follows:

PEOOMDNiuqz = 	 -1 * EOOMDNiuq  * Max(0,(MCPEiz – Max(RODP, DBPiuq)))

EOOMDNiuq = 	Max(0,(Min(OLiuq - MRiuq ),IOOMDNiuq))

IOOMDNiuq = 	Max(0,(OLiuq – DLiuq))

PEOOMDNiq 	= SUM(PEOOMDNiuqz)pz

PEOOMDNiz 	= SUM(PEOOMDNiuqz)uq

Where:

i	interval

u	unit

z	zone

q	QSE

RODP	Ratcheting OOME Down Price ($/MWh)

DBPiuq	Actual Balancing Energy Service Down bid price submitted by the specific Resource or Decremental Premium Specified for the specific Resource (DPMiuq as described in 7.4.3.2) if part of a portfolio or RODP if neither bid were submitted by the specific Resource

PEOOMDNiuqz	Out of Merit Energy Down Payment ($) for that interval per unit for the QSE

PEOOMDNiq	Total Out of Merit Energy Down Payment in the interval for the QSE

PEOOMDNiz	Out of Merit Energy Down Payment ($) per interval per zone

EOOMDNiuq 	OOM Energy quantity instructed down for that unit per interval

MCPEiz	Market Clearing Price for Energy per interval for that zone

IOOMDNiuq	OOM Energy Down Dispatch Instructions per interval per unit converted to MWh for that interval by dividing by the interval count per hour (four (4) per hour for fifteen (15) minute Settlement Interval)

MRiuq	Meter reading per unit per interval

DLiuq	The maxmum of the allowed range specified in the Dispatch Instruction for the specific Resource for that interval, i.e. the specified output level below which the specified Resource must operate for that interval

OLiuq	Resource plan output level submitted by the QSE for the specific Resource given the OOM instruction for that interval.

| ## Sponsor |  |
| --- | --- |
| Name | Brady J. Belk |
| E-mail Address | Bbelk@lcra.org |
| Company | Lower Colorado River Authority |
| Company Address | P.O.Box 220 Austin TX 78767 |
| Phone Number | (512) 473-3577 |
| Fax Number | (512) 473-4026 |
| ## ERCOT Impact Analysis |  |
| Date |  |
| Financial Impact |  |
| Analysis |  |
| ## TAC Action |  |
| TAC Vote Date |  |
| TAC Proposed Implementation Date |  |
| TAC Vote Results |  |
| ## ERCOT Board Action |  |
| ERCOT Board Vote Date |  |
| ERCOT Board Implementation Date |  |
| ERCOT Board Results |  |
| ## Appeal |  |
| Appeal Date |  |
| Entity Initiating Appeal |  |
| Nature of Appeal |  |