| PRR Number | 253PRR | PRR Title | EPS Meter Clock Time Maintenance |
| --- | --- | --- | --- |
| ###### Recommended Action |  | Approve. |  |
| Recommended Effective Date |  | October 1, 2001 |  |
| PRR Background |  | The language as it currently exists in Protocols requires all TDSP and EPS Meter clocks to be maintained on Central Prevailing Time. ## The proposed language allows TDSP and EPS Meters to stay on another time reference with the meter data adjusted to Central Prevailing Time. |  |
| Protocol Revision Subcommittee Recommendation |  | PRS recommends approval as submitted. |  |

Recommended Language

The Meter Working Group reviewed protocol sections 10.9.1 (7) and 10.9.2 (5) and reached consensus that a change is needed.  The recommended change is detailed below.

- 10.9.1 ERCOT Polled Settlement Meters

Language as it currently exists in Protocols that requires all EPS Meter clocks to be maintained on Central Prevailing Time.

(7) Meter clocks shall be maintained on the Central Prevailing Time, adjusted for standard or daylight Savings Time, and must be synchronized to within +/- 1% of the Settlement Interval when compared with the National Institute of Standards and Technology (NIST) Atomic Clock.  ERCOT will perform the time synchronization for meters at the time of the interrogation if the meter is outside tolerance; and

Proposed language that allows EPS Meters to stay on another time reference with the meter data adjusted to Central Prevailing Time.

(7) Meter clocks shall be maintained on a time reference standard that enables ERCOT MDAS to maintain the IDR data on the Central Prevailing Time.  The meter clock shall be synchronized to within +/- 1% of the Settlement Interval when compared with the National Institute of Standards and Technology (NIST) Atomic Clock.  ERCOT will perform the time synchronization for meters at the time of the interrogation if the meter is outside tolerance; and

### 10.9.2 TDSP Metered Entities

Language as it currently exists in Protocols that requires all TDSP IDR meter clocks to be maintained on Central Prevailing Time.

(5) Meter clocks used within ERCOT shall be maintained on the Central Prevailing Time (adjusted for standard or daylight savings time) standard and must be synchronized to within at least +/- 5% of the settlement interval when compared to the National Institute of Standards and Technology (NIST) Atomic Clock;

Proposed language that allows TDSP IDR meter clocks to stay on another time reference with the meter data adjusted to Central Prevailing Time.

(5) Meter clocks used within ERCOT shall be maintained on a time reference that enables the TDSP to submit data on the Central Prevailing Time.  The meter clock shall be synchronized to within at least +/- 5% of the settlement interval when compared to the National Institute of Standards and Technology (NIST) Atomic Clock;

| PRR Evaluation |  |
| --- | --- |
| Non-ERCOT Market Comparison | No Comparison conducted. |
| Comments Author | Comments Summary |
| Reliant | Added time requirement to be “Central Prevailing Time.” Comments were withdrawn on 7/31/01. |