| PRR Number | 255PRR | PRR Title | VEE Standard for TDSP Metered Entities |
| --- | --- | --- | --- |
| ###### Status |  | Approved by the Board on 10/16/2001. |  |
| Protocol Section Requiring Revision |  | 10.11.3 |  |
| Requested Resolution |  | ## Normal |  |
| Revision Description |  | The Metering Subcommittee is requesting a language modification to section 10.11.3. The language modification will incorporate a specific reference to the Uniform Business Practices standard for Validation, Estimation, and Editing. |  |
| ###### Reason for Revision |  | This language was the only reference in the Settlement Metering Guide for TDSP read meters. The Metering Subcommittee is of the opinion that the Settlement Metering Guide should remain specific to EPS metering and therefore this reference should be added to Protocols. |  |
| ## Timeline |  |  |  |
| Date Received |  | 7/03/2001 |  |
| Date Posted |  | 7/09/2001 |  |
| Comments Due |  | 7/30/2001 |  |
| PRS Review Date |  | 08/09/2001 |  |
| PRS Recommendation |  | Approve |  |
| TAC Consideration |  | 10/04/2001 – Approve |  |
| Board Consideration |  | 10/16/2001 – Approve |  |

Proposed Protocol Language Revision

### 10.11.3	TDSP Polled Settlement Meters

TDSP’s are responsible for providing ERCOT with Settlement Quality Meter Data for the TDSP polled meters on their system and for ensuring that at a minimum the VEE requirements as specified in the Uniform Business Practices (UBP) standard for Validation, Estimating, and Editing have been properly performed on such data. ERCOT will not perform any VEE on the Settlement Quality Meter Data it receives from TDSP’s.

The following UBP manual validation processes are exempt for Interval Data:

- Spike Check

- Reactive channel check for kWh data

| ## Sponsor |  |
| --- | --- |
| Name | Don Tucker |
| E-mail Address | dtucker@ercot.com |
| Company | ERCOT (Meter Working Group consensus item) |
| Company Address | 2705 W. Lake Drive, Taylor, TX 76574 |
| Phone Number | (512) 248-3913 |
| Fax Number | (512) 248-3082 |
| ## ERCOT Impact Analysis |  |
| Date |  |
| Financial Impact |  |
| Analysis |  |
| ## TAC Action |  |
| TAC Vote Date | 10/04/2001 |
| TAC Proposed Implementation Date | 11/01/2001 |
| TAC Vote Results | Approve |
| ## ERCOT Board Action |  |
| ERCOT Board Vote Date | 10/16/2001 |
| ERCOT Board Implementation Date | 11/01/2001 |
| ERCOT Board Results | Approve |
| ## Appeal |  |
| Appeal Date |  |
| Entity Initiating Appeal |  |
| Nature of Appeal |  |