| PRR Number | 257PRR | PRR Title | Provisions of Passwords to the Resource Entity for EPS Metered Facilities |
| --- | --- | --- | --- |
| ###### Date |  | 07/24/01 |  |
| ## Submitter’s Information |  |  |  |
| Name |  | Brenda Harris |  |
| E-mail Address |  | bharris@reliant.com |  |
| Company |  | Reliant Energy |  |
| Company Address |  | 1111 Louisiana Houston, Texas 77002 |  |
| Phone Number |  | 713-207-7345 |  |
| Fax Number |  | 713-207-9815 |  |

Comments

As long as the Resource Entity has its own EPS meter, there is no problem. However, if there are many resources behind the Resource Entity’s EPS meter or other subtractive meters that may be related to a party’s usage that is not a customer of the EPS Resource Entity, then the Resource Entity should not have access to the passwords as provided by the TDSP. The TDSP should not be placed in a position to violate the Customer Protection Rules.

With that in mind, Reliant offers this change to the Revision language:

10.10.1.1 TDSP Data Security Responsibilities

The TDSP shall….

(5) Upon request of the Resource Entity that represents an EPS metered Facility, provide the EPS meter “read only” password to such Resource Entity for such Facility and other EPS metered Facility required to calculate their QSE’ load, to the extent that such provision does not violate the customer protections rules of the PUC.

- Modify the “read only” password for EPS meters when a Resource Entity that represents a Facility requests a change due to data security reasons, provided that such modification does not violate the customer protection rules of the PUC.