| PRR Number | 268PRR | PRR Title | Day Ahead Scheduling Process Time Line Change Request |
| --- | --- | --- | --- |
| ###### Recommended Action |  | Approve |  |
| Recommended Effective Date |  | October 1, 2001 |  |
| PRR Background |  | Extends the time line for Day Ahead Scheduling Process to 1830 from 1630. The extension to start at 1400. # Submit updated AS schedule that includes Self-Arranged and AS bids selected by ERCOT to change from 1400 to 1500. - Submit Resource Plans with non-binding unit-specific information & Submit Replacement Reserve Service (RPRS) bids to change from 1430 to 1600. ## Close of Day Ahead Market to change from 1630 to 1800. |  |
| Protocol Revision Subcommittee Recommendation |  | PRS recommends approval of the PRR as submitted. |  |

Recommended Language

4.1.1 Day Ahead Scheduling Process

| Time Period at or before: | Qualified Scheduling Entity (QSE) Submission: | ERCOT Action: |
| --- | --- | --- |
| Day Ahead |  |  |
| 0600 |  | Publish updated transmission system information, Load Forecasts (Congestion Zone, and by total ERCOT Transmission System), Ancillary Service (AS) Plan, AS responsibility, mandatory decremental Balancing Energy Service bid percentage requirements and Transmission Loss Factors and Distribution Loss Factors. |
| 1100 | Balanced Energy Schedule of Obligations and Resources Self-Arranged AS Schedule | Validate Schedules and notify affected Qualified Scheduling Entities (QSEs) of any invalid or mismatched schedules. |
| 1115 | Resubmit corrected schedules | Review Schedules: Commercial Model CSC Congestion Notify QSEs of Congested CSCs Post schedule impact on CSCs Notify QSEs of any difference in ERCOT’s zonal Load forecast and the aggregate of QSE schedules in a zone. |
| 1300 | Update Balanced Energy Schedule of Obligations and Resources Update Self-Arranged AS schedule AS bids to supply AS to ERCOT AS Market | Validate Schedules and notify affected QSEs of any invalid or mismatched schedules |
| 1315 | Resubmit corrected updated schedules. | Validate resubmitted schedules and adjust as necessary. |
| 1330 |  | Purchase AS through ERCOT AS Market in order to complete ERCOT’s Day Ahead AS plan. Review Day Ahead Market Clearing Prices for Capacity (MCPC) for each Day Ahead AS market operated by ERCOT. |
| 1500 | Submit updated AS schedule that includes Self-Arranged and AS bids selected by ERCOT. | Review and validate AS schedules as necessary. |
| 1600 | Submit Resource Plans with non-binding unit-specific information Submit Replacement Reserve Service (RPRS) Bids. | Verify that Resource Plans are sufficient to meet the QSE schedule. If not, ERCOT will notify the QSE. |
| By 1800 |  | Evaluate Resource Plans to determine system security Evaluate RPRS needed to correct CSC, and Operational Congestion – Operational Model, and capacity insufficiency. |
| By 1800 |  | Create Merit Order of RPRS by Zone or operational constraint as applicable |
| By 1800 |  | Determine MCPC for RPRS by Zone as applicable. |
| By 1800 |  | Close and clear Day Ahead RPRS market |
| After 1800 | Modify RPRS bids |  |

### ERCOT Notification of Selected Ancillary Services Bids

By 1330, ERCOT will notify each QSE of the Ancillary Services procured from that QSE.  At 1500, QSEs will provide an updated Day Ahead Ancillary Services schedule to ERCOT.

### QSE Resource Plans

Each QSE that represents a Resource will present a Resource Plan to ERCOT at 1600.  These Resources may be specific generating units and/or Load acting as a Resource. The Resource Plan capacity should be sufficient to accommodate the combined quantity of energy and Ancillary Services scheduled by that QSE from the Resources that the QSE represents.  The Resource Plan shall indicate the availability of the Resources represented by the QSE and the planned operating level of each Resource, for each hour of the Operating Day. The Resource Plan shall indicate the High Operating Limit and Low Operating Limit by Resource.  A Resource may be listed as unavailable to ERCOT if the Resource’s capacity has been committed to markets in regions outside of ERCOT.

### ERCOT Receipt of Replacement Reserve Service Bids

QSEs may submit unit-specific Replacement Reserve Service (RPRS) bids to ERCOT by 1600. RPRS bids will have the following components:

- A dollar per megawatt capacity price at which the supplier will provide the service;

- An hourly dollar per megawatt operational price;

- Designation of the specific Resource;

- Designation of the amount of capacity represented by the bid;

- The hours that the bid is effective;

- The minimum time in hours until the Resource is available for Balancing Energy deployment;

[PIP 147: Ref. sentence below, current design does not support “An expiration time for the bid”.  When functionality added, add the following section:]

(8)	An expiration time for the bid.

### ERCOT Procurement of Replacement Reserve Service As Needed

ERCOT will purchase RPRS by 1800 based on bids submitted at 1600, ERCOT’s 1100 Load forecast, considering 1100 Day Ahead Schedules (unless modified in accordance with Section 4.4.10,  QSE Submittal of Updated Balanced Energy Schedules), and in accordance with Ancillary Services Section 6.6, Selection Methodology. ERCOT will notify QSEs of accepted RPRS bids by 1800. Insufficient RPRS bids will be addressed with OOMC.

| PRR Evaluation |  |
| --- | --- |
| Non-ERCOT Market Comparison | No Comparison conducted. |
| Comments Author | Comments Summary |
| ERCOT | ERCOT stated that implementing the proposed revision would require 7x24 coverage of the Day Ahead Desk, instead of the current 7x12 coverage. The expanded coverage will require additional staff. ERCOT supports the revision provided that the required additional staff can be added. |