| PRR Number | 269PRR | PRR Title | Metering requirements for small renewable production facilities |
| --- | --- | --- | --- |
| ###### Recommended Action |  | Approve |  |
| Recommended Effective Date |  | October 1, 2001 |  |
| PRR Background |  | ## Relax the requirement for IDR meters and the provision of generation meter data to ERCOT for renewable energy production facilities that are less than 50 kW and are interconnected to operate in parallel with a NOIE TDSP distribution system. |  |
| Protocol Revision Subcommittee Recommendation |  | PRS recommends approval of this PRR as submitted. |  |

Recommended Language

### 10.2.2. TDSP Metered Entities

TDSPs are responsible for supplying ERCOT with meter data associated with:

- All Loads using the ERCOT System;

- Generation delivering less than 10 MW to the ERCOT System and is connected directly to the distribution system; except for (1) Generation Resources owned by a NOIE and used for NOIE’s self use (not serving Customer Load); and (2) renewable Generation Resources with a design capacity less than 50 kW interconnected to a NOIE TDSP. The TDSP has the option to make some or all of this category EPS compliant and request that ERCOT poll the meters;

- NOIE points of delivery where metering points are radial Loads and are unidirectionally metered.   The TDSP has the option to make some or all of this category EPS compliant and request ERCOT poll the meters.

## 10.9  Standards for Metering Facilities

For settlement purposes, IDRs are required on any of the following locations/sites:

- Generation Resources (with the exception of those excluded in Section 10.2.2(2))

- Resources bidding into the Ancillary Services Market

- Non-opt-in-Entity metering points used to determine NOIE total Load.

- Service Delivery Points connected to the transmission system (>60KV)

- Locations meeting IDR Requirements defined in Section 18, Load Profiling of these Protocols.

| PRR Evaluation |  |
| --- | --- |
| Non-ERCOT Market Comparison | No Comparison conducted. |
| Comments Author | Comments Summary |
|  | None submitted. |