| PRR Number | 269PRR | PRR Title | Metering requirements for small renewable production facilities |
| --- | --- | --- | --- |
| ###### Status |  | Posted |  |
| Protocol Section Requiring Revision |  | 10.2.2, 10.9 |  |
| Requested Resolution |  | ## Normal |  |
| Revision Description |  | Relax the requirement for IDR meters and the provision of generation meter data to ERCOT for renewable energy production facilities that are less than 50 kW and are interconnected to operate in parallel with a NOIE TDSP distribution system. |  |
| ###### Reason for Revision |  | The Protocol requirements for generation resource metering are so strict that they create a significant barrier to the installation of small renewable facilities that may, on occasion, export power to the distribution system of a TDSP. For example, the current rules require the installation of an IDR meter, the transmittal of the IDR meter data to ERCOT via EDI on a monthly basis, and potentially the representation of each such facility in a Resource Entity and a QSE (Section 16.5 excludes distributed generation resources < 1MW from the resource registration requirement. However, this exclusion appears to conflict with the metering requirements in Section 10 and the provision of Generation Resource data to ERCOT, which would require registration as a Generation Resource). Further, the current Protocol requirements effectively prohibit the use of net metering arrangements for renewables < 50 kW, which conflicts with the requirements of P.U.C. Subst. R. 25.242(h)(4). Thus, this revision request could be expanded to cover opt-in service areas as well. However, this revision request is not expanded in that regard at this time due to the introduction of additional load profiling issues, which are not applicable to NOIEs. |  |
| ## Timeline |  |  |  |
| Date Received |  | 07/30/2001 |  |
| Date Posted |  | 07/30/2001 |  |
| Comments Due |  | 08/20/2001 |  |
| PRS Review Date |  |  |  |
| PRS Recommendation |  |  |  |
| TAC Consideration |  |  |  |
| Board Consideration |  |  |  |

Proposed Protocol Language Revision

### 10.2.2. TDSP Metered Entities

TDSPs are responsible for supplying ERCOT with meter data associated with:

- All Loads using the ERCOT System;

- Generation delivering less than 10 MW to the ERCOT System and is connected directly to the distribution system; except for (1) Generation Resources owned by a NOIE and used for NOIE’s self use (not serving Customer Load); and (2) renewable Generation Resources with a design capacity less than 50 kW interconnected to a NOIE TDSP. The TDSP has the option to make some or all of this category EPS compliant and request that ERCOT poll the meters;

- NOIE points of delivery where metering points are radial Loads and are unidirectionally metered.   The TDSP has the option to make some or all of this category EPS compliant and request ERCOT poll the meters.

## 10.9  Standards for Metering Facilities

For settlement purposes, IDRs are required on any of the following locations/sites:

- Generation Resources (with the exception of those excluded in Section 10.2.2(2))

- Resources bidding into the Ancillary Services Market

- Non-opt-in-Entity metering points used to determine NOIE total Load.

- Service Delivery Points connected to the transmission system (>60KV)

- Locations meeting IDR Requirements defined in Section 18, Load Profiling of these Protocols.

| ## Sponsor |  |
| --- | --- |
| Name | Dan Jones |
| E-mail Address | dljones@cps-satx.com |
| Company | City Public Service of San Antonio |
| Company Address | 401 W. 15th Street, Suite 800 Austin, TX 78701 |
| Phone Number | (512) 477-7601 |
| Fax Number | (512) 477-5329 |
| ## ERCOT Impact Analysis |  |
| Date |  |
| Financial Impact |  |
| Analysis |  |
| ## TAC Action |  |
| TAC Vote Date |  |
| TAC Proposed Implementation Date |  |
| TAC Vote Results |  |
| ## ERCOT Board Action |  |
| ERCOT Board Vote Date |  |
| ERCOT Board Implementation Date |  |
| ERCOT Board Results |  |
| ## Appeal |  |
| Appeal Date |  |
| Entity Initiating Appeal |  |
| Nature of Appeal |  |