| PRR Number | 286PRR | PRR Title | Smoothing Algorithm |
| --- | --- | --- | --- |
| ###### Date |  | September 21, 2001 |  |
| ## Submitter’s Information |  |  |  |
| Name |  | Arthur Boecker |  |
| E-mail Address |  | aboecker@ercot.com |  |
| Company |  | ERCOT |  |
| Company Address |  | 2705 West Lake Drive, Taylor, TX 76574 |  |
| Phone Number |  | 512/248-3038 |  |
| Fax Number |  | 512/248-3886 |  |

Discussion:

The proposed ten-minute ramp methodology may be easily implemented by ESCA on the ERCOT system, it is, however, an enhancement to the system and will create additional costs.  Therefore, ERCOT requests that it be allowed sufficient time to conduct an impact analysis to identify the costs involved.

Additionally, ERCOT notes that the proposed methodology does not take into account keeping the smoothed energy equal to the interval energy.  ERCOT requests clarification on whether this is a consideration for the Market Participants.

Comments

ERCOT does not have any modifications to the proposed language.