| PRR Number | 290PRR | PRR Title | Mandatory Balancing Energy Down Bids |
| --- | --- | --- | --- |
| ###### Status |  | Posted |  |
| Protocol Section Requiring Revision |  | Section 4.4.5 |  |
| Requested Resolution |  | ## Normal |  |
| Revision Description |  | Change requirement from same percentage requirement applicable to all QSEs to requirement that the percentage account for QF service to thermal host. |  |
| ###### Reason for Revision |  | An across-the-board mandatory balancing down requirement can prevent QFs such as Gregory from providing contracted service to their thermal host. This reduces the reliability of QF service, threatens the thermal host’s service, potentially violates PURA §39.151 (l) by interrupting an internal process operation associated with an industrial generation facility, and is opposed to federal policies favoring QF development. |  |
| ## Timeline |  |  |  |
| Date Received |  | 10/04/2001 |  |
| Date Posted |  | 10/04/2001 |  |
| Comments Due |  | 10/25/2001 |  |
| PRS Review Date |  |  |  |
| PRS Recommendation |  |  |  |
| TAC Consideration |  |  |  |
| Board Consideration |  |  |  |

Proposed Protocol Language Revision

4.4.5	Notification to QSEs of Mandatory Balancing Energy Service Down Bid Percentage Requirements

ERCOT will notify QSEs by 0600 of the Day Ahead of the QSE’s percentage requirement for Balancing Energy Service Down bids by Congestion Zone for each hour of the Operating Day.  The percentage requirement will be the same for all QSE’s, except that the percentage requirement shall vary to the extent necessary to allow qualifying facilities to meet their full thermal obligations to their thermal hosts.  In a system emergency condition declared under Section 5.6, however, the percentage requirement may be the same for all QSEs.

| ## Sponsor |  |
| --- | --- |
| Name | Chris Reeder |
| E-mail Address | creeder@texas.net |
| Company | on behalf of Gregory Power Partners, L.P. |
| Company Address | One Chisolm Trail Rd, Suite 5150, Round Rock, Texas 78681 |
| Phone Number | (512) 320-5964 |
| Fax Number | (512) 320-5951 |
| ## ERCOT Impact Analysis |  |
| Date |  |
| Financial Impact |  |
| Analysis |  |
| ## TAC Action |  |
| TAC Vote Date |  |
| TAC Proposed Implementation Date |  |
| TAC Vote Results |  |
| ## ERCOT Board Action |  |
| ERCOT Board Vote Date |  |
| ERCOT Board Implementation Date |  |
| ERCOT Board Results |  |
| ## Appeal |  |
| Appeal Date |  |
| Entity Initiating Appeal |  |
| Nature of Appeal |  |