| PRR Number | 294PRR | PRR Title | Clarify LSE Load Ratio Share Data Requirements |
| --- | --- | --- | --- |
| ###### Status |  | Posted |  |
| Protocol Section Requiring Revision |  | 6.3.1, 4.4.4 |  |
| Requested Resolution |  | ## Normal |  |
| Revision Description |  | Reword the PIP 144 box in 6.3.1 to remove the “allocate Ancillary Service Obligations to individual LSE’s” words. Reword the PIP 144 box in 4.4.4 to remove the “assigned by LSE” words. Both should be replaced to “The Day Ahead Ancillary Service Obligation will be assigned based on load ratio share data, by LSE, aggregated to the QSE level”. |  |
| ###### Reason for Revision |  | To clarify the requirements of PIP 144 |  |
| ## Timeline |  |  |  |
| Date Received |  | 10/12/2001 |  |
| Date Posted |  | 10/12/2001 |  |
| Comments Due |  | 11/02/2001 |  |
| PRS Review Date |  |  |  |
| PRS Recommendation |  |  |  |
| TAC Consideration |  |  |  |
| Board Consideration |  |  |  |

Proposed Protocol Language Revision

4.4.4 Notification to QSEs of Ancillary Service Obligations

[PIP 144: Ref. paragraph below, current design assigns AS obligation at the QSE level, not the LSE level per 6.3.1(1). When the system support LSE assignment, replace the paragraph below with the following:

ERCOT will notify QSEs by 0600 of the Day Ahead of the QSE’s Day Ahead Ancillary Service Obligations. The Day Ahead Ancillary Service Obligation will be assigned based on load ratio share data, by LSE,  and will be aggregated to the QSE level.

6.3.1 ERCOT Responsibilities

- ERCOT through its Ancillary Service functions shall develop the Operating Day Ancillary Service Plan for the ERCOT System and allocate Ancillary Service obligations to individual QSEs.  Unless otherwise provided in these Protocols, a QSE’s allocation for Ancillary Services obligation will be determined for each hour according to that QSE’s Load Ratio Share computation by ERCOT. The QSE Ancillary Service allocation shall be the hourly Load Ratio Share of the Load from the available settlement data, as defined in Section 9.6 , Settlement Charges, for the same hour and day of the prior week multiplied by the quantity of the service in the Operating Day AS Plan.

PIP144: When system is assigned to LSE and then aggregating to the QSE Level, amend item #1 above with the following:

(1) ERCOT through its Ancillary Service function shall develop the Operating Day Ancillary Service Plan for the ERCOT System and the Day Ahead Ancillary Service Obligation will be assigned based on load ratio share data, by LSE, aggregated to the QSE level.    Unless otherwise provided in these Protocols, a QSEs allocation for Ancillary Services obligation will be determined for each hour according to that LSE’s Load Ratio Share computation by ERCOT. The LSE Ancillary Service allocation shall be the hourly Load Ratio Share of the Load from the available settlement data, as defined in Section 9.6 , Settlement Charges, for the same hour and day of the prior week multiplied by the quantity of the service in the Operating Day AS Plan

| ## Sponsor |  |
| --- | --- |
| Name | Randy Wind |
| E-mail Address | rwind@ercot.com |
| Company | ERCOT |
| Company Address | 2705 West Lake Drive, Taylor, TX 76574 |
| Phone Number | 512/248-3939 |
| Fax Number | 512/248-3082 |
| ## ERCOT Impact Analysis |  |
| Date |  |
| Financial Impact |  |
| Analysis |  |
| ## TAC Action |  |
| TAC Vote Date |  |
| TAC Proposed Implementation Date |  |
| TAC Vote Results |  |
| ## ERCOT Board Action |  |
| ERCOT Board Vote Date |  |
| ERCOT Board Implementation Date |  |
| ERCOT Board Results |  |
| ## Appeal |  |
| Appeal Date |  |
| Entity Initiating Appeal |  |
| Nature of Appeal |  |