| PRR Number | 297PRR | PRR Title | LaaRs & BULs Provisional Qualification |
| --- | --- | --- | --- |
| ###### Date |  | November 15, 2001 |  |
| ## Submitter’s Information |  |  |  |
| Name |  | Cheryl Moseley |  |
| E-mail Address |  | cmoseley@ercot.com |  |
| Company |  | ERCOT |  |
| Company Address |  | 2705 West Lake Drive, Taylor, TX 76574 |  |
| Phone Number |  | 512/248-3880 |  |
| Fax Number |  | 512/248-3995 |  |

Comments

Add to Section 6.10.1:

All loads served under an instantaneous interruptible tariff on July 1, 2001 may be provisionally qualified as a Load acting as a Resource and eligible to participate as a responsive reserve resource beginning January 1, 2002, provided the load has a high set underfrequency relay and the existing telemetry remains intact, to ERCOT’s reasonable satisfaction.  Customers that were served under Reliant Energy HL&P’s IS-I tariff, TXU Electric Company’s Rider I (II), AEP West Texas Utilities Company’s Experimental Rider for Interruptible Service Rate INT, and similar tariffs offered by other investor-owned utilities and non-opt-in entities may be eligible for this provisional qualification.  Movement of telemetry from one entity to another requires telemetry re-qualification.

All loads served under an interruptible service tariff that requires interruptions within 30 minutes of notice on July 1, 2001, may be provisionally qualified as a Load acting as a Resource and eligible to participate as a non-spinning reserve resource or a replacement capacity resource beginning January 1, 2002, provided the load has the existing telemetry to ERCOT intact, to ERCOT’s reasonable satisfaction.  Customers that were served under Reliant Energy HL&P’s ISI, IS-10 and IS-30 tariffs, TXU Electric Company’s Rider I (II and NI), AEP Central Power and Light Company’s Interruptible Service Rider 28, and similar tariffs offered by other investor-owned utilities and non-opt-in entities may be eligible for this provisional qualification.

When ERCOT systems can accommodate Balancing Up Loads, all loads served under any interruptible service tariff or curtailable service tariff on July 1, 2001 may be provisionally qualified to participate as a balancing up load (BUL), provided the Load is metered with an IDR that can be remotely accessed by ERCOT or through the TDSP, to ERCOT’s reasonable satisfaction.  Any load that participated in a group load curtailment program sponsored by an electric utility in ERCOT on July 1, 2001 may be qualified to participate as a BUL, provided the load meets the metering standards established by ERCOT for a BUL.  Further, any load that participated in a direct load control program sponsored by an electric utility in ERCOT on July 1, 2001 may be qualified to participate as a BUL resource, provided the load meets the metering requirements (including any sampling standards identified in Section 18) established by ERCOT.

All provisional qualifications shall expire once loads have had a reasonable opportunity to apply for and meet the normal qualification standards described in this section.  Provisional qualification shall expire once all of the following conditions have been met:

- The testing program described in Section 6.10.2 has been developed and implemented.

- To the extent reasonably possible, energy consumers served under interruptible or curtailable tariffs offered by investor-owned utilities on July 1, 2001, have been notified of the need to be qualified by ERCOT in order to preserve their opportunity to participate as a resource or a BUL in various ERCOT markets in the future.  This notification may come from ERCOT, their traditional utility supplier, or a CR.

- ERCOT determines that these conditions have been met and Loads have had a reasonable opportunity to apply and be qualified under the procedures outlined in this section.

All TDSPs shall submit a list to ERCOT by January 15, 2002, identifying all customers for which the TDSPs plan  to continue providing telemetry that were served on an interruptible or curtailable tariff on July 1, 2001.  This list shall be treated as confidential information by ERCOT and used by ERCOT for the purpose of pre-qualifying potential Loads acting as Resources and BULs.  Provisional qualification as described herein may be revoked by ERCOT at any time for any non-compliance with provisional qualification requirements.