| PRR Number | 297PRR | PRR Title | Provisional Qualification of Existing Interruptible Loads and Curtailment Program Participants as Loads Acting as Resources or BULs. |
| --- | --- | --- | --- |
| ###### Date |  | 11/15/01 |  |
| ## Submitter’s Information |  |  |  |
| Name |  | Stephen L. Madden |  |
| E-mail Address |  | Steve_Madden@oxy.com |  |
| Company |  | Occidental Chemical Corporation |  |
| Company Address |  | 5 Greenway Plaza, Suite 1500 Houston, TX 77046 |  |
| Phone Number |  | 713-215-7142 |  |
| Fax Number |  | 713-215-7486 |  |

Comments

The protocol language as it currently exists has the perverse effect of excluding loads that are currently operating as interruptible resources.  The provision that precludes participation by entities that have had telemetry equipment ownership transferred to them by the host utility is in direct conflict with the mandate that TDSPs eliminate such equipment ownership.

ERCOT has not developed any procedures that will facilitate the qualification of entities that have installed equipment to allow for their participation in the newly deregulated ERCOT market.  As such, it is necessary to provisionally qualify these entities based on the presentation of verifiable data.

Language has been added that will allow for those loads qualified under the Responsive Reserve, Non-Spinning Reserve, and Replacement Capacity provisions to be qualified as a BUL resource.  All loads that have the equipment required for providing Responsive Reserve, Non-Spinning Reserve and Replacement Capacity will, by definition, have the equipment required to provide BUL.

7/1/02 was inserted as a last day to remain qualified under these provisions.  After that time all loads participating in the A/S market must have qualified under the normal standards described under Section 6.10.

Proposed Protocol Language Revision

Add to Section 6.10.1

All loads served under an instantaneous interruptible tariff at any time during the  July 01, 2000 to July 01, 2001 period shall be provisionally qualified as a load acting as a resource and eligible to participate as a responsive reserve resource beginning January 1, 2002, provided the load has a high-set underfrequency relay and telemetry is in place..  This shall include customers that were served under Reliant Energy HL&P’s IS-I tariff, TXU Electric Company’s Rider I (II), AEP West Texas Utilities Company’s Experimental Rider for Interruptible Service Rate INT, and similar tariffs offered by other investor-owned utilities and non-opt-in entities. Loads that were not served under an aforementioned tariff, but that have installed the appropriate equipment with verifiable testing data shall also be provisionally qualified as a load acting as a resource and eligible to participate as a responsive resource beginning January 01, 2002.

All loads served under an interruptible service tariff that requires an interruption within 30 minutes of notice at any time during the July 01, 2000 to July 1, 2001 period shall be provisionally qualified as a load acting as a resource and eligible to participate as a non-spinning reserve resource or a replacement capacity resource beginning January 1, 2002 provided the load has the existing telemetry to ERCOT intact. This shall include customers that were served under Reliant Energy HL&P’s ISI, IS-10 and IS-30 tariffs, TXU Electric Company’s Rider I (II and NI), AEP Central Power and Light Company’s Interruptible Service Rider 28, and similar tariffs offered by other investor-owned utilities and non-opt-in entities. Loads that were not served under an interruptible service tariff, but that have installed the appropriate equipment and can produce verifiable testing data may be provisionally qualified as a load acting as a resource and eligible to participate as a non-spinning reserve or a replacement capacity resource

All loads served under any interruptible service tariff or curtailable service tariff at any time between July 01, 2000 and July 1, 2001 shall be provisionally qualified to participate as a balancing up load (BUL) beginning January 1, 2002, provided the load is metered with an IDR which can be remotely accessed by ERCOT or through the TDSP or provided the load has installed appropriate telemetry equipment.  Any load that participated in a group load curtailment program sponsored by an electric utility in ERCOT at any time between July 01, 2000 and July 1, 2001 shall be qualified to participate as a BUL, provided the load meets the metering standards established by ERCOT for a BUL.  Further, any load that participated in a direct load control program sponsored by an electric utility in ERCOT t any time between July 01, 2000 and July 1, 2001 shall be qualified to participate as a BUL resource, provided the load meets the metering requirements (including any sampling standards identified in Section 18) established by ERCOT.  Any loads qualified under the provisions outlined above for Responsive Reserve, Non-Spinning Reserve and Replacement Capacity Resources shall be provisionally qualified to participate as a BUL beginning January 01, 2002.

All provisional qualifications shall expire once loads have had a reasonable opportunity to apply for and meet the normal qualification standards described in this section.  Under no circumstance shall the provisional qualification extend beyond July 01, 2002.  Provisional qualification shall expire once all of the following conditions have been met:

- Application forms for both loads acting as resources and BULs have been developed and are publicly available on a web site.

- The testing program described in Section 6.10.2 has been developed.

- All energy consumers served under interruptible or curtailable tariffs offered by investor-owned utilities on July 1, 2001 have been notified of the need to be certified by ERCOT in order to preserve their opportunity to participate as a resource or a BUL in various ERCOT markets in the future.  This notification may come from ERCOT, their traditional utility supplier, or a CR.

- The ERCOT Board certifies that these conditions have been met and loads have had a reasonable opportunity to apply and be certified under the procedures outlined in this section.

All TDSPs shall submit a list to ERCOT by December 1, 2001 identifying all customers for which they plan on continuing providing telemetry that were served on an interruptible or curtailable tariff at any time between July 01, 2000 and July 1, 2001.  This list shall also indicate whether or not the load appropriately responded to any required load shedding events.  This list shall be treated as confidential information by ERCOT and used by ERCOT for the explicit purpose of pre-qualifying potential loads acting as resources and BULs.