| PRR Number | 309PRR | PRR Title | kW Demand Reporting Requirement for TDSP |
| --- | --- | --- | --- |
| ###### Status |  | Posted |  |
| Protocol Section Requiring Revision |  | Section 10.3.3.1(3) and Section 18.6.6 |  |
| Requested Resolution |  | ## Normal |  |
| Revision Description |  | Wording changes in demand reporting requirements that better reflect the intent of the current Protocol language. |  |
| ###### Reason for Revision |  | - Consistency with TDSP practices - Provide TDSP with the option to leave a demand meter at their discretion - Relieve responsibility of Protocols to determine TDSP meter operational practices |  |
| ## Timeline |  |  |  |
| Date Received |  | 01/04/2002 |  |
| Date Posted |  | 01/07/2002 |  |
| Comments Due |  | 01/28/2002 |  |
| PRS Review Date |  | 02/--/2002 |  |
| PRS Recommendation |  | 02/--/2002 |  |
| TAC Consideration |  | 04/04/2002 |  |
| Board Consideration |  | 04/16/2002 |  |

Proposed Protocol Language Revision

10.3.3 TDSP Metered Entities

10.3.3.1 Data Responsibilities

TDSPs are responsible for:

- Providing consumption data for each ESI ID and RID on a monthly basis according to the data timeliness and accuracy standards defined in this Section and in the Operating Guides.

- Providing start date, stop date, ESI ID or RID, and consumption data in kWh as well as an identifier for “estimated” reads as applicable.

- Submitting a single kW demand value for each ESI ID that has a demand register to ERCOT if and only if a demand value is required for TDSP tariffs or for CR customer billing.  If the CR and TDSP do not require a demand value, then the TDSP shall not submit a demand value to ERCOT even if the meter has a demand register.

- Validating, Estimating and Editing (VEE) meter data according to the standards in this Section before submitting data to the settlement process.

- Calculating consumption for any unmetered services by ESI ID and submitting such data monthly to ERCOT, subject to ERCOT audit.  These calculations will be based on TDSP approved tariffs.

- Metering all Loads by May 1, 2001, unless the Load meets the following criteria:

  - Energy consumption by substation Facilities and equipment for the purpose of transporting electricity (e.g., substation transformers, fans, etc).

  - Unmetered energy consumption represented by an ERCOT-approved Load Profile.

--------------------------------------------------------------------------------------------------------------------

18.6.6 Peak Demand Determination for Non-IDR Premises

For the purpose of determining the peak demand level…

A Premise (ESI ID) has a peak demand…

ERCOT shall be responsible for receiving and storing demand information necessary for determining mandatory IDR installations.

| ## Sponsor |  |
| --- | --- |
| Name | Load Profiling Working Group, Darryl Nelson - Chair |
| E-mail Address | darryl.nelson@txu.com |
| Company | TXU Energy |
| Company Address | 1717 Main St, Suite 3454, Dallas, TX 75201 |
| Phone Number | (214) 875-9337 |
| Fax Number | N/A |
| ## ERCOT Impact Analysis |  |
| Date |  |
| Financial Impact |  |
| Analysis |  |
| ## TAC Action |  |
| TAC Vote Date |  |
| TAC Proposed Implementation Date |  |
| TAC Vote Results |  |
| ## ERCOT Board Action |  |
| ERCOT Board Vote Date |  |
| ERCOT Board Implementation Date |  |
| ERCOT Board Results |  |
| ## Appeal |  |
| Appeal Date |  |
| Entity Initiating Appeal |  |
| Nature of Appeal |  |