Date:	April 9, 2002

To:	Board of Directors

From:	Les Barrow, TAC Chairman

Subject:	Protocol Revision Requests and Extension of time for Effective Dates

## Issue for the ERCOT Board of Directors

ERCOT Board of Directors Meeting Date:  April 16, 2002

Agenda Item 3a:  Consideration of Protocol Revision Requests (PRRs) and Extension of Effective Dates

Issue 1: ERCOT Protocol Revisions.

Key Factors Influencing Issue: The Protocol Revisions Subcommittee (PRS) met, discussed the issues, and submitted Recommendation Reports to TAC regarding the PRRs described herein. TAC considered the issues and voted to approve the PRRs. The following PRRs were approved by TAC and are recommended to the Board for final approval: - 287PRR – Responsibility Transfer (previously “Dynamic Scheduling”) – proposed effective date June 1, 2002 (impacts System). This PRR clarifies that dynamic scheduling of resources between QSEs is to be allowed, as well as clarifies details of responsibility transfers to conform to ERCOT systems capability. - 311PRR – DLC to BUL Transition – proposed effective commensurate with the implementation of Direct Load Control (System impact). This change will permit smaller energy consumers (those under 1 MW) an opportunity to participate as a BUL, without the need to install IDRs on the entire population of load control program participants. This change also provides a more reasonable baseline for the calculation of the BUL resource provided by smaller energy consumers. - 312PRR – Enhance ESI ID Look-up Function – proposed effective date coincident with Version 1.5 (System impact). This PRR provides additional information for an ESI ID to include Station ID, Power Region, Premise Type, status (active/de-energized/inactive) for an ESI ID. - All of these PRRs and supporting materials are presented on the ERCOT website, including comments submitted to ERCOT and recommendation reports from the PRS: - http://www.ercot.com/AboutERCOT/PublicDisclosure/ProtocolRev.htm - Because of the volume of this material, it is not included in the Board meeting distribution. Please reference the website postings for review as necessary. Notify ERCOT Staff if you have any difficulties reviewing these postings.

Alternatives: (1) Approve the TAC recommendation on the PRRs listed above as submitted by TAC or as modified by the Board; (2) reject the TAC recommendation; or (3) remand to TAC with instructions.

Recommendation: As more specifically described above, TAC and ERCOT Staff recommend the Board approve all of the PRRs.

Issue 2: Extension of Effective Dates. The Board approved PRRs 258, 259 and 260 on October 16, 2001, with an effective date of July 1, 2002. ERCOT Staff requests a revised effective date – to be coincident with the implementation of Texas Set Version 1.5. - 258PRR – Notification Automation if Permit Required (Move-ins and Move-outs). - 259PRR – Process Automation for Un-executable Move-ins. - 260PRR – Auto Purge Process If Permits Not Received. Background: Since the Board approved these PRRs last October, ERCOT Staff has come to realize that these functions are integral parts of Texas Set Version 1.5. These functions became part of the request for proposal (RFP) for Texas Set 1.5 system enhancements. In order for these system changes to be smoothly implemented with the other retail system changes, ERCOT Staff urges the Board to extend the deadlines for these PRRs to match Texas Set 1.5 implementation.

Recommendation: ERCOT Staff recommends the Board approve an extension of the effective dates for PRRs 258, 259 and 260 to be commensurate with the implementation of Texas Set Version 1.5.